## Project
| Project Identifier | Project ID (will be added)
* = Required fields | Project Title* | Temporal metabolomic responses of cultured HepG2 liver cells to high fructose and high glucose exposures
| Project Type | time-course study
| Project Summary | High fructose consumption has been implicated with deleterious effects on human health, including hyperlipidemia elicited through de novo lipogenesis. However, more global effects of fructose on cellular metabolism have not been elucidated. In order to explore the metabolic impact of fructose-containing nutrients, we applied both GC-TOF and HILIC-QTOF mass spectrometry metabolomic strategies using extracts from cultured HepG2 cells exposed to fructose, glucose, or fructose + glucose. Cellular responses were analyzed in a time-dependent manner, incubated in media containing 5.5 mM glucose + 5.0 mM fructose in comparison to controls incubated in media containing either 5.5 mM glucose or 10.5 mM glucose. Mass spectrometry identified 156 unique known metabolites and a large number of unknown compounds, which revealed metabolite changes due to both utilization of fructose and high-carbohydrate loads independent of hexose structure. Fructose was shown to be partially converted to sorbitol, and generated higher levels of fructose-1-phosphate as a precursor for glycolytic intermediates. Differentially regulated ratios of 3-phosphoglycerate to serine pathway intermediates in high fructose media indicated a diversion of carbon backbones away from energy metabolism. Additionally, high fructoseconditions changed levels of complex lipids toward phosphatidylethanolamines. Patterns of acylcarnitines in response to high hexose exposure (10.5 mM glucose or glucose/fructose combination) suggested a reduction in mitochondrial beta-oxidation.
| Institute* | University of California, Davis | Choose from dropdown list or type a new institute name
| Department* | Genome and Biomedical Sciences Facility
| Laboratory | WCMC Metabolomics Core
| Funding source | NIH U24DK097154
| Principal Investigator Last Name* | Fiehn
| Principal Investigator First Name* | Oliver
| Address* | 1315 Genome and Biomedical Sciences Facility, 451 Health Sciences Drive, Davis, CA 95616
| Email* | ofiehn@ucdavis.edu
| Phone | (530) 754-8258

## Study
| Study Identifier | Study ID (will be added)
* = Required fields | Study Title* | Temporal metabolomic responses of cultured HepG2 liver cells to high fructose and high glucose exposures
| Study type* (timecourse,drug dosage,etc.) | Timecourse study
| Study Summary (Description/Design)* | High fructose consumption has been implicated with deleterious effects on human health, including hyperlipidemia elicited through de novo lipogenesis. However, more global effects of fructose on cellular metabolism have not been elucidated. In order to explore the metabolic impact of fructose-containing nutrients, we applied both GC-TOF and HILIC-QTOF mass spectrometry metabolomic strategies using extracts from cultured HepG2 cells exposed to fructose, glucose, or fructose + glucose. Cellular responses were analyzed in a time-dependent manner, incubated in media containing 5.5 mM glucose + 5.0 mM fructose in comparison to controls incubated in media containing either 5.5 mM glucose or 10.5 mM glucose. Mass spectrometry identified 156 unique known metabolites and a large number of unknown compounds, which revealed metabolite changes due to both utilization of fructose and high-carbohydrate loads independent of hexose structure. Fructose was shown to be partially converted to sorbitol, and generated higher levels of fructose-1-phosphate as a precursor for glycolytic intermediates. Differentially regulated ratios of 3-phosphoglycerate to serine pathway intermediates in high fructose media indicated a diversion of carbon backbones away from energy metabolism. Additionally, high fructoseconditions changed levels of complex lipids toward phosphatidylethanolamines. Patterns of acylcarnitines in response to high hexose exposure (10.5 mM glucose or glucose/fructose combination) suggested a reduction in mitochondrial beta-oxidation.
| Institute* | University of California, Davis | Choose from dropdown list or type a new institute name
| Department* | Genome and Biomedical Sciences Facility
| Laboratory | WCMC Metabolomics Core
| Study contact person: Last Name* | Fiehn
| Study contact person: First Name* | Oliver
| Address* | 1315 Genome and Biomedical Sciences Facility, 451 Health Sciences Drive, Davis, CA 95616
| Email* | ofiehn@ucdavis.edu
| Phone | (530) 754-8258
| Submission Date (MM-DD-YYYY)* | 09-19-2014
| Number of Groups | 13
Total Number of subjects/patients/samples
| Study Comments | This temporal study design mimicked the highly dynamic metabolic response by intake of food in humans: we eat food in pulses (batch-wise) and lack constant nutritional environments, unlike continuously fed microbial industry fermenters. Nevertheless, results from any cell culture study need to be interpreted with caution, because cell cultures lack endocrine signaling of a multicellular tissue-dependent response.

## Study Design
Use a separate column for each factor | Subject identifier (if any) | Sample Identifier | Sample Identifier | Factor1 | Factor2 | Factor3 | Factor4
(See ExampleofStudyDesign tab for example) | Subject name (if any) | LC-HILIC Sample name | GC-TOFSample name | Organ | Species | Hexose | Time
| GlcN-10min-R1 | 10Glucosamine10minReplicate1_0047.d | 110625baasa12_1 | HepG2 cell | Human | Glucosamine | 10min
| GlcN-10min-R2 | 10Glucosamine10minReplicate2_0093.d | 110624baasa32_1 | HepG2 cell | Human | Glucosamine | 10min
| GlcN-10min-R3 | 10Glucosamine10minReplicate3_0026.d | 110624baasa07_1 | HepG2 cell | Human | Glucosamine | 10min
| GlcN-10min-R4 | 10Glucosamine10minReplicate4_0073.d | 110624baasa36_1 | HepG2 cell | Human | Glucosamine | 10min
| GlcN-10min-R5 | 10Glucosamine10minReplicate5_0021.d | 110625baasa26_1 | HepG2 cell | Human | Glucosamine | 10min
| GlcN-10min-R6 | 10Glucosamine10minReplicate6_0091.d | 110624baasa29_1 | HepG2 cell | Human | Glucosamine | 10min
| 10.5mM Glu-10min-R1 | 10Glucose10minReplicate1_0042.d | 110625baasa04_1 | HepG2 cell | Human | 10.5mM Glu | 10min
| 10.5mM Glu-10min-R2 | 10Glucose10minReplicate2_0077.d | 110625baasa11_1 | HepG2 cell | Human | 10.5mM Glu | 10min
| 10.5mM Glu-10min-R3 | 10Glucose10minReplicate3_0022.d | 110625baasa27_1 | HepG2 cell | Human | 10.5mM Glu | 10min
| 10.5mM Glu-10min-R4 | 10Glucose10minReplicate4_0008.d | 110624baasa30_1 | HepG2 cell | Human | 10.5mM Glu | 10min
| 10.5mM Glu-10min-R5 | 10Glucose10minReplicate5_0094.d | 110624baasa23_1 | HepG2 cell | Human | 10.5mM Glu | 10min
| 10.5mM Glu-10min-R6 | 10Glucose10minReplicate6_0024.d | 110625baasa14_1 | HepG2 cell | Human | 10.5mM Glu | 10min
| 10.5mM Glu-1hr-R1 | 10Glucose1hrReplicate1_0005.d | 110624baasa15_1 | HepG2 cell | Human | 10.5mM Glu | 1hr
| 10.5mM Glu-1hr-R2 | 10Glucose1hrReplicate2_0034.d | 110624baasa12_1 | HepG2 cell | Human | 10.5mM Glu | 1hr
| 10.5mM Glu-1hr-R3 | 10Glucose1hrReplicate3_0083.d | 110624baasa46_1 | HepG2 cell | Human | 10.5mM Glu | 1hr
| 10.5mM Glu-1hr-R4 | 10Glucose1hrReplicate4_0037.d | 110625baasa19_1 | HepG2 cell | Human | 10.5mM Glu | 1hr
| 10.5mM Glu-1hr-R5 | 10Glucose1hrReplicate5_0092.d | 110625baasa03_1 | HepG2 cell | Human | 10.5mM Glu | 1hr
| 10.5mM Glu-1hr-R6 | 10Glucose1hrReplicate6_0030.d | 110625baasa22_1 | HepG2 cell | Human | 10.5mM Glu | 1hr
| 10.5mM Glu-6hr-R1 | 10Glucose6hrReplicate1_0071.d | 110624baasa20_1 | HepG2 cell | Human | 10.5mM Glu | 6hr
| 10.5mM Glu-6hr-R2 | 10Glucose6hrReplicate2_0070.d | 110624baasa05_1 | HepG2 cell | Human | 10.5mM Glu | 6hr
| 10.5mM Glu-6hr-R3 | 10Glucose6hrReplicate3_0006.d | 110625baasa21_1 | HepG2 cell | Human | 10.5mM Glu | 6hr
| 10.5mM Glu-6hr-R4 | 10Glucose6hrReplicate4_0009.d | 110625baasa09_1 | HepG2 cell | Human | 10.5mM Glu | 6hr
| 10.5mM Glu-6hr-R5 | 10Glucose6hrReplicate5_0046.d | 110624baasa42_1 | HepG2 cell | Human | 10.5mM Glu | 6hr
| 10.5mM Glu-6hr-R6 | 10Glucose6hrReplicate6_0031.d | 110624baasa31_1 | HepG2 cell | Human | 10.5mM Glu | 6hr
| 10.5mM Glu-24hr-R1 | 10Glucose24hrReplicate1_0043.d | 110624baasa03_1 | HepG2 cell | Human | 10.5mM Glu | 24hr
| 10.5mM Glu-24hr-R2 | 10Glucose24hrReplicate2_0090.d | 110624baasa47_1 | HepG2 cell | Human | 10.5mM Glu | 24hr
| 10.5mM Glu-24hr-R3 | 10Glucose24hrReplicate3_0044.d | 110624baasa33_1 | HepG2 cell | Human | 10.5mM Glu | 24hr
| 10.5mM Glu-24hr-R4 | 10Glucose24hrReplicate4_0061.d | 110624baasa35_1 | HepG2 cell | Human | 10.5mM Glu | 24hr
| 10.5mM Glu-24hr-R5 | 10Glucose24hrReplicate5_0062.d | 110624baasa24_1 | HepG2 cell | Human | 10.5mM Glu | 24hr
| 10.5mM Glu-24hr-R6 | 10Glucose24hrReplicate6_0053.d | 110625baasa18_1 | HepG2 cell | Human | 10.5mM Glu | 24hr
| 5.5mM Glu 5mM Fru-10min-R1 | 5Glucose5Fructose10minReplicate1_0036.d | 110624baasa44_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 10min
| 5.5mM Glu 5mM Fru-10min-R2 | 5Glucose5Fructose10minReplicate2_0065.d | 110625baasa01_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 10min
| 5.5mM Glu 5mM Fru-10min-R3 | 5Glucose5Fructose10minReplicate3_0013.d | 110624baasa16_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 10min
| 5.5mM Glu 5mM Fru-10min-R4 | 5Glucose5Fructose10minReplicate4_0023.d | 110624baasa27_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 10min
| 5.5mM Glu 5mM Fru-10min-R5 | 5Glucose5Fructose10minReplicate5_0029.d | 110624baasa28_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 10min
| 5.5mM Glu 5mM Fru-10min-R6 | 5Glucose5Fructose10minReplicate6_0082.d | 110624baasa43_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 10min
| 5.5mM Glu 5mM Fru-1hr-R1 | 5Glucose5Fructose1hrReplicate1_0038.d | 110625baasa08_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 1hr
| 5.5mM Glu 5mM Fru-1hr-R2 | 5Glucose5Fructose1hrReplicate2_0081.d | 110624baasa01_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 1hr
| 5.5mM Glu 5mM Fru-1hr-R3 | 5Glucose5Fructose1hrReplicate3_0067.d | 110625baasa15_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 1hr
| 5.5mM Glu 5mM Fru-1hr-R4 | 5Glucose5Fructose1hrReplicate4_0048.d | 110624baasa10_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 1hr
| 5.5mM Glu 5mM Fru-1hr-R5 | 5Glucose5Fructose1hrReplicate5_0059.d | 110624baasa08_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 1hr
| 5.5mM Glu 5mM Fru-1hr-R6 | 5Glucose5Fructose1hrReplicate6_0017.d | 110625baasa23_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 1hr
| 5.5mM Glu 5mM Fru-6hr-R1 | 5Glucose5Fructose6hrReplicate1_0014.d | 110624baasa13_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 6hr
| 5.5mM Glu 5mM Fru-6hr-R2 | 5Glucose5Fructose6hrReplicate2_0012.d | 110624baasa17_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 6hr
| 5.5mM Glu 5mM Fru-6hr-R3 | 5Glucose5Fructose6hrReplicate3_0018.d | 110624baasa49_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 6hr
| 5.5mM Glu 5mM Fru-6hr-R4 | 5Glucose5Fructose6hrReplicate4_0041.d | 110624baasa39_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 6hr
| 5.5mM Glu 5mM Fru-6hr-R5 |  | 110624baasa19_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 6hr
| 5.5mM Glu 5mM Fru-6hr-R6 | 5Glucose5Fructose6hrReplicate6_0045.d | 110625baasa05_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 6hr
| 5.5mM Glu 5mM Fru-24hr-R1 | 5Glucose5Fructose24hrReplicate1_0056.d | 110624baasa06_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 24hr
| 5.5mM Glu 5mM Fru-24hr-R2 | 5Glucose5Fructose24hrReplicate2_0054.d | 110624baasa40_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 24hr
| 5.5mM Glu 5mM Fru-24hr-R3 | 5Glucose5Fructose24hrReplicate3_0033.d | 110624baasa37_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 24hr
| 5.5mM Glu 5mM Fru-24hr-R4 | 5Glucose5Fructose24hrReplicate4_0007.d | 110625baasa28_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 24hr
| 5.5mM Glu 5mM Fru-24hr-R5 | 5Glucose5Fructose24hrReplicate5_0074.d | 110624baasa45_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 24hr
| 5.5mM Glu 5mM Fru-24hr-R6 | 5Glucose5Fructose24hrReplicate6_0035.d | 110625baasa07_1 | HepG2 cell | Human | 5.5mM Glu 5mM Fru | 24hr
| 5.5mM Glu-10min-R1 | 5Glucose10minReplicate1_0068.d | 110624baasa14_1 | HepG2 cell | Human | 5.5mM Glu | 10min
| 5.5mM Glu-10min-R2 | 5Glucose10minReplicate2_0020.d | 110625baasa25_1 | HepG2 cell | Human | 5.5mM Glu | 10min
| 5.5mM Glu-10min-R3 | 5Glucose10minReplicate3_0086.d | 110625baasa16_1 | HepG2 cell | Human | 5.5mM Glu | 10min
| 5.5mM Glu-10min-R4 | 5Glucose10minReplicate4_0032.d | 110624baasa50_1 | HepG2 cell | Human | 5.5mM Glu | 10min
| 5.5mM Glu-10min-R5 | 5Glucose10minReplicate5_0089.d | 110624baasa09_1 | HepG2 cell | Human | 5.5mM Glu | 10min
| 5.5mM Glu-10min-R6 | 5Glucose10minReplicate6_0019.d | 110624baasa34_1 | HepG2 cell | Human | 5.5mM Glu | 10min
| 5.5mM Glu-1hr-R1 | 5Glucose1hrReplicate1_0069.d | 110624baasa26_1 | HepG2 cell | Human | 5.5mM Glu | 1hr
| 5.5mM Glu-1hr-R2 | 5Glucose1hrReplicate2_0060.d | 110624baasa22_1 | HepG2 cell | Human | 5.5mM Glu | 1hr
| 5.5mM Glu-1hr-R3 | 5Glucose1hrReplicate3_0057.d | 110624baasa02_1 | HepG2 cell | Human | 5.5mM Glu | 1hr
| 5.5mM Glu-1hr-R4 | 5Glucose1hrReplicate4_0095.d | 110625baasa17_1 | HepG2 cell | Human | 5.5mM Glu | 1hr
| 5.5mM Glu-1hr-R5 | 5Glucose1hrReplicate5_0080.d | 110624baasa41_1 | HepG2 cell | Human | 5.5mM Glu | 1hr
| 5.5mM Glu-1hr-R6 | 5Glucose1hrReplicate6_0085.d | 110624baasa11_1 | HepG2 cell | Human | 5.5mM Glu | 1hr
| 5.5mM Glu-6hr-R1 | 5Glucose6hrReplicate1_0010.d | 110624baasa04_1 | HepG2 cell | Human | 5.5mM Glu | 6hr
| 5.5mM Glu-6hr-R2 | 5Glucose6hrReplicate2_0049.d | 110625baasa06_1 | HepG2 cell | Human | 5.5mM Glu | 6hr
| 5.5mM Glu-6hr-R3 | 5Glucose6hrReplicate3_0079.d | 110625baasa13_1 | HepG2 cell | Human | 5.5mM Glu | 6hr
| 5.5mM Glu-6hr-R4 | 5Glucose6hrReplicate4_0011.d | 110624baasa25_1 | HepG2 cell | Human | 5.5mM Glu | 6hr
| 5.5mM Glu-6hr-R5 | 5Glucose6hrReplicate5_0072.d | 110624baasa21_1 | HepG2 cell | Human | 5.5mM Glu | 6hr
| 5.5mM Glu-6hr-R6 | 5Glucose6hrReplicate6_0055.d | 110624baasa18_1 | HepG2 cell | Human | 5.5mM Glu | 6hr
| 5.5mM Glu-24hr-R1 | 5Glucose24hrReplicate1_0050.d | 110625baasa20_1 | HepG2 cell | Human | 5.5mM Glu | 24hr
| 5.5mM Glu-24hr-R2 | 5Glucose24hrReplicate2_0066.d | 110624baasa38_1 | HepG2 cell | Human | 5.5mM Glu | 24hr
| 5.5mM Glu-24hr-R3 | 5Glucose24hrReplicate3_0078.d | 110625baasa10_1 | HepG2 cell | Human | 5.5mM Glu | 24hr
| 5.5mM Glu-24hr-R4 | 5Glucose24hrReplicate4_0084.d | 110624baasa48_1 | HepG2 cell | Human | 5.5mM Glu | 24hr
| 5.5mM Glu-24hr-R5 | 5Glucose24hrReplicate5_0025.d | 110625baasa02_1 | HepG2 cell | Human | 5.5mM Glu | 24hr
| 5.5mM Glu-24hr-R6 |  | 110625baasa24_1 | HepG2 cell | Human | 5.5mM Glu | 24hr

## Subjects
| Subject Identifier | Subject ID (will be added)
* = Required fields | Subject Type (Human, Aminal, Plant, Cells)* | Cells
| Subject Species* | Homo Sapiens | Choose from dropdown list or type a new species name
Taxonomy ID
Genotype/Strain
Age or Age Range
Weight or Weight range
Height or Height range
Gender
HUMAN:Race
HUMAN:Ethnicity
HUMAN:Trial Type
HUMAN:Lifestyle Factors
HUMAN:Medications
HUMAN:Prescription/OTC
HUMAN:Smoking Status
HUMAN:Alcohol/Drug Use
HUMAN:Nutrition
HUMAN:Inclusion Criteria
HUMAN:Exclusion Criteria
ANIMAL:Animal Supplier
ANIMAL:Housing
ANIMAL:Light cycle
ANIMAL:Feed
ANIMAL:Water
ANIMAL:Inclusion Criteria
CELL:Biosource or Supplier
CELL:Strain Details
CELL:Primary or immortalized
CELL:Passage number
CELL:Cell counts
Subject Comments
Subject Filename

## Treatments
Treatment Type Identifier | Treatment Type ID (will be added)
Treatment Summary | 3 Treatments: A) Control group of HepG2 cells incubated in media with 5.5 mM glucose (Glc5) B) HepG2 cells incubated in media containing 5.5 mM glucose + 5.0 mM fructose (Glc5Fru5) C) HepG2 cells incubated in media containing 10.5 mM glucose (Glc10)
Treatment Protocol ID
Treatment Protocol Filename | metabolomic responses of cultured HepG2 liver cells.pdf
Treatment Protocol Comments | HepG2 cells incubated in media containing 10.5 mM glucose (Glc10) was included to enable differentiation of metabolic effects caused by fructose from metabolic effects caused by increased hexose resources
Treatment (Abiotic, Biotic, Intervention)
Treatment Compound
Treatment Route
Treatment Dose
Treatment Dose Volume
Treatment Dose Duration
Treatment Vehicle
ANIMAL:Veterinary Treatments
ANIMAL:Anesthesia
ANIMAL:Acclimation Duration
ANIMAL:Fasting
ANIMAL:EndPoints Euthanasia
ANIMAL:EndPoints Tissue Collection List
ANIMAL:EndPoints Tissue Processing Method
ANIMAL:EndPoints Clinical Signs
HUMAN:Fasting
HUMAN:EndPoints Clinical Signs
CELL:Storage
CELL:Growth Container
CELL:Growth Configuration
CELL:Growth Rate
CELL:Percent confluence
CELL:Inoculation Procedure
CELL:Media
CELL:Time since last media change | Cells were acclimated to their respective media condition for 48 h prior to collection of sample material to obtain a metabolite profile representative of continued exposure instead of response to a sudden change in carbohydrate resources. Media was replenished after 24 and 48 h
CELL:Environmental Conditions
CELL:Harvesting
PLANT:Growth Support
PLANT:Growth Location
PLANT:Plot Design
PLANT:Light Period
PLANT:Humidity
PLANT:Temperature
PLANT:Watering Regime
PLANT:Nutritional Regime
PLANT:Date of Plant Establishment
PLANT:Harvest Date
PLANT:Growth Stage
PLANT:Metabolism Quenching Method
PLANT:Harvest Method
PLANT:Storage

## Collection
Collection Identifier | Collection ID (will be added)
Collection Summary | HepG2 cells (ATCC HB-8065) were cultured in MEM containing 10 % (v:v) FBS, 100 U/mL penicillin and 100 mg/mL streptomycin (Invitrogen, Carlsbad, CA), 1 x MEM non-essential amino acids, and 5.5 mM glucose at 37 °C in a 5 % CO2 environment. Cells were grown for four to six passages in 10 cm tissue culture dishes with 14 mL MEM, and transferred to MULTIWELL™ 12 well culture dishes for incubation in 2 mL of the treatment medium. Upon reaching 80 % confluency, the cell culture medium was changed to media representative of experimental condition: 5.5 mM glucose MEM, 5.5 mM glucose MEM + 5 mM glucose, or 5.5 mM glucose MEM + 5 mM fructose. Media was replenished after 24 and 48 h. Cell material was collected at 10 min, 1, 6, and 24 h time points following the 48 h media replacement. Culture dishes were placed on ice and each well was washed twice with 1 mL ice-cold PBS. 4 mL ice-cold 3:1 methanol/H2O extraction solvent was added to each well. Cell material was manually scraped from each well, and the extraction solvent cell material suspension was transferred to collection tubes and frozen at −80 °C prior to further processing.
Collection Protocol ID
Collection Protocol Filename | metabolomic responses of cultured HepG2 liver cells.pdf
Collection Protocol Comments
Sample Type (Blood, Urine, Saliva, Tissue, Cell, other)* | Cell
Collection Method
Collection Location | Invitrogen, Carlsbad, CA
Collection Frequency | Cell material was collected at 10 min, 1, 6, and 24 h time points following the 48 h media replacement.
Collection Duration
Time of Collection (Relative to dose)
Volume/Amount Collected
Storage Conditions
Collection Vials
Storage Vials
Collection Tube Temp
Additives
BLOOD Serum or Plasma
TISSUE/CELL Identification | HepG2
TISSUE/CELL Quantity Taken

## SamplePrep
Sample Prep Identifier | Sample Prep ID (will be added)
Sample Prep Summary | Sample material was thawed on ice, vortexed for 20 s, sonicated for 5 min with a VWR 50HT Ultrasonic Bath (VWR International Inc., Bridgeport, NJ), and separated into 500 μL aliquots. Each aliquot was centrifuged for 5 min @ 14,000 rcf, and supernatant was collected and lyophilized to dryness. Samples was kept on ice and removed only for sonication, centrifugation, and lyophilization steps. Lyophilized material was used for HILIC-QTOF metabolite profiling without additional clean-up steps. Lyophilized material for GC-TOF analysis was redissolved in 1:1 acetonitrile/H2O, vortexed for 10 s, and centrifuged for 5 min @ 14,000 rcf. Supernatant was collected and lyophilized to dryness.
Sample Prep Protocol ID
Sample Prep Protocol Filename | metabolomic responses of cultured HepG2 liver cells.pdf
Sample Prep Protocol Comments
Processing Method (Lyophilization, Homogenization, Lysis, etc) | Lysophilization
Processing Storage conditions
Extraction Method
Extract Concentration/Dilution
Extract Enrichment (SPE, Desalting, etc)
Extract Cleanup
Extract Storage
Sample Resuspension
Sample Derivatization
Sample Spiking (Internal Standards, Retention Standards, etc)
Organ
Organ Specification
Cell Type
Subcellular Location

## Chromatography
Chromatography Identifier | Chromatography ID (will be added)
Chromatography Summary
Submitter's Methods File ID
| Protocol/methods Filename | Data Dictionary Fiehn laboratory_HILIC QTOF MS.pdf | Data_Dictionary_Fiehn_laboratory_GCTOF_MS_primary_metabolism_10-15-2013_general.pdf | Data Dictionary Fiehn laboratory_HILIC QTOF MS.pdf | Data Dictionary Fiehn laboratory_HILIC QTOF MS.pdf
Chromatography Comments
| Instrument Name | Agilent 6530 Accurate Mass QTOF (Positive mode) | Agilent 6890 GC | Agilent 6530 Accurate Mass QTOF (Positive mode) | Agilent 6550 Accurate Mass QTOF (negative mode)
| Column Name | Waters Acquity UPLC BEH Amide Column, 1.7 μm, 2.1 mm x 150 mm) Pre-column: Waters Acquity UPLC BEH Amide VanGuard pre-column (1.7 μm , 5 mm × 2.1 mm;) | Restek Corporation Rtx-5Sil MS | Waters Acquity UPLC BEH Amide Column, 1.7 μm, 2.1 mm x 150 mm) Pre-column: Waters Acquity UPLC BEH Amide VanGuard pre-column (1.7 μm , 5 mm × 2.1 mm;) | Waters Acquity UPLC BEH Amide Column, 1.7 μm, 2.1 mm x 150 mm) Pre-column: Waters Acquity UPLC BEH Amide VanGuard pre-column (1.7 μm , 5 mm × 2.1 mm)
| Column Pressure | 200-700 bar | 7.7 PSI (initial condition) | 200-700 bar | 200-700 bar
| Column Temperature | 45 C | 50 - 330°C | 45 C | 45 C
| Flow Gradient | 100% B to 30% B |  | 100% B to 30% B | 100% B to 30% B
| Flow Rate | 0.4 mL/min | 1 ml/min | 0.4 mL/min | 0.4 mL/min
| Injection Temperature | 4 C | 50°C ramped to 250°C by 12°C/s | 4 C | 4 C
| Internal Standard | See data dictionary |  | See data dictionary | See data dictionary
Internal Standard MT
Retention Index
| Retention Time | See data dictionary |  | See data dictionary | See data dictionary
| Sample Injection | 3 μL | 0.5µl | 3 μL | 3 μL
Sampling Cone
| Solvent A | Ultrapure water with 10 mM ammonium formiate + 0.125% formic acid, pH 3 |  | Ultrapure water with 10 mM ammonium formiate + 0.125% formic acid, pH 3 | Ultrapure water with 10 mM ammonium formiate + 0.125% formic acid, pH 3
| Solvent B | 95:5 v/v acetonitrile:ultrapure water w/ 10 mM ammonium formiate + 0.125% formic acid, pH 3 |  | 95:5 v/v acetonitrile:ultrapure water w/ 10 mM ammonium formiate + 0.125% formic acid, pH 3 | 95:5 v/v acetonitrile:ultrapure water w/ 10 mM ammonium formiate + 0.125% formic acid, pH 3
| Analytical Time | 14 min |  | 14 min | 14 min
| Capillary Voltage | 4500 |  | 4500 | 4500
Migration Time
| Oven Temperature |  | 50°C for 1 min, then ramped at 20°C/min to 330°C, held constant for 5 min
Preconditioning
Running Buffer
Running Voltage
Sheath Liquid
| Time Program | 16.75 min |  | 16.75 min | 16.75 min
| Transferline Temperature |  | 230°C
| Washing Buffer |  | Ethyl Acetate
| Weak Wash Solvent Name | 1:1 ACN:H2O |  | 1:1 ACN:H2O | 1:1 ACN:H2O
| Weak Wash Volume | 5 seconds |  | 5 seconds | 5 seconds
| Strong Wash Solvent Name | Same |  | Same | Same
Strong Wash Volume
| Target Sample Temperature | Autosampler temp 4 C |  | Autosampler temp 4 C | Autosampler temp 4 C
| Sample Loop Size |  | 30 m length x 0.25 mm internal diameter
Sample Syringe Size
| Randomization Order | Excel | Excel generated | Excel | Excel

## Analysis
| Analysis Identifier | Analysis ID (will be added)
*: Required fields | Laboratory Name | WCMC Metabolomics Core | WCMC Metabolomics Core | WCMC Metabolomics Core | WCMC Metabolomics Core
Notes: | Operator Name
Use a separate column | Analysis Type (MS or NMR)* | MS | MS | MS | MS
for each analysis type | Instrument Name/Manufacturer* | Leco Pegasus IV | Leco GC-Tof | Agilent 6530 QTOF (Positive Mode) | Agilent 6550 QTOF (Negative Mode)
(e.g. + and - ion mode) | Software/Version | ChromaTOF | ChromaTOF | MassHunter | MassHunter
| Detector Type | TOF | TOF
| Data acquisition method Filename | Data_Dictionary_Fiehn_laboratory_GCTOF_MS_primary_metabolism_10-15-2013_general.pdf | Data_Dictionary_Fiehn_laboratory_GCTOF_MS_primary_metabolism_10-15-2013_general.pdf
| Data processing method Filename | Data_Dictionary_Fiehn_laboratory_GCTOF_MS_primary_metabolism_10-15-2013_general.pdf | Data_Dictionary_Fiehn_laboratory_GCTOF_MS_primary_metabolism_10-15-2013_general.pdf
| Submitter's Analysis Protocol ID | 2014-01-11 | 2014-01-11
Submitter's Acquisition ID
Instrument Parameters File(s) (filename or directory)
Raw File(s) (filename or directory)
Processed File(s) (filename or directory)
| Randomization Order | Excel generated | Excel generated | Excel generated | Excel generated
| Data Format | .peg, .txt, .cdf | .peg, .txt, .cdf | .d | .d
Acqusition Date
| Acqusition Time |  |  | 15min | 15min
Analysis Comments

## MS
| MS Identifier | MS ID (will be added)
*: Required fields | Analysis Identifier | Analysis ID (will be added) | Analysis ID (will be added)
Instrument Name
Notes: | MS Instrument Type (QTOF,ion-trap,etc)* | GC-TOF | GC-TOF | QTOF | QTOF
Use a separate column | MS Ionization Type (ESI,MALDI,etc)* | Electron Ionization (EI) | Electron Ionization (EI) | ESI | ESI
for each analysis type | Ion Mode (POSITIVE or NEGATIVE)* | Positive | Positive | POSITIVE | Negative
(e.g. + and - ion mode) | Capillary Temperature
| Capillary Voltage |  |  | 3500 | 3500
| Collision Energy |  |  | 0 | 0
| Collision Gas |  |  | Nitrogen | Nitrogen
| Dry Gas Flow |  |  | 8 l/min | 13 l/min
| Dry Gas Temp |  |  | 325 | 200
| Fragment Voltage |  |  | 120 | 175
| Fragmentation Method |  |  | Auto MS/MS | Auto MS/MS
Gas Pressure
Helium Flow
| Ion Source Temperature | 250°C | 250°C | 325 | 325
| Ion Spray Voltage |  |  | 1000 | 1000
| Ionization |  |  | Pos | Neg
| Ionization Energy | 70eV | 70eV
Ionization Potential
| Mass Accuracy | Nominal | Nominal
| Precursor Type |  |  | Intact Molecule | Intact Molecule
| Reagent Gas |  |  | Nitrogen | Nitrogen
| Source Temperature | 250°C | 250°C | 325 C | 325 C
Spray Voltage
Activation Parameter
Activation Time
Atom Gun Current
Automatic Gain Control
Bombardment
CDL Side Octopoles Bias Voltage
CDL Temperature
| Data Format |  |  | .d | .d
| Desolvation Gas Flow |  |  | 11 l/min | 11 l/min
| Desolvation Temperature |  |  | 350 C | 350 C
Interface Voltage
IT Side Octopoles Bias Voltage
Laser
Matrix
| Nebulizer |  |  | 35 psig | 35 psig
| Octpole Voltage |  |  | 750 | 750
Probe Tip
| Resolution Setting |  |  | Extended Dynamic Range
Sample Dripping
| Scan Range M/Z | 85-500 | 85-500 | 60-1700 Da | 60-1700 Da
Scanning
| Scanning Cycle | 17 Hz | 17 Hz | 2 Hz | 2 Hz
| Scanning Range | 80-500 Da | 80-500 Da | 60-1700 Da | 60-1700 Da
| Skimmer Voltage |  | 1850 V | 65 | 65
Tube Lens Voltage

## NMR
| NMR Identifier | NMR ID (will be added)
*: Required fields | Analysis Identifier | Analysis ID (will be added)
| Instrument Type* |  | Choose from dropdown list or type a new value
| NMR Experiment type* |  | Choose from dropdown list or type a new value
NMR Comments
Data acquisition method Filename
Data processing method Filename
Submitter's Analysis Protocol ID
Submitter's Acquisition ID
Instrument Parameters File(s) (filename or directory)
Raw File(s) (filename or directory)
Processed File(s) (filename or directory)
Randomization Order
Data Format
Experiment Date
Field Frequency Lock
Standard Concentration
| Spectrometer Frequency* |  | Choose from dropdown list or type a new value
NMR Probe
NMR Solvent*
NMR Tube Size
Shimming Method
Pulse Sequence
Water Suppression
Pulse Width
Power Level
Receiver Gain
Offset Frequency (Water Suppression)
Presaturation Power level
Chemical Shift Reference Compound
Temperature
Number of Scans (Transients)
Dummy Scans
Acquisition Time
Relaxation Delay
Spectral Width
Number of Data Points (TD) Acquired
Real Data Points (SI)
Line Broadening
Zero Filling
Apodization
Baseline Correction Method
Chemical Shift Reference Standard
Binned data bin increment (ppm)
Binned data normalization method
Binned data protocol file
Binned data chemical shift range (ppm)
Binned data excluded ranges (ppm)

## ExampleofStudyDesign
Subject identifier (if any) | Sample Identifier | Factor1 | Factor2 | Factor3
Subject name (if any) | Sample name | Gender | Genotype | Lanosterol(mg/ml)
Patient_S2089 | LabX_001 | Male | Wt | 5
Patient_S2089 | LabX_002 | Male | Wt | 5
Patient_S2089 | LabX_003 | Male | Wt | 5
Patient_S2089 | LabX_004 | Male | Wt | 0
Patient_S2089 | LabX_005 | Male | Wt | 0
Patient_S2089 | LabX_006 | Male | Wt | 0
Patient_S2089 | LabX_007 | Male | LXR-alpha KO | 5
Patient_S2089 | LabX_008 | Male | LXR-alpha KO | 5
Patient_S2089 | LabX_009 | Male | LXR-alpha KO | 5
Patient_S2089 | LabX_010 | Male | LXR-alpha KO | 0
Patient_S2089 | LabX_011 | Male | LXR-alpha KO | 0
Patient_S2089 | LabX_012 | Male | LXR-alpha KO | 0
Patient_S2090 | LabX_013 | Female | Wt | 5
Patient_S2090 | LabX_014 | Female | Wt | 5
Patient_S2090 | LabX_015 | Female | Wt | 5
Patient_S2090 | LabX_016 | Female | Wt | 0
Patient_S2090 | LabX_017 | Female | Wt | 0
Patient_S2090 | LabX_018 | Female | Wt | 0
Patient_S2090 | LabX_019 | Female | LXR-alpha KO | 5
Patient_S2090 | LabX_020 | Female | LXR-alpha KO | 5
Patient_S2090 | LabX_021 | Female | LXR-alpha KO | 5
Patient_S2090 | LabX_022 | Female | LXR-alpha KO | 0
Patient_S2090 | LabX_023 | Female | LXR-alpha KO | 0
Patient_S2090 | LabX_024 | Female | LXR-alpha KO | 0

## Ontology (hidden)
Subjects:Subject Species | Taxonomy ID | Study/Project:Institute | Address | Analysis: Analysis type | MS: ion mode | Instrument_name | MS_Instrument_type | MS_type | Ni | Ntype | spectrometer_frequency
|  |  |  | MS | POSITIVE
Arabidopsis thaliana | 3702 | Case Western Reserve University |  | NMR | NEGATIVE | Agilent 1200 LC/Agilent 6530 QTOF | GC x GC-TOF | APCI | CW NMR | 1D-1H | 500 MHz
Bos taurus | 9913 | Columbia University | 722 West 168th Street, 12th Floor New York, NY 10032 |  |  | Agilent 6220 ToF MS | GC-ITQ | API | FT NMR | 1D-13C | 700 MHz
Caenorhabditis elegans | 6239 | Duke University |  |  |  | Agilent 6530 QTOF | GC-TOF | EI |  | 2D-1H-1H | 950 MHz
Centroptilum triangulifer | 248221 | East Carolina University | Human Performance Laboratory, Ward Sports Medicine Building, East Carolina University, Greenville, NC 27858 |  |  | Agilent 6550 QTOF | Ion trap | ESI |  | 2D-1H-13C
Chlamydomonas reinhardtii | 3055 | H. Lee Moffitt Cancer Center & Research Institute | 12902 Magnolia Drive, MRC 3 East, Tampa, FL 33612 |  |  | Agilent 7890A GC/Agilent MSD 5975C MS | LTQ-FT | HESI
Danio rerio | 7955 | J. Craig Venter Institute |  |  |  | Bruker Avance III | Orbitrap | MALDI
Dictyostelium discoideum | 44689 | Jiangnan University | 1800 Lihu Ave, Binhu, Wuxi, Jiangsu, China |  |  | Leco GC-TOF | QTOF
Drosophila melanogaster | 7227 | LIPID MAPS | UCSD |  |  | Leco Pegasus 4D GC x GC-TOF | Single quadrupole
Escherichia coli | 562 | Lovelace Respiratory Research Institute | Lovelace Respiratory Research Institute, 2425 Ridgecrest Dr, SE, Albuqurque, NM |  |  | LECO PEGASUS III GC-TOF | Triple quadrupole
Hepatitis C virus | 11103 | Mayo Clinic | 200 First Street SW, Rochester, MN 55905 |  |  | Leco Pegasus IV
Homo sapiens | 9606 | New York University | 550 First Avenue, BCD 690, New York, NY 10016 |  |  | Leco Pegasus IV GC x GC-TOF
Macaca fascicularis | 9541 | North Carolina State Unversity | North Carolina State University, Raleigh, NC 27695 |  |  | Thermo LTQ-FT
Mirounga angustirostris | 9717 | Pacific Northwest National Laboratory |  |  |  | Thermo Scientific ITQ
Mus musculus | 10090 | Pennsylvania State University |  |  |  | Thermo Scientific Q-Exactive Orbitrap
Mycoplasma pneumoniae | 2104 | Purdue University North Central | 1401 S US Hwy 421 Westville, Indiana USA |  |  | Thermo Scientific TSQ Ultra Quantum
Oryza sativa | 39947 | RTI International | 3040, East Cornwallis Road, Research Triangle Park, NC 27709 |  |  | Thermo-Finnigan LTQ MS
Plasmodium falciparum | 5833 | SUNY Downstate Medical Center | 450 Clarkson Ave, Box 52, Brooklyn, NY, 11203 |  |  | Thermo-Finnigan Trace DSQ MS
Pneumocystis carinii | 4754 | University of California, Davis | 1315 Genome and Biomedical Sciences Facility, 451 Health Sciences Drive, Davis, CA 95616 |  |  | Waters Synapt-G2
Rattus norvegicus | 10116 | University of California, Merced | 5200 N. Lake Rd., Merced, CA 95343
Saccharomyces cerevisiae | 4932 | University of Chicago
Salmonella typhimurium | 90371 | University of Florida | R3-226 Academic Research Building, Department of Biochemistry and Molecular Biology, PO Box 100245, Gainesville, FL 32610-0245
Schizosaccharomyces pombe | 4896 | University of Iowa and University of Alabama | 1269 A-CBRB, 285 Newton Rd, Iowa City, IA 52242
Takifugu rubripes | 31033 | University of Kentucky
Vitis vinifera | 29760 | University of Louisville
Xenopus laevis | 8355 | University of Michigan | University Michigan, 2900 Huron Parkway, Ann Arbor, MI 48105
Zea mays | 4577 | University of North Carolina at Chapel Hill
University of Pennsylvania
|  | University of Tennessee Health Science Center | 855 Monroe Avenue, #515 LINK bldg, Memphis TN 38163 USA
|  | Wake Forest University | Medical Center Blvd., Winston-Salem, NC 27157
Wayne State University