Extraction Protocol:

- Degas Pre-Chilled Extraction Solvent (3:3:2 Acetonitrile/Isopropanol/ddH2O)

- Keep Extraction Solvent on Ice

- Add 50µL of thawed (on ice) CSF to a new 1.5mL eppendorf tube

- Add 1mL of ice-cold extraction solvent to the CSF sample

- Vortex for 10seconds

- Shake for 5 minutes at 4C using the Orbital Mixing Chilling/Heating Plate

- Centrifuge samples for 2 minutes at 14,000 rcf

- Transfer 500µL of supernatant into two (2) new 1.5mL eppendorf tubes

- Evaporate one aliquot of the sample in the Labconco Centrivap cold trap concentrator to complete dryness; store the other aliquot in -20C as a backup

- Resuspend the dried aliquot with 500µL of 50/50 Acetonitrile/ddH2O (degassed) as a clean-up step to remove lipids

- Centrifuge for 2 minutes at 14,000 rcf

- Transfer supernatant to a new 1.5mL eppendorf tube

- Evaporate aliquot of the sample in the Labconco Centrivap cold trap concentrator to complete dryness

- Submit for derivatization

Derivatization:

- Add 10µL of 40mg/mL MeOX (Methoxyamine hydrochloride) solution to each dried sample and standard/method blank

- Shake at maximum speed at 30C for 1.5 hours

- Add 46µL of MSTFA (N-Methyl-N-(trimethylsilyl) trifluoroacetamide) + FAME to samples

- Shake at maximum speed at 37C for 30 minutes

- Centrifuge samples for 2 minutes at 14,000 rcf

- Transfer contents to glass vials with micro-serts inserted and cap immediately

- Submit for Analysis (Leco GC-TOF)

See MX156150 for Range Finding Trials; Extraction is based of Method 2A