GC-MS protocol for fatty acid methyl ester

- 20-50 µl serum (50 µl) or 20-50mg liver tissue (~30mg)

- Add 10-15 beads and 1ml MeOH/CHCl3 (2:1) with 50 uM internal standards (C15-acid and C17-methyl ester as internal standard,  5ul of 10mM) (Prepare one blank and internal standard)

- Homogenized 6500 rpm for 2*20 seconds (2-3times), then vortex 3 minutes, Centrifuge 15 mins at max speed.

- Transfer supernatant into 2 ml EP tubes; add 500ul saline (0.9%)

- Votex 5 mins, Centrifuge 15 mins at max speed;

- Top layer (aqueous) and bottom layer (organic)

Top

- Transfer to 1.5 ml tube, dry down in speed vacuum for 3-4 hours

- Add 100 µl MOX, incubate overnight at room temperature

- Take 50 µl supernatant, Add 50 µl BSTFA (10% TMCS), incubate 1 hour at 60°

- transfer to vial for GC-MS

Bottom

- Transfer to 10 mL glass tube, dry down in N2;

- Add 1 mL MeOH/HCl (41.5ml/9.7ml), vortex 5mins, incubate overnight at 60°;

- Add 5mL hexane and 5 mL saline (0.9%), vortex 1 mins;

- Take supernatant of hexane fraction, dry down in N2

- Add 200 µl hexane, vortex 1 mins

- Transfer to vial for GC-MS

- Note:

- Fluorophenyl actylglycine MW=211.19 g/mol, 10mM stock in 10mL (21.1mg)

- Tridecanoic acid MW=214.34 …… (21.4mg)

- Heptadecanoic acid MW=270.45 …… (27.0mg)

- Nonadecanoic acid MW=298.50…… (29.8mg)

- All above solution 5 µl in 1mL = 50 µM