====  Overall Status:  ====:

Status:                     Instrument status Ok

Performance:                       Ok

======  Ion Source:  ======:

Spray Voltage (V)              2985.9

Spray Current (µA)              21.50

Capillary Temperature (°C)     343.08

Sheath gas flow rate            50.06

Aux gas flow rate               15.02

Sweep gas flow rate              1.06

Aux. Temperature (°C)          448.13

======  Ion Optics:  ======:

Capillary Voltage (V)            -0.7

Bent Flatapole DC (V)            -6.2

Inj Flatapole DC (V)             -8.3

Trans Multipole DC (V)           -4.1

HCD Multipole DC (V)             -0.3

RF0 and RF1 Amp (V)             753.4

RF0 and RF1 Freq (kHz)       3282.000

RF2 and RF3 Amp (V)               0.7

RF2 and RF3 Freq (kHz)       3980.000

Inter Flatapole DC (V)          -7.06

Quad Exit DC (V)                15.16

C-Trap Entrance Lens DC (V)     59.83

C-Trap RF Amp (V)              1009.5

C-Trap RF Freq (kHz)            3.213

C-Trap RF Curr (A)              0.143

C-Trap Exit Lens DC (V)         59.97

HCD Exit Lens DC (V)           -35.38

======  Vacuum:  ======:

Fore Vacuum Sensor (mbar)        1.64

High Vacuum Sensor (mbar)    3.64e-09

UHV Sensor (mbar)            2.41e-10

Source TMP Speed               1000.0

UHV TMP Speed                  1000.0

=====  Temperatures:  =====:

Analyzer Temperature (°C)       30.87

Ambient Temperature (°C)         26.8

Ambient Humidity (%)              0.0

Source TMP Motor Temperature     51.0

Source TMP Bottom Temperatur     41.0

UHV TMP Motor Temperature (°     36.0

IOS Heatsink Temp. (°C)          31.0

HVPS Peltier Temp. (°C)         35.42

Quad. Det. Temp. (°C)           37.82

====  Diagnostic Data:  ====

Performance ld                 28.418

Performance me               1020.246

Performance cy:             55011.708

CTCD mV                        -61.25

5_Glucose_2 #1 RT: 0.0066

Total Ion Current:	   719537920.00

Scan Low Mass:	          70.00

Scan High Mass:	        1000.00

Scan Start Time (min):	           1.00

Scan Number:	         186

Base Peak Intensity:	    64228748.00

Base Peak Mass:	         203.05

Scan Mode:	FTMS + c ESI Full lock ms [70.00-1000.00]

Q Exactive Orbitrap Data:

=========================

Multiple Injection:	ii

Multi Inject Info:	IT=5;5

AGC:	On

Micro Scan Count:	1

Scan Segment:	1

Scan Event:	1

Master Index:	0

Charge State:	0

Monoisotopic M/Z:	0.0000

Ion Injection Time (ms):	10.095

Max. Ion Time (ms):	200.00

FT Resolution:	70000

MS2 Isolation Width:	930.00

AGC Target:	3000000

Analyzer Temperature:	30.85

=== Mass Calibration: ===:

Conversion Parameter B:	67807167.1490

Conversion Parameter C:	18239587.3141

Temperature Comp. (ppm):	-6.67

RF Comp. (ppm):	0.05

Space Charge Comp. (ppm):	-1.45

Resolution Comp. (ppm):	-0.23

Number of Lock Masses:	3

Lock Mass #1 (m/z):	371.1012

Lock Mass #2 (m/z):	391.2843

Lock Mass #3 (m/z):	445.1200

LM Search Window (ppm):	15.0

Number of LM Found:	1

Last Locking (sec):	0.0

LM Correction (ppm):	1.36

=== Ion Optics Settings: ===:

S-Lens RF Level:	40.00

S-Lens Voltage (V):	25.00

Skimmer Voltage (V):	15.00

Inject Flatopole Offset (V):	8.00

Bent Flatapole DC (V):	6.00

MP2 and MP3 RF (V):	326.00

Gate Lens Voltage (V):	5.63

C-Trap RF (V):	700.0

====  Diagnostic Data:  ====:

Intens Comp Factor:	1.4000

Res. Dep. Intens:	1.308

CTCD NumF:	0

CTCD Comp:	0.411

CTCD ScScr:	0.686

RawOvFtT:	2629696.8

LC FWHM parameter:	5.0

Rod:	11

PS Inj. Time (ms):	1.632

AGC PS Mode:	1

AGC PS Diag:	701000

HCD Energy eV:	0.000

AGC Fill:	1.00

Injection t0:	-0.007

t0 FLP:	73.07

Access Id:	0

Analog Input 1 (V):	0.000

Analog Input 2 (V):	0.000

=== Tune Data: ===:

Spray Voltage (+):	3500.00

Spray Voltage (-):	3300.00

Capillary Temperature (+ or +-):	300.00

Capillary Temperature (-):	320.00

Sheath Gas (+ or +-):	50.00

Sheath Gas (-):	10.00

Aux Gas (+ or +-):	15.00

Aux Gas (-):	0.00

Spare Gas (+ or +-):	1.00

Spare Gas (-):	0.00

Max Spray Current (+):	100.00

Max Spray Current (-):	100.00

Probe Heater Temp. (+ or +-):	450.00

Probe Heater Temp. (-):	30.00

S-Lens RF Level:	40.00

Ion Source:	HESI

=== Calibration Data: ===:

Mass Cal. (+) age (d):	6.26

Mass Cal. (-) age (d):	0.31

Isolation Cal. (+) age (d):	32.1

Isolation Cal. (-) age (d):	32.0

Amplifier Gain:	1000.000

Mass Calibration Parameter (0):	7.90000000e+01

Mass Calibration Parameter (1):	1.00000000e+02

Mass Calibration Parameter (2):	-1.53807381e-09

Mass Calibration Parameter (3):	1.37779579e+09

Mass Calibration Parameter (4):	2.45620169e-12

Mass Calibration Parameter (5):	1.37779579e+09

Mass Calibration Parameter (6):	-8.13626641e-10

Mass Calibration Parameter (7):	1.37780686e+09

Mass Calibration Parameter (8):	1.24235795e-12

Mass Calibration Parameter (9):	1.37780686e+09

Mass Calibration Parameter (10):	-1.14000000e-06

Mass Calibration Parameter (11):	0.00000000e+00

Mass Calibration Parameter (12):	-1.14000000e-06

Mass Calibration Parameter (13):	0.00000000e+00

Mass Calibration Parameter (14):	-8.85685936e-13

Mass Calibration Parameter (15):	1.37779583e+09

Mass Calibration Parameter (16):	-7.73823109e-13

Mass Calibration Parameter (17):	1.37780690e+09

Mass Calibration Parameter (18):	-6.27040137e-11

Mass Calibration Parameter (19):	1.37779582e+09

Mass Calibration Parameter (20):	-1.10823481e-10

Mass Calibration Parameter (21):	1.37780688e+09

Mass Calibration Parameter (22):	0.00000000e+00

Mass Calibration Parameter (23):	0.00000000e+00

Mass Calibration Parameter (24):	0.00000000e+00

Mass Calibration Parameter (25):	0.00000000e+00

Mass Calibration Parameter (26):	0.00000000e+00

Mass Calibration Parameter (27):	0.00000000e+00

Mass Calibration Parameter (28):	0.00000000e+00

Mass Calibration Parameter (29):	0.00000000e+00

Mass Calibration Parameter (30):	4.20000000e+01

Mass Calibration Parameter (31):	1.00000000e+00

Mass Calibration Parameter (32):	1.00000000e+00

Mass Calibration Parameter (33):	0.00000000e+00

Mass Calibration Parameter (34):	2.98999478e+01

Mass Calibration Parameter (35):	9.70804143e+05

Mass Calibration Parameter (36):	9.70804143e+04

Mass Calibration Parameter (37):	1.28000000e+03

Mass Calibration Parameter (38):	2.56000000e+02

Mass Calibration Parameter (39):	1.38003290e+09

Mass Calibration Parameter (40):	6.00000000e+00

Mass Calibration Parameter (41):	1.38066190e+02

Mass Calibration Parameter (42):	7.00797830e+02

Mass Calibration Parameter (43):	1.95087652e+02

Mass Calibration Parameter (44):	5.89552280e+02

Mass Calibration Parameter (45):	5.24264964e+02

Mass Calibration Parameter (46):	3.59635973e+02

Mass Calibration Parameter (47):	1.22199064e+03

Mass Calibration Parameter (48):	2.35561990e+02

Mass Calibration Parameter (49):	1.42197786e+03

Mass Calibration Parameter (50):	2.18369911e+02

Mass Calibration Parameter (51):	1.62196509e+03

Mass Calibration Parameter (52):	2.04464813e+02

Mass Calibration Parameter (53):	1.00000000e+00

Mass Calibration Parameter (54):	1.00000000e+00

Mass Calibration Parameter (55):	1.00000000e+00

Mass Calibration Parameter (56):	3.05285907e+01

Mass Calibration Parameter (57):	1.02348760e+06

Mass Calibration Parameter (58):	1.02348760e+05

Mass Calibration Parameter (59):	2.40000000e+03

Mass Calibration Parameter (60):	2.56000000e+02

Mass Calibration Parameter (61):	1.38054670e+09

Mass Calibration Parameter (62):	8.00000000e+00

Mass Calibration Parameter (63):	2.65147903e+02

Mass Calibration Parameter (64):	5.05724724e+02

Mass Calibration Parameter (65):	5.14284397e+02

Mass Calibration Parameter (66):	3.63124030e+02

Mass Calibration Parameter (67):	1.27999721e+03

Mass Calibration Parameter (68):	2.30170970e+02

Mass Calibration Parameter (69):	1.37999083e+03

Mass Calibration Parameter (70):	2.21675076e+02

Mass Calibration Parameter (71):	1.47998444e+03

Mass Calibration Parameter (72):	2.14055474e+02

Mass Calibration Parameter (73):	1.57997805e+03

Mass Calibration Parameter (74):	2.07171174e+02

Mass Calibration Parameter (75):	1.67997166e+03

Mass Calibration Parameter (76):	2.00911061e+02

Mass Calibration Parameter (77):	1.77996528e+03

Mass Calibration Parameter (78):	1.95186177e+02

Mass Calibration Parameter (79):	0.00000000e+00

Mass Calibration Parameter (80):	0.00000000e+00

Mass Calibration Parameter (81):	0.00000000e+00

Mass Calibration Parameter (82):	0.00000000e+00

Mass Calibration Parameter (83):	0.00000000e+00

Mass Calibration Parameter (84):	0.00000000e+00

Mass Calibration Parameter (85):	0.00000000e+00

Mass Calibration Parameter (86):	0.00000000e+00

Mass Calibration Parameter (87):	0.00000000e+00

Mass Calibration Parameter (88):	0.00000000e+00

Mass Calibration Parameter (89):	0.00000000e+00

Mass Calibration Parameter (90):	0.00000000e+00

Mass Calibration Parameter (91):	0.00000000e+00

Mass Calibration Parameter (92):	0.00000000e+00

Mass Calibration Parameter (93):	0.00000000e+00

Mass Calibration Parameter (94):	0.00000000e+00

Mass Calibration Parameter (95):	0.00000000e+00

Mass Calibration Parameter (96):	0.00000000e+00

Mass Calibration Parameter (97):	0.00000000e+00

Mass Calibration Parameter (98):	0.00000000e+00

Mass Calibration Parameter (99):	0.00000000e+00

Mass Calibration Parameter (100):	0.00000000e+00

Mass Calibration Parameter (101):	0.00000000e+00

Mass Calibration Parameter (102):	0.00000000e+00

Mass Calibration Parameter (103):	0.00000000e+00

Mass Calibration Parameter (104):	0.00000000e+00

Mass Calibration Parameter (105):	0.00000000e+00

Mass Calibration Parameter (106):	0.00000000e+00

Mass Calibration Parameter (107):	0.00000000e+00

Mass Calibration Parameter (108):	0.00000000e+00

Mass Calibration Parameter (109):	0.00000000e+00

Mass Calibration Parameter (110):	0.00000000e+00

Mass Calibration Parameter (111):	0.00000000e+00

Mass Calibration Parameter (112):	0.00000000e+00

Mass Calibration Parameter (113):	0.00000000e+00

Mass Calibration Parameter (114):	0.00000000e+00

Mass Calibration Parameter (115):	0.00000000e+00

Mass Calibration Parameter (116):	0.00000000e+00

Mass Calibration Parameter (117):	0.00000000e+00

Mass Calibration Parameter (118):	0.00000000e+00

Mass Calibration Parameter (119):	0.00000000e+00

CTCD Scale (+):	1.451

CTCD Scale (-):	3.440

CTCD Para (+):	0.800

CTCD Para (-):	0.500

Detect Delay:	5.50

Relais Delay:	5.00

Res.-Dep. Delay:	10.00

Quad DC (+,0):	5.517

Quad DC (+,1):	-0.001

Quad DC (-,0):	-5.860

Quad DC (-,1):	0.001

Quad OTK (+,0):	0.811

Quad OTK (+,1):	-0.098

Quad OTK (-,0):	11.743

Quad OTK (-,1):	0.079

Quad Para A:	0.000

Quad Para B:	0.000

Quad Para C:	0.000

CLT GND Voltage (+):	20.10

CLT GND Voltage (-):	16.45

CLT Offset Voltage (+):	1650.0

CLT Offset Voltage (-):	1650.0

CLT Push Voltage (+):	150.0

CLT Push Voltage (-):	150.0

CLT Pull Voltage (+):	300.0

CLT Pull Voltage (-):	300.0

Lens 6 Voltage (+):	630.0

Lens 6 Voltage (-):	630.0

Z-Lens 3 Voltage (+):	230.0

Z-Lens 3 Voltage (-):	230.0

De-Inject Voltage (+):	40.0

De-Inject Voltage (-):	40.0

De-Measure Voltage (+):	470.0

De-Measure Voltage (-):	470.0

CE-Inject Voltage (+):	3800.0

CE-Inject Voltage (-):	3800.0

=== Configuration Data: ===:

Preamp Protect Mode:	0

TMP Sweep Mode:	0

Temp Sensor Mode:	0

=== Identification: ===:

SW Version:	2.2-164600/2.2.1.1646

Model:	Q Exactive

Instrument:	Exactive S... slot #809

Hardware Id:	001999C9156E

Method of Q Exactive

OVERALL METHOD SETTINGS

Global Settings

use lock masses                                                         best

Chrom. peak width (FWHM)                                                   5 s

Time

Method duration                                                        12.00 min

Experiment

FULL MS — SIM

General

Runtime                                                              0 to 12 min

Polarity                                                            positive

In-source CID                                                            0.0 eV

Full MS — SIM

Microscans                                                                 1

Resolution                                                            70,000

AGC target                                                               3e6

Maximum IT                                                               200 ms

Number of scan ranges                                                      1

Scan range                                                        70 to 1000 m/z

Spectrum data type                                                  Centroid

Setup

TUNEFILES

General

Switch Count  0

Base Tunefile C:\Xcalibur\methods\Rainey\Rainey-HighFlow-Slens-40.mstune

CONTACT CLOSURE

General

Used            False

Start in Closed  True

Switch Count        0

SYRINGE

General

Used                  False

Start in OFF           True

Stop at end of run    False

Switch Count              0

Pump setup

Syringe type       Hamilton

Flow rate             3.000 µL/min

Inner diameter        2.303 mm

Volume                  250 µL

DIVERT VALVE A

General

Used         False

Start in 1-2  True

Switch Count     0

DIVERT VALVE B

General

Used         False

Start in 1-2  True

Switch Count     0

LOCK MASSES

3 entries

Mass Polarity Start   End Comment

[m/z]          [min] [min]

391.28429 Positive

371.10124 Positive

445.12003 Positive

INCLUSION LIST

(no entries)

EXCLUSION LIST

(no entries)

NEUTRAL LOSSES

(no entries)

MASS TAGS

(no entries)

Sample Name:

Comments:	Ratio

Study:

Client:

Laboratory:

Company:

Phone:

Instrument Method:	C:\Xcalibur\methods\Rob\Rob_IROA_Short.meth

Processing Method:

Vial:	 BA4

Injection Volume (µl):	   3.00

Sample Weight:	   0.00

Sample Volume (µl):	   0.00

ISTD Amount:	   0.00

Dil Factor:	   1.00