‘Ventricle-specific myocardial protein and metabolite characterisation in healthy humans, with differential regulation in end-stage cardiomyopathies’, 2018 Metabolomic mass spectrometry methods

Methods from, ‘Core functional nodes and sex-specific pathways in human ischaemic and dilated cardiomyopathy’:

The mass spectrometry metabolomics data have been deposited to

Metabolomics workbench. Frozen heart tissues were crushed to powder in liquid

nitrogen and weighed for metabolomic (~150 mg) and proteomic (~20 mg) analysis,

respectively. For targeted metabolomic analysis, a tandem liquid

chromatography–mass spectrometry (LC-MS/MS) composed of an Agilent (Santa

Clara, CA, USA) 1260 Infinity liquid chromatography system coupled to a

QTRAP5500 mass spectrometer (AB Sciex, Foster City, CA, USA) was used to

measure hydrophilic metabolites in positive and negative ionization modes. The

polar metabolites in positive ionization mode included nucleotides, neurotransmitters,

amino acids and vitamins, and were separated on a hydrophilic

interaction chromatography using acidic chromatographic condition. For the

separation of high-energy intermediates, nucleotide and nucleoside phosphates,

organic acids, Krebs cycle intermediates and glycolytic intermediates, a BEH Amide

column was used, both as previously described73. Both sets of metabolites were

based on HPLC-grade authentic chemical standards, where the retention time (RT)

and MRM Q1 and Q3 masses were unique to each metabolite were derived and

compiled into a library. A data file, “Instrument Settings Metabolite”, containing

the LC/MS instrument settings for each metabolite, has been uploaded to Supplementary

Data 15.

The analysis software MultiQuant 3.0 (ABSciex) was used for MRM Q1/Q3

peak integration of the raw data files (Analyst software, v.1.6.2; ABSciex). The peak

area corresponds to the abundance of that metabolite; the area values were then

normalized to their bookended pooled plasma samples, which were included after

every 4 study samples in the sample queue, in order to account for any

performance drift in the LC-MS/MS.

73. Koay, Y. C. et al. Ingestion of resistant starch by mice markedly increases

microbiome-derived metabolites. FASEB J. 33, 8033–8042 (2019).