‘Ventricle-specific myocardial protein and metabolite characterisation in healthy humans, with differential regulation in end-stage cardiomyopathies’, 2020 Metabolomic mass spectrometry methods

Cryopreserved human myocardium was powderised in liquid nitrogen and weighed to ~50 mg. The tissue was lysed and homogenised in methanol/chloroform (2:1; v/v, HPLC grade). Equal volumes of water and chloroform were added to the samples which were then centrifuged at 14,000 rpm at 4C for 20 min. The aqueous-containing metabolite layer was extracted and concentrated in the Speed-Vac SPD120 (Thermo Fisher Scientific) then dried under nitrogen stream, followed by reconstitution in the acetonitrile/methanol/formic acid (75:25:0.2; v/v/v, HPLC grade; Thermo Fisher Scientific) for the HILIC analysis, and acetonitrile/methanol (25:25; v/v/v, HPLC grade) for the AMIDE analysis. Deuterated internal standards were used for targeted metabolite profiling to determine mass spectrometry (MS) multiple reaction-monitoring transitions, declustering potentials, collision energies and chromatographic retention time, as described previously113,114. Liquid chromatography-tandem mass spectrometry (LC-MS/MS) system was used for both HILIC and AMIDE analyses and composed of an Agilent 1260 Infinity liquid chromatography (Santa Clara, CA, USA) system coupled to a QTRAP5500 mass spectrometer (AB Sciex, Foster City, CA, USA). Polar metabolites in both positive and negative ionisation modes were separated in hydrophilic interaction liquid chromatography (HILIC) mode using an Atlantis® HILIC column (Waters) and an XBridgeTM Amide column (Waters), respectively, which allow the separation of metabolites of different properties, both as previously described113,115. The sample order was randomised across three batches. The analysis software SCIEX OS (AB SCIEX, version 1.7.0.36606) was used for multiple reaction monitoring Q1/Q3 peak integration of the raw data files. The abundance was quantified as the peak area of a metabolite which was then normalised to their closest bookended pooled myocardium extracts which were included after every 10 study samples in the sample queue, in order to adjust for any temporal drift in instrument performance.

113.	Koay, Y.C., et al. Effect of chronic exercise in healthy young male adults: a metabolomic analysis. Cardiovasc Res (2020).

114.	Koay, Y.C., et al. Plasma levels of trimethylamine-N-oxide can be increased with ‘healthy’ and ‘unhealthy’ diets and do not correlate with the extent of atherosclerosis but with plaque instability. Cardiovasc Res 117, 435-449 (2020).

115.	Koay, Y.C., et al. Ingestion of resistant starch by mice markedly increases microbiome‐derived metabolites. FASEB J 33, 8033-8042 (2019).