# Mass Spectrometry

System 1:

For standard measurements on the Dionex Ultimate 3000 + Bruker micrOTOFQ II system MS data was acquired over a range from 50 to 2000 m/z in positive mode. Auto MS/MS fragmentation was achieved with rising collision energy (for single charged ions: 18–45 eV over a gradient from 100 to 1000 m/z; for double charged ions: 15–32 eV over a gradient from 100 to 1000 m/z). Calibration of mass spectra was achieved using 10 mM sodium formate in H2O/ iPrOH (1:1) as internal standard.

Mass spectra were analysed using Bruker Data Analysis 4.2 software (Bruker Daltonics, Bremen, Germany). Masses of the expected compounds were determined using ChemDraw Professional 16.0.1.4 (PerkinElmer, Waltham, USA) and recorded chromatograms were extracted for the respective m/z. Ions with fitting m/z (Δ<10 ppm) and plausible retention time were fragmented and fragments were matched to in silico identified plausible decay products.

| Metabolite | Folder | Folder |
| --- | --- | --- |
| Darobactin A | Dionex Ultimate 3000 + Bruker micrOTOFQ II | 093_DaroA_RC5_01_11952 and DaroA_micrOTOFQII_MS1 |
| Darobactin B | Dionex Ultimate 3000 + Bruker micrOTOFQ II | 093_DaroB_RC7_01_11954 and DaroB_micrOTOFQII_MS1 |
| Darobactin C | Dionex Ultimate 3000 + Bruker micrOTOFQ II | 093_DaroC_RD1_01_11957 and DaroC_micrOTOFQII_MS1 |
| Darobactin D | Dionex Ultimate 3000 + Bruker micrOTOFQ II | 093_DaroD_RD3_01_11959 and DaroD_micrOTOFQII_MS1 |
| Darobactin E | Dionex Ultimate 3000 + Bruker micrOTOFQ II | 093_DaroE_RD5_01_11961 and DaroE_micrOTOFQII_MS1 |
| Darobactin F | Dionex Ultimate 3000 + Bruker micrOTOFQ II | 093_DaroF_RD7_01_11963 and DaroF_micrOTOFQII_MS1 |

System 2:

For standard measurements on the Agilent Infinity 1290 + Bruker micrOTOFQ II system MS data was acquired over a range from 100 to 1500 m/z in positive mode. Auto MS/MS fragmentation was achieved with rising collision energy (for single charged ions: 18–45 eV over a gradient from 100 to 1000 m/z; for double charged ions: 15–32 eV over a gradient from 100 to 1000 m/z). Calibration of mass spectra was achieved using 10 mM sodium formate in H2O/ iPrOH (1:1) as internal standard.

Mass spectra were analysed using Bruker Data Analysis 4.2 software (Bruker Daltonics, Bremen, Germany). Masses of the expected compounds were determined using ChemDraw Professional 16.0.1.4 (PerkinElmer, Waltham, USA) and recorded chromatograms were extracted for the respective m/z. Ions with fitting m/z (Δ<10 ppm) and plausible retention time were fragmented and fragments were matched to in silico identified plausible decay products.

| Metabolite | Folder | Folder |
| --- | --- | --- |
| Darobactin B | Agilent Infinity 1290 + Bruker micrOTOFQ II | daro B pH10 mid_3_01_19485 and DaroB_micrOTOFQII_MS2 |

System 3:

For standard measurements on the Agilent Infinity 1290 + Bruker maXis II system MS data was acquired over a range from 50 to 2000 m/z in positive mode. Auto MS/MS fragmentation was achieved with rising collision energy (for single charged ions: 35–70 eV over a gradient from 500 to 2000 m/z; for double charged ions: 25–50 eV over a gradient from 500 to 2000 m/z). Calibration of mass spectra was achieved using sodium formate in H2O/ iPrOH (1:1) as internal standard.

Mass spectra were analysed using Bruker Data Analysis 4.2 software (Bruker Daltonics, Bremen, Germany). Masses of the expected compounds were determined using ChemDraw Professional 16.0.1.4 (PerkinElmer, Waltham, USA) and recorded chromatograms were extracted for the respective m/z. Ions with fitting m/z (Δ<10 ppm) and plausible retention time were fragmented and fragments were matched to in silico identified plausible decay products.

| Metabolite | Folder | Folder |
| --- | --- | --- |
| Darobactin A | Agilent Infinity 1290 + Bruker maXis II | Nils-Boeringer_2019-07-04_A_A2p_3_01_46289 and DaroA_maXis_MS2_2 |
| Darobactin D | Agilent Infinity 1290 + Bruker maXis II | 20190910_D_C47_A2p_5_01_49313 and DaroD_maXis_MS2 |
| Darobactin E | Agilent Infinity 1290 + Bruker maXis II | 20190910_E_C46_A2p_6_01_49314 and DaroE_maXis_MS2 |
| Darobactin F | Agilent Infinity 1290 + Bruker maXis II | 20190910_F_A2p_P2-E-3_01_49252 and DaroF_maXis_MS2 |