Metabolites Extraction

The metabolites were extracted as reported before with modification (43). In detail, one punch, a size of 3.2 mm, was collected from each DBS sample and transferred into a 96-well plate for metabolite extraction. Metabolite extraction was performed by adding 250 ul extraction solvent (20:40:40) (H2O: ACN: MeOH) to each well with agitation for 2 hours at room temperature. Subsequently, sample extracts were dried using SpeedVac (Thermo Fischer, Christ, Germany). The dried samples were reconstituted in 100 ul of 50% A: B mobile phase. (A: 0.1% Formic acid in H2O, B: 0.1% FA in 50% ACN: MeOH). Additional punches were taken for quality control (QC) from the project samples to maintain the instrument performance.