Kaiser MDA-MB-468 Cell Pellets

Platform: GCTOF

Number of Cells: 5 x 10^6

Treatments: 0 hours-baseline (100µM Methionine); 2, 4, 8, 12, 24 and 48 hours (370µM Homocysteine)

Extraction Protocol:

- Degas Pre-Chilled Extraction Solvent (3:3:2 Acetonitrile/Isopropanol/ddH2O)

- Keep Extraction Solvent on Ice

- Homogenize Cell Pellets using Cryo GenoGrinder to a fine dust

- Add 1mL of ice-cold extraction solvent to homogenized cell pellet

- Vortex briefly

- Transfer Supernatant to a new 1.5mL eppendorf tube and placed on ice

- Vortex for 10seconds

- Shake for 5 minutes at 4C using the Orbital Mixing Chilling/Heating Plate

- Centrifuge samples for 2 minutes at 14,000 rcf

- Aliquot two 450µL portions of the supernatant into new 1.5mL eppendorf tubes. One for analysis one for a backup sample. Store Backup in -20C.

- Evaporate one 450µL aliquot of the sample in the Labconco Centrivap cold trap concentrator to complete dryness

- Resuspend the dried aliquot with 450µl of 50/50 Acetonitrile/ddH2O (degassed) as a clean-up step to remove lipids

- Centrifuge for 2 minutes at 14,000 rcf

- Remove supernatant to a new 1.5mL eppendorf tube

- Evaporate one 450µL aliquot of the sample in the Labconco Centrivap cold trap concentrator to complete dryness

- Submit for derivatization according to SOP