Detailed description of sample preparation for metabolomics analyses.

# Metabolite Extraction. Frozen faeces samples were lyophilized overnight at -80°C (LyoQest -85, Telstar). Faecal pellets were doubly extracted following the same protocol: (i) first with MeOH:MTBE (4:1, v/v) and (ii) with MeOH:H2O (4:1, v/v)1,2.

# 100 mg of lyophilized faeces were re-suspended in 350 μL of cold MeOH:MTBE (4:1, v/v) and disrupted 10 min at 50 mHz in a TissueLyser LT (Qiagen, Germany) with 50 mg of glass beads (710-1180 μm, Sigma-Aldrich, Germany), and 5 min in a Sonicator XL (Misonix, USA) at 15 W. This was followed by three cycles of freeze/thawing in a liquid nitrogen/cold-water bath. Solid parts were removed by centrifugation at 16000 × g for 20 min at 4°C. Finally, 300 µL of supernatant were collected and stored at -20°C until the next step.

# Pellets from (i) were re-suspended in 350 µL of cold MeOH:H2O (4:1, v/v) and the same steps as in (i) were followed.

# Equal volumes (300 µL) of the supernatants from (i) and (ii) were then mixed and aliquoted for subsequent analysis.

Serum samples (100 µL) were deproteinized by an addition of 300 µL of cold acetonitrile (1:3 v/v) and homogenized for 15 min in a vortex. After a 10 min ice bath, samples were centrifuged (16000 x g, 4°C, 20 min) and stored at -20°C until the start of sample treatment.

Sample treatment1,3,4. The resulting supernatants were filtered through 0.22 µm for LC-MS, 80 µL were transferred into an analytical vial for their analysis. For CE-MS, 80 µL of the supernatants were evaporated to dryness using a Speedvac Concentrator and reconstituted in 80 µL of MilliQ® water containing an internal standard (0.2 mM L-methionine sulfone) and 0.1 M FA. Finally, for GC-MS, 120 µL of the corresponding aliquots were evaporated to dryness using a Speedvac Concentrator, followed by the addition of 10 μL of O-methoxyamine hydrochloride (15 mg/mL) in pyridine for methoximation. After gently vortexing, the vials were incubated in darkness at room temperature for 16 h. Then, 10 μL of BSTFA with 1 % TMCS (v/v) were added and samples were vortexed for 5 min, silylation was carried out for 1 h at 70 °C and finally 120 μL of C18:0 methyl ester (10 mg/L in heptane) were added as an internal standard and samples were mixed again by gentle vortexing. Eight blank samples were prepared for GC-MS by the same procedure of extraction and derivatization.

Preparation of quality controls (QCs)5,6. QC samples are required at the beginning of the sequence to stabilize the system and throughout the analytical runs at periodic intervals to monitor variations in signal across time. For these reasons, individual QC samples were prepared independently for each analytical platform by pooling and mixing equal volumes of each corresponding extracted sample. After gentle vortexing, the mixes were transferred to analytical vials.

Bibliography

1. 	Binek A, Rojo D, Godzien J, et al. Flow Cytometry Has a Significant Impact on the Cellular Metabolome. J Proteome Res. 2019;18(1):169-181. doi:10.1021/ACS.JPROTEOME.8B00472

2. 	Zubeldia-Varela E, Raczkowska BA, Ferrer M, Perez-Gordo M, Rojo D. Techniques for Phenotyping the Gut Microbiota Metabolome. In: Microbiome and Metabolome in Diagnosis, Therapy, and Other Strategic Applications. Elsevier; 2019:33-41. doi:10.1016/B978-0-12-815249-2.00004-X

3. 	Mamani-Huanca M, de la Fuente AG, Otero A, et al. Enhancing confidence of metabolite annotation in Capillary Electrophoresis-Mass Spectrometry untargeted metabolomics with relative migration time and in-source fragmentation. J Chromatogr A. 2021;1635. doi:10.1016/J.CHROMA.2020.461758

4. 	Garcia A, Barbas C. Gas chromatography-mass spectrometry (GC-MS)-based metabolomics. Methods Mol Biol. 2011;708:191-204. doi:10.1007/978-1-61737-985-7_11

5. 	Dudzik D, Barbas-Bernardos C, García A, Barbas C. Quality assurance procedures for mass spectrometry untargeted metabolomics. a review. Journal of Pharmaceutical and Biomedical Analysis. 2018;147:149-173. doi:10.1016/j.jpba.2017.07.044

6. 	Godzien J, Alonso-Herranz V, Barbas C, Armitage EG. Controlling the quality of metabolomics data: new strategies to get the best out of the QC sample. Metabolomics. 2015;11(3):518-528. doi:10.1007/s11306-014-0712-4