Metabolomic changes during active immunization with anti-METH vaccines

Biocrates Metabolomics Methods

Sample Preparation Prior to Biocrates p180 Kit Plate Analysis:

Study Phenotypic Pools

Thawed serum samples were vortexed and centrifuged at 5,000 rcf for 4 minutes. The following phenotypic pools were created by combining 10 µL from each phenotypic sample into a 2 mL LoBind eppendorf tube:

- Pre-immune serum from RI 11-03A (n=12) which is a matched control serum that was collected before starting immunizations. The final volume of this phenotypic pool was 120 µL which was vortexed for 30 seconds. Two phenotypic pools (0wk-03A_Pool1 and 0wk-03A_Pool2) of 25 µL each were created.

- Week 17 bleeds from RI 11-03A (n=12). The final volume of this phenotypic pool was 120 µL which was vortexed for 30 seconds. Two phenotypic pools (17wk-03A_Pool1 and 17wk-03A_Pool1) of 25 µL each were created.

- RI 11-03B (n=8).The final volume of this phenotypic pool was 80 µL which was vortexed for 30 seconds. Two phenotypic pools (17wk-03B_Pool1 and 17wk-03B_Pool2) of 25 µL each were created.

- and RI 11-03C (n=12). The final volume of this phenotypic pool was 120 µL which was vortexed for 30 seconds. Two phenotypic pools (17wk-03C_Pool1 and 17wk-03C_Pool2) of 25 µL each were created.

Whole Study Pooled QC

Whole study pooled QC samples were prepared by combining 25 µL of each phenotypic pool sample created above into a 2 mL LoBind eppendorf tube. This QC pooled sample was then vortexed for 30 sec. Then, three whole study pooled QC samples (Allstudy-Pool 1-3) of 25 µL each were aliquoted into 2 mL LoBind eppendorf tubes.

Biocrates Plate Preparation:

All samples (Phenotypic pools, whole study pooled QC and study samples) were vortexed for 10 minutes at 5,000 rpm. Samples were then centrifuged at 16,000 rcf for 4 minutes and at 4 °C. A Biocrates p180 kit was prepared following the AbsoluteIDQ™ p180 Kit metabolomics procedure. Briefly, an internal standard mix was added to 95 of the 96 wells. Next, zero samples, QC standards and calibration standards were added to their corresponding wells. The study samples, phenotypic and whole study pooled QC Samples (20 µL) were then added to the appropriate wells and dried for 30 minutes under nitrogen flow. The plate was derivatized using a 5% phenylisothiocyanate (PITC) solution in (1:1:1) ethanol:pyridine:water (v/v/v) and, then, incubated for 20 minutes at room temperature followed by a drying step under nitrogen flow. An extraction solvent (5 mM ammonium acetate in methanol) was added to all wells. The plate was then shaken and centrifuged. After centrifugation, 150 µL was removed and transferred to a second 96-well plate (LCMS plate). This second plate was diluted with 150 µL of HPLC grade water for a subsequent LCMS (MRM analysis) for measuring amino acids and biogenic amines. All wells in the original plate were diluted with 400 µL of flow injection analysis (FIA) Running Solvent for a FIA-MS (MRM analysis) for measuring lipids, acylcarnitines, and hexose.

MS Data Collection

LC-MS Method:

LC-MS spectra were collected for all samples. LC was performed on an Agilent 1100 HPLC with an Agilent XDB-C18 column (2.1x 100mm x 3.5 µm) at 50 °C using a reversed-phase gradient separation. Water with 0.2% formic acid (mobile phase A) and acetonitrile with 0.2% formic acid (mobile phase B) were used as mobile phases and the metabolites were chromatographically separated using a gradient separation: (see below for the gradient information).  Mass spectroscopy analysis was performed on an Applied BioSystem API 4000 using a 10 µL injection volume and scheduled MRM data collection in positive ion mode.

LCMS Methods Parameters

| Mass Spectrometer | API 4000 Triple Quadrupole with Turbo Ion Spray source |
| --- | --- |
| HPLC | Agilent 1100 |

| Column | Agilent XDB-C18, 3.5 µm (2.1 x 100mm); Temperature = 50 C |
| --- | --- |
| Injection Volume | 10 µl |
| Mobile Phases | MPA: Water with 0.2% Formic Acid MPB: Acetonitrile with 0.2% Acetic Acid |
| Flow Rate | 0.5 ml/min |
| Internal Standard | Multiple labeled internal standards are used and listed in table below |

LCMS Parameters

Time(min) 	Flow Rate 	%A 	%B 	Curve

Initial		0.500 		100.0 	0.0 	6

0.50 		0.500 		100.0 	0.0 	6

5.50 		0.500 		5.0 	95.0	6

6.50 		0.500 		5.0 	95.0 	6

7.00 		0.500 		100.0 	0.0 	6

9.50 		0.500 		100.0 	0.0 	6

MS Parameters

Scan Type:	MRM (MRM)

Scheduled MRM: 	Yes

Polarity:	Positive

Ion Source:	Turbo Spray

MRM detection window: 	30 sec

Target Scan Time: 	0.5 sec

CUR: 	20.00

TEM: 	500.00

GS1: 	40.00

GS2: 	50.00

ihe: 	ON

IS: 	5500.00

CAD: 	6.00

List of LCMS MRMs

| Q1 Mass (Da) | Q3 Mass (Da) | Time (min) | ID | DP | EP | CE | CXP |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 114.1 | 44.1 | 0.9 | Creatinine | 60 | 10 | 17 | 15 |
| 117.1 | 47.1 | 0.9 | d3-Creatinine | 60 | 10 | 17 | 15 |
| 211.2 | 75.9 | 4.8 | Gly | 66 | 10 | 14 | 15 |
| 214.2 | 78.9 | 4.8 | 13C2-15N-Gly | 66 | 10 | 14 | 15 |
| 225.2 | 44.2 | 5.2 | Ala | 61 | 10 | 35 | 15 |
| 229.2 | 48.2 | 5.1 | d4-Ala | 61 | 10 | 35 | 15 |
| 241.2 | 60 | 4.7 | Ser | 41 | 10 | 31 | 15 |
| 244.2 | 63 | 4.7 | d3-Ser | 41 | 10 | 31 | 15 |
| 247 | 154 | 4.2 | Histamine | 56 | 10 | 19 | 15 |
| 251.2 | 70.3 | 5.1 | Pro | 51 | 10 | 43 | 15 |
| 253.2 | 72.2 | 5.7 | Val | 81 | 10 | 31 | 15 |
| 255.2 | 74.1 | 5 | Thr | 66 | 10 | 29 | 15 |
| 257.2 | 105.2 | 6.5 | PEA | 71 | 10 | 31 | 15 |
| 258.2 | 77.3 | 5.1 | d7-Pro | 51 | 10 | 43 | 15 |
| 259.2 | 77.1 | 5 | 13C4-15N-Thr | 66 | 10 | 29 | 15 |
| 261 | 126.1 | 4.4 | Taurine | 71 | 10 | 21 | 15 |
| 261.2 | 80.2 | 5.7 | d8-Val | 81 | 10 | 31 | 15 |
| 263 | 128 | 4.4 | 13C2-Taurine | 61 | 10 | 21 | 15 |
| 266.1 | 113.9 | 6 | Putrescine | 100 | 10 | 25 | 15 |
| 267.1 | 68 | 4.6 | c4-OH-Pro | 56 | 10 | 61 | 15 |
| 267.15 | 68 | 4.4 | t4-OH-Pro | 56 | 10 | 61 | 15 |
| 267.3 | 43 | 5.9 | Leu | 55 | 10 | 66 | 15 |
| 267.3 | 69 | 6 | Ile | 55 | 10 | 45 | 15 |
| 268.2 | 87 | 4.6 | Asn | 41 | 10 | 25 | 15 |
| 269.2 | 116.2 | 4.8 | Asp | 76 | 10 | 21 | 15 |
| 270.2 | 89.2 | 4.6 | 15N2-Asn | 66 | 10 | 27 | 15 |
| 272.2 | 119.2 | 4.8 | d3-Asp | 76 | 10 | 21 | 15 |
| 273.2 | 91.2 | 5.9 | 13C6-Ile | 66 | 10 | 27 | 15 |
| 282.2 | 130 | 4.6 | Gln | 71 | 10 | 25 | 15 |
| 283.2 | 130.2 | 4.8 | Glu | 76 | 10 | 23 | 15 |
| 285.1 | 104.2 | 5.6 | Met | 71 | 10 | 25 | 15 |
| 286.2 | 133.2 | 4.8 | d3-Glu | 76 | 10 | 23 | 15 |
| 287.2 | 135 | 4.6 | d5-Gln | 71 | 10 | 25 | 15 |
| 288.1 | 107.2 | 5.6 | d3-Met | 71 | 10 | 25 | 15 |
| 289.2 | 137.2 | 5.4 | Dopamine | 56 | 10 | 29 | 15 |
| 291.1 | 110.2 | 4.2 | His | 56 | 10 | 33 | 15 |
| 293.1 | 141.1 | 5.4 | d4-Dopamine | 56 | 10 | 29 | 15 |
| 297.1 | 115.2 | 4.2 | 13C6-His | 56 | 10 | 33 | 15 |
| 297.1 | 144.2 | 5 | alpha-AAA | 46 | 10 | 23 | 15 |
| 301.2 | 120.2 | 6 | Phe | 71 | 10 | 31 | 15 |
| 301.2 | 88.1 | 4.7 | Met-SO | 61 | 10 | 41 | 15 |
| 306.2 | 125.2 | 6 | d5-Phe | 71 | 10 | 31 | 15 |
| 310 | 217 | 4.3 | Arg | 76 | 10 | 23 | 15 |
| 310.2 | 217.3 | 4.8 | Ac-Orn | 46 | 10 | 15 | 15 |
| 311.2 | 113.1 | 4.7 | Cit | 56 | 10 | 29 | 15 |
| 312 | 219 | 4.3 | 15N2-Arg | 76 | 10 | 23 | 15 |
| 312.3 | 160.2 | 5.5 | Serotonin | 66 | 10 | 27 | 15 |
| 316.1 | 118.2 | 4.7 | 13C-d4-Cit | 56 | 10 | 29 | 15 |
| 316.3 | 164.2 | 5.5 | d4-Serotonin | 66 | 10 | 27 | 15 |
| 317.2 | 136.1 | 5.3 | Tyr | 76 | 10 | 31 | 15 |
| 321.2 | 140.1 | 5.3 | d4-Tyr | 76 | 10 | 31 | 15 |
| 333.1 | 198.1 | 5.1 | DOPA | 61 | 10 | 19 | 15 |
| 336.1 | 201.1 | 5.1 | d3-DOPA | 56 | 10 | 19 | 15 |
| 338.2 | 46 | 4.4 | ADMA | 71 | 10 | 61 | 15 |
| 338.2 | 70.1 | 4.4 | total DMA | 71 | 10 | 61 | 15 |
| 338.2 | 307 | 4.4 | SDMA | 81 | 10 | 17 | 15 |
| 340.2 | 188.2 | 5.8 | Trp | 96 | 10 | 25 | 15 |
| 342.2 | 189.2 | 5.8 | 15N2-Trp | 96 | 10 | 25 | 15 |
| 344.2 | 146.2 | 5.8 | Kynurenine | 46 | 10 | 33 | 15 |
| 345.2 | 77.2 | 4.4 | d7-ADMA | 71 | 10 | 61 | 15 |
| 362.2 | 110.1 | 4.2 | Carnosine | 46 | 10 | 47 | 15 |
| 362.2 | 136.1 | 5.8 | Nitro-Tyr | 65 | 10 | 41 | 15 |
| 363.2 | 270.1 | 6 | d4-Putrescine | 51 | 10 | 19 | 15 |
| 403.2 | 310.2 | 5.7 | Orn | 76 | 10 | 19 | 15 |
| 409.2 | 316.2 | 5.7 | d6-Orn | 76 | 10 | 19 | 15 |
| 417.2 | 324.2 | 5.8 | Lys | 81 | 10 | 19 | 15 |
| 551.2 | 193.2 | 6.5 | Spermidine | 71 | 10 | 41 | 15 |
| 743.3 | 193.2 | 6.8 | Spermine | 56 | 10 | 61 | 15 |
| 559.2 | 193.2 | 6.4 | d8-Spermidine | 71 | 10 | 41 | 15 |
| 751.3 | 193.2 | 6.7 | d8-Spermine | 56 | 10 | 61 | 15 |

Expected Calibrator Concentrations

|  | 20000611 Cal1 | 20000612 Cal2 | 20000613 Cal3 | 20000614 Cal4 | 20000615 Cal5 | 20000616 Cal6 | 20000617 Cal7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ala | 20 | 40 | 200 | 400 | 800 | 1200 | 1600 |
| Arg | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Asn | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Asp | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Cit | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Gln | 20 | 40 | 200 | 400 | 800 | 1200 | 1600 |
| Glu | 10 | 20 | 100 | 200 | 400 | 600 | 800 |
| Gly | 25 | 50 | 250 | 500 | 1000 | 1500 | 2000 |
| His | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Ile | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Leu | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Lys | 10 | 20 | 100 | 200 | 400 | 600 | 800 |
| Met | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Orn | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Phe | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Pro | 10 | 20 | 100 | 200 | 400 | 600 | 800 |
| Ser | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Thr | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Trp | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Tyr | 5 | 10 | 50 | 100 | 200 | 300 | 400 |
| Val | 10 | 20 | 100 | 200 | 400 | 600 | 800 |
| Ac-Orn | 0.5 | 1 | 5 | 10 | 20 | 30 | 40 |
| ADMA | 0.25 | 0.5 | 2.5 | 5 | 10 | 15 | 20 |
| SDMA | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| total DMA | 1.25 | 2.5 | 12.5 | 25 | 50 | 75 | 100 |
| alpha-AAA | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| Carnosine | 0.5 | 1 | 5 | 10 | 20 | 30 | 40 |
| Creatinine | 10 | 20 | 100 | 200 | 400 | 600 | 800 |
| DOPA | 0.5 | 1 | 5 | 10 | 20 | 30 | 40 |
| Dopamine | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| Histamine | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| Kynurenine | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| Met-SO | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| Nitro-Tyr | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| c4-OH-Pro | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| t4-OH-Pro | 1 | 2 | 10 | 20 | 40 | 60 | 80 |
| PEA | 0.1 | 0.2 | 1 | 2 | 4 | 6 | 8 |
| Putrescine | 0.1 | 0.2 | 1 | 2 | 4 | 6 | 8 |
| Serotonin | 0.1 | 0.2 | 1 | 2 | 4 | 6 | 8 |
| Spermidine | 0.25 | 0.5 | 2.5 | 5 | 10 | 15 | 20 |
| Spermine | 0.25 | 0.5 | 2.5 | 5 | 10 | 15 | 20 |
| Taurine | 2.5 | 5 | 25 | 50 | 100 | 150 | 200 |

FIA Method:

FIA-MS spectra were collected for all samples. FIA was performed using an Agilent 1100 HPLC without a column. Methanol with Biocrates FIA solvent I (mobile phase B) was used to transport sample from the injector to the source (see below for the flow rate information).  Mass spectroscopy analysis was performed on an Applied BioSystem API 4000 using a 20 µL injection volume and MRM data collection in positive and negative ion modes.

FIA-MS Methods Parameters

| Mass Spectrometer | API 4000 Triple Quadrupole with Turbo Ion Spray source |
| --- | --- |
| HPLC | Agilent 1100 |

| Column | none |
| --- | --- |
| Injection Volume | 20 µl |
| Mobile Phases | MPA: MPB: Methanol + Biocrates FIA Solvent I |
| Flow Rate | See below |
| Internal Standard | Class specific labeled internal standards are used |

LCMS Parameters (Positive and Negative Ion FIA-MS)

Time(min) 	Flow Rate(mL) 	%A 	%B 	Curve

Initial		0.020 		0.0 	100.0 	6

1.60 		0.030 		0.0 	100.0 	6

2.40 		0.200 		0.0 	100.0	6

2.80 		0.200 		0.0 	100.0 	6

3.00 		0.030 		0.0 	100.0 	6

MS Parameters (Positive)

Scan Type:	MRM (MRM)

Scheduled MRM: 	no

Polarity:	Positive

Ion Source:	Turbo Spray

MRM cycle time: 	3.1050 sec

CUR: 	20.00

TEM: 	190.00

GS1: 	25.00

GS2: 	40.00

ihe: 	ON

IS: 	5500.00

CAD: 	6.00

EP:	10.0

CXP:	15.0

List of Positive Ion FIA-MS MRMs

| Q1 Mass (Da) | Q3 Mass (Da) | Time (msec) | ID | DP | EP | CE | CXP |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 398.2 | 184 | 10 |  | 76 | 10 | 30 | 15 |
| 468.3 | 184 | 10 |  | 79 | 10 | 30 | 15 |
| 494.3 | 184 | 10 |  | 79 | 10 | 30 | 15 |
| 496.3 | 184 | 10 |  | 81 | 10 | 31 | 15 |
| 510.3 | 184 | 10 |  | 82 | 10 | 31 | 15 |
| 520.3 | 184 | 10 |  | 82 | 10 | 31 | 15 |
| 522.3 | 184 | 10 |  | 82 | 10 | 31 | 15 |
| 524.3 | 184 | 10 |  | 85 | 10 | 31 | 15 |
| 544.3 | 184 | 10 |  | 85 | 10 | 31 | 15 |
| 546.3 | 184 | 10 |  | 87 | 10 | 31 | 15 |
| 563.4 | 184 | 10 |  | 94 | 10 | 32 | 15 |
| 608.4 | 184 | 10 |  | 96 | 10 | 33 | 15 |
| 622.4 | 184 | 10 |  | 98 | 10 | 33 | 15 |
| 634.4 | 184 | 10 |  | 98 | 10 | 33 | 15 |
| 636.5 | 184 | 10 |  | 101 | 10 | 34 | 15 |
| 650.5 | 184 | 10 |  | 103 | 10 | 35 | 15 |
| 662.5 | 184 | 10 |  | 103 | 10 | 35 | 15 |
| 664.5 | 184 | 10 |  | 105 | 10 | 35 | 15 |
| 676.5 | 184 | 10 |  | 106 | 10 | 35 | 15 |
| 678.5 | 184 | 10 |  | 108 | 10 | 36 | 15 |
| 688.5 | 184 | 10 |  | 108 | 10 | 36 | 15 |
| 689.6 | 184 | 10 |  | 108 | 10 | 36 | 15 |
| 690.5 | 184 | 10 |  | 109 | 10 | 36 | 15 |
| 692.6 | 184 | 10 |  | 111 | 10 | 37 | 15 |
| 701.6 | 184 | 10 |  | 111 | 10 | 37 | 15 |
| 702.5 | 184 | 10 |  | 111 | 10 | 37 | 15 |
| 703.6 | 184 | 10 |  | 112 | 10 | 37 | 15 |
| 706.5 | 184 | 10 |  | 114 | 10 | 37 | 15 |
| 716.6 | 184 | 10 |  | 114 | 10 | 37 | 15 |
| 717.6 | 184 | 10 |  | 114 | 10 | 38 | 15 |
| 718.6 | 184 | 10 |  | 115 | 10 | 38 | 15 |
| 728.5 | 184 | 10 |  | 117 | 10 | 38 | 15 |
| 729.6 | 184 | 10 |  | 117 | 10 | 38 | 15 |
| 730.5 | 184 | 10 |  | 117 | 10 | 38 | 15 |
| 731.6 | 184 | 10 |  | 117 | 10 | 38 | 15 |
| 732.6 | 184 | 10 |  | 118 | 10 | 39 | 15 |
| 734.6 | 184 | 10 |  | 119 | 10 | 39 | 15 |
| 742.6 | 184 | 10 |  | 120 | 10 | 39 | 15 |
| 744.6 | 184 | 10 |  | 120 | 10 | 39 | 15 |
| 746.6 | 184 | 10 |  | 121 | 10 | 39 | 15 |
| 748.6 | 184 | 10 |  | 122 | 10 | 40 | 15 |
| 754.5 | 184 | 10 |  | 122 | 10 | 40 | 15 |
| 755.6 | 184 | 10 |  | 123 | 10 | 40 | 15 |
| 756.6 | 184 | 10 |  | 123 | 10 | 40 | 15 |
| 758.6 | 184 | 10 |  | 123 | 10 | 40 | 15 |
| 760.6 | 184 | 10 |  | 125 | 10 | 41 | 15 |
| 766.6 | 184 | 10 |  | 125 | 10 | 41 | 15 |
| 768.6 | 184 | 10 |  | 126 | 10 | 41 | 15 |
| 770.6 | 184 | 10 |  | 126 | 10 | 41 | 15 |
| 772.6 | 184 | 10 |  | 127 | 10 | 41 | 15 |
| 774.6 | 184 | 10 |  | 127 | 10 | 41 | 15 |
| 776.7 | 184 | 10 |  | 128 | 10 | 42 | 15 |
| 778.5 | 184 | 10 |  | 128 | 10 | 42 | 15 |
| 780.6 | 184 | 10 |  | 128 | 10 | 42 | 15 |
| 781.6 | 184 | 10 |  | 129 | 10 | 42 | 15 |
| 782.6 | 184 | 10 |  | 129 | 10 | 42 | 15 |
| 784.6 | 184 | 10 |  | 130 | 10 | 42 | 15 |
| 786.6 | 184 | 10 |  | 130 | 10 | 42 | 15 |
| 788.6 | 184 | 10 |  | 131 | 10 | 43 | 15 |
| 790.6 | 184 | 10 |  | 131 | 10 | 43 | 15 |
| 792.6 | 184 | 10 |  | 132 | 10 | 43 | 15 |
| 794.6 | 184 | 10 |  | 132 | 10 | 43 | 15 |
| 796.6 | 184 | 10 |  | 133 | 10 | 43 | 15 |
| 798.6 | 184 | 10 |  | 133 | 10 | 43 | 15 |
| 799.7 | 184 | 10 |  | 133 | 10 | 43 | 15 |
| 800.7 | 184 | 10 |  | 133 | 10 | 43 | 15 |
| 801.7 | 184 | 10 |  | 134 | 10 | 43 | 15 |
| 802.7 | 184 | 10 |  | 134 | 10 | 44 | 15 |
| 804.7 | 184 | 10 |  | 135 | 10 | 44 | 15 |
| 806.6 | 184 | 10 |  | 135 | 10 | 44 | 15 |
| 808.6 | 184 | 10 |  | 136 | 10 | 44 | 15 |
| 810.6 | 184 | 10 |  | 136 | 10 | 44 | 15 |
| 812.6 | 184 | 10 |  | 136 | 10 | 44 | 15 |
| 813.7 | 184 | 10 |  | 137 | 10 | 45 | 15 |
| 815.7 | 184 | 10 |  | 137 | 10 | 45 | 15 |
| 816.7 | 184 | 10 |  | 138 | 10 | 45 | 15 |
| 818.7 | 184 | 10 |  | 138 | 10 | 45 | 15 |
| 820.6 | 184 | 10 |  | 139 | 10 | 45 | 15 |
| 822.6 | 184 | 10 |  | 139 | 10 | 45 | 15 |
| 824.7 | 184 | 10 |  | 140 | 10 | 45 | 15 |
| 826.7 | 184 | 10 |  | 140 | 10 | 46 | 15 |
| 828.7 | 184 | 10 |  | 141 | 10 | 46 | 15 |
| 829.7 | 184 | 10 |  | 141 | 10 | 46 | 15 |
| 830.7 | 184 | 10 |  | 141 | 10 | 46 | 15 |
| 834.6 | 184 | 10 |  | 143 | 10 | 46 | 15 |
| 836.6 | 184 | 10 |  | 143 | 10 | 47 | 15 |
| 838.6 | 184 | 10 |  | 144 | 10 | 47 | 15 |
| 840.7 | 184 | 10 |  | 144 | 10 | 47 | 15 |
| 841.7 | 184 | 10 |  | 144 | 10 | 47 | 15 |
| 842.7 | 184 | 10 |  | 144 | 10 | 47 | 15 |
| 843.7 | 184 | 10 |  | 145 | 10 | 47 | 15 |
| 844.7 | 184 | 10 |  | 145 | 10 | 47 | 15 |
| 846.7 | 184 | 10 |  | 146 | 10 | 48 | 15 |
| 850.7 | 184 | 10 |  | 147 | 10 | 48 | 15 |
| 852.7 | 184 | 10 |  | 148 | 10 | 48 | 15 |
| 854.7 | 184 | 10 |  | 148 | 10 | 48 | 15 |
| 856.7 | 184 | 10 |  | 149 | 10 | 48 | 15 |
| 858.7 | 184 | 10 |  | 141 | 10 | 46 | 15 |
| 860.8 | 184 | 10 |  | 150 | 10 | 49 | 15 |
| 862.6 | 184 | 10 |  | 150 | 10 | 49 | 15 |
| 864.7 | 184 | 10 |  | 151 | 10 | 49 | 15 |
| 866.7 | 184 | 10 |  | 152 | 10 | 50 | 15 |
| 870.7 | 184 | 10 |  | 153 | 10 | 50 | 15 |
| 872.7 | 184 | 10 |  | 153 | 10 | 50 | 15 |
| 874.7 | 184 | 10 |  | 154 | 10 | 50 | 15 |
| 876.7 | 184 | 10 |  | 154 | 10 | 50 | 15 |
| 878.7 | 184 | 10 |  | 155 | 10 | 51 | 15 |
| 880.7 | 184 | 10 |  | 156 | 10 | 51 | 15 |
| 882.7 | 184 | 10 |  | 156 | 10 | 51 | 15 |
| 162.1 | 85.1 | 25 |  | 61 | 10 | 27 | 15 |
| 165.1 | 85.1 | 25 |  | 61 | 10 | 27 | 15 |
| 204.1 | 85.1 | 25 |  | 41 | 10 | 27 | 15 |
| 207.1 | 85.1 | 25 |  | 41 | 10 | 27 | 15 |
| 216.1 | 85.1 | 25 |  | 49 | 10 | 27 | 15 |
| 218.1 | 85.1 | 25 |  | 46 | 10 | 29 | 15 |
| 230.1 | 85.1 | 25 |  | 52 | 10 | 29 | 15 |
| 232.2 | 85.1 | 25 |  | 46 | 10 | 29 | 15 |
| 235.2 | 85.1 | 25 |  | 46 | 10 | 29 | 15 |
| 234.1 | 85.1 | 25 |  | 53 | 10 | 30 | 15 |
| 244.2 | 85.1 | 25 |  | 55 | 10 | 31 | 15 |
| 246.2 | 85.1 | 25 |  | 46 | 10 | 29 | 15 |
| 255.2 | 85.1 | 25 |  | 46 | 10 | 29 | 15 |
| 248.1 | 85.1 | 25 |  | 55 | 10 | 32 | 15 |
| 258.2 | 85.1 | 25 |  | 57 | 10 | 33 | 15 |
| 260.2 | 85.1 | 25 |  | 56 | 10 | 27 | 15 |
| 263.2 | 85.1 | 25 |  | 56 | 10 | 27 | 15 |
| 262.2 | 85.1 | 25 |  | 58 | 10 | 33 | 15 |
| 274.1 | 85.1 | 25 |  | 60 | 10 | 35 | 15 |
| 276.2 | 85.1 | 25 |  | 61 | 10 | 35 | 15 |
| 288.2 | 85.1 | 25 |  | 66 | 10 | 33 | 15 |
| 291.2 | 85.1 | 25 |  | 66 | 10 | 33 | 15 |
| 302.2 | 85.1 | 25 |  | 66 | 10 | 39 | 15 |
| 304.2 | 85.1 | 25 |  | 66 | 10 | 39 | 15 |
| 312.2 | 85.1 | 25 |  | 67 | 10 | 40 | 15 |
| 314.2 | 85.1 | 25 |  | 68 | 10 | 40 | 15 |
| 316.2 | 85.1 | 25 |  | 56 | 10 | 37 | 15 |
| 319.3 | 85.1 | 25 |  | 56 | 10 | 37 | 15 |
| 342.3 | 85.1 | 25 |  | 73 | 10 | 44 | 15 |
| 344.3 | 85.1 | 25 |  | 73 | 10 | 44 | 15 |
| 368.3 | 85.1 | 25 |  | 78 | 10 | 47 | 15 |
| 370.3 | 85.1 | 25 |  | 78 | 10 | 47 | 15 |
| 372.3 | 85.1 | 25 |  | 86 | 10 | 45 | 15 |
| 374.3 | 85.1 | 25 |  | 86 | 10 | 45 | 15 |
| 384.3 | 85.1 | 25 |  | 81 | 10 | 49 | 15 |
| 386.3 | 85.1 | 25 |  | 81 | 10 | 50 | 15 |
| 396.3 | 85.1 | 25 |  | 83 | 10 | 51 | 15 |
| 398.3 | 85.1 | 25 |  | 84 | 10 | 51 | 15 |
| 400.3 | 85.1 | 25 |  | 84 | 10 | 51 | 15 |
| 403.3 | 85.1 | 25 |  | 84 | 10 | 51 | 15 |
| 412.3 | 85.1 | 25 |  | 86 | 10 | 53 | 15 |
| 414.3 | 85.1 | 25 |  | 87 | 10 | 53 | 15 |
| 416.3 | 85.1 | 25 |  | 87 | 10 | 53 | 15 |
| 424.3 | 85.1 | 25 |  | 89 | 10 | 54 | 15 |
| 426.4 | 85.1 | 25 |  | 89 | 10 | 55 | 15 |
| 428.4 | 85.1 | 25 |  | 96 | 10 | 63 | 15 |
| 431.4 | 85.1 | 25 |  | 96 | 10 | 63 | 15 |
| 442.4 | 85.1 | 25 |  | 92 | 10 | 57 | 15 |
| 290.2 | 85.1 | 25 |  | 63 | 10 | 37 | 15 |

MS Parameters (Negative)

Scan Type:	MRM (MRM)

Scheduled MRM: 	no

Polarity:	Negative

Ion Source:	Turbo Spray

MRM cycle time: 	0.4100 sec

CUR: 	20.00

TEM: 	190.00

GS1: 	25.00

GS2: 	40.00

ihe: 	ON

IS: 	-4500.00

CAD: 	6.00

DP:	-55.0

EP:	-10.0

CE:	-12

CXP:	-15.0

List of Negative Ion FIA-MS MRMs

| Q1 Mass (Da) | Q3 Mass (Da) | Time (msec) |
| --- | --- | --- |
| 179 | 89 | 200 |
| 185 | 92 | 200 |