## Project
| Project Identifier | Project ID (will be added)
* = Required fields | Project Title* | Degradation of Nucleotides under different chemical environments
Project Type
Project Summary
| Institute* | University of Groningen | Choose from dropdown list or type a new institute name
| Department* | Analytical Biochemistry
Laboratory
Funding source
| Principal Investigator Last Name* | Bischoff
| Principal Investigator First Name* | Rainer
| Address* | Antonius Deusinglaan 1 (XB20), Building 3226, room 601, 9713 AV Groningen, The Netherlands
| Email* | r.p.h.bischoff@rug.nl
Phone

## Study
| Study Identifier | Study ID (will be added)
* = Required fields | Study Title* | Effect of the chemical environment on the degradation of nucleotide triphosphates
| Study type* (timecourse,drug dosage,etc.) | Endpoint measurement
| Study Summary (Description/Design)* | The influence of particular groups of compounds/metabolites, mainly comprising major central carbon metabolites including amino acids, organic acids, sugar phosphates, coenzymes, etc, on the degradation profiles of nucleotide triphosphates extracted under typical boiling ethanol conditions was evaluated.
| Institute* | University of Groningen | Choose from dropdown list or type a new institute name
| Department* | Analytical Biochemistry
Laboratory
| Study contact person: Last Name* | Bischoff
| Study contact person: First Name* | Rainer
| Address* | Antonius Deusinglaan 1 (XB20), Building 3226, room 601, 9713 AV Groningen, The Netherlands
| Email* | r.p.h.bischoff@rug.nl
Phone
| Submission Date (MM-DD-YYYY)* | 08-03-2016
Number of Groups
Total Number of subjects/patients/samples
Study Comments

## Study Design
Use a separate column for each factor | Subject identifier (if any) | Sample Identifier | Factor1 | Factor2 | Factor3
(See ExampleofStudyDesign tab for example) | Subject name (if any) | Sample name | Minutes | Nucleotide | Solution
|  | AG290615_7 | 0 | ATP | A
|  | AG290615_8 | 0 | ATP | A
|  | AG290615_9 | 0 | ATP | A
|  | AG290615_10 | 0 | ATP | A
|  | AG290615_12 | 15 | ATP | A
|  | AG290615_13 | 15 | ATP | A
|  | AG290615_14 | 15 | ATP | A
|  | AG290615_15 | 15 | ATP | A
|  | AG290615_17 | 0 | ATP | B
|  | AG290615_18 | 0 | ATP | B
|  | AG290615_19 | 0 | ATP | B
|  | AG290615_20 | 0 | ATP | B
|  | AG290615_22 | 15 | ATP | B
|  | AG290615_23 | 15 | ATP | B
|  | AG290615_24 | 15 | ATP | B
|  | AG290615_25 | 15 | ATP | B
|  | AG290615_27 | 0 | ATP | C
|  | AG290615_28 | 0 | ATP | C
|  | AG290615_29 | 0 | ATP | C
|  | AG290615_30 | 0 | ATP | C
|  | AG290615_32 | 15 | ATP | C
|  | AG290615_33 | 15 | ATP | C
|  | AG290615_34 | 15 | ATP | C
|  | AG290615_35 | 15 | ATP | C
|  | AG290615_37 | 0 | ATP | D
|  | AG290615_38 | 0 | ATP | D
|  | AG290615_39 | 0 | ATP | D
|  | AG290615_40 | 0 | ATP | D
|  | AG290615_42 | 15 | ATP | D
|  | AG290615_43 | 15 | ATP | D
|  | AG290615_44 | 15 | ATP | D
|  | AG290615_45 | 15 | ATP | D
|  | AG290615_47 | 0 | ATP | E
|  | AG290615_48 | 0 | ATP | E
|  | AG290615_49 | 0 | ATP | E
|  | AG290615_50 | 0 | ATP | E
|  | AG290615_52 | 15 | ATP | E
|  | AG290615_53 | 15 | ATP | E
|  | AG290615_54 | 15 | ATP | E
|  | AG290615_55 | 15 | ATP | E
|  | AG290615_57 | 0 | ATP | F
|  | AG290615_58 | 0 | ATP | F
|  | AG290615_59 | 0 | ATP | F
|  | AG290615_60 | 0 | ATP | F
|  | AG290615_62 | 15 | ATP | F
|  | AG290615_63 | 15 | ATP | F
|  | AG290615_64 | 15 | ATP | F
|  | AG290615_65 | 15 | ATP | F
|  | AG290615_67 | 0 | ATP | G
|  | AG290615_68 | 0 | ATP | G
|  | AG290615_69 | 0 | ATP | G
|  | AG290615_70 | 0 | ATP | G
|  | AG290615_72 | 15 | ATP | G
|  | AG290615_73 | 15 | ATP | G
|  | AG290615_74 | 15 | ATP | G
|  | AG290615_75 | 15 | ATP | G
|  | AG290615_77 | 0 | ATP | H
|  | AG290615_78 | 0 | ATP | H
|  | AG290615_79 | 0 | ATP | H
|  | AG290615_80 | 0 | ATP | H
|  | AG290615_82 | 15 | ATP | H
|  | AG290615_83 | 15 | ATP | H
|  | AG290615_84 | 15 | ATP | H
|  | AG290615_85 | 15 | ATP | H
|  | AG300615_7 | 0 | GTP | A
|  | AG300615_8 | 0 | GTP | A
|  | AG300615_9 | 0 | GTP | A
|  | AG300615_10 | 0 | GTP | A
|  | AG300615_12 | 15 | GTP | A
|  | AG300615_13 | 15 | GTP | A
|  | AG300615_14 | 15 | GTP | A
|  | AG300615_15 | 15 | GTP | A
|  | AG300615_17 | 0 | GTP | B
|  | AG300615_18 | 0 | GTP | B
|  | AG300615_19 | 0 | GTP | B
|  | AG300615_20 | 0 | GTP | B
|  | AG300615_22 | 15 | GTP | B
|  | AG300615_23 | 15 | GTP | B
|  | AG300615_24 | 15 | GTP | B
|  | AG300615_25 | 15 | GTP | B
|  | AG300615_27 | 0 | GTP | C
|  | AG300615_28 | 0 | GTP | C
|  | AG300615_29 | 0 | GTP | C
|  | AG300615_30 | 0 | GTP | C
|  | AG300615_32 | 15 | GTP | C
|  | AG300615_33 | 15 | GTP | C
|  | AG300615_34 | 15 | GTP | C
|  | AG300615_35 | 15 | GTP | C
|  | AG300615_37 | 0 | GTP | D
|  | AG300615_38 | 0 | GTP | D
|  | AG300615_39 | 0 | GTP | D
|  | AG300615_40 | 0 | GTP | D
|  | AG300615_42 | 15 | GTP | D
|  | AG300615_43 | 15 | GTP | D
|  | AG300615_44 | 15 | GTP | D
|  | AG300615_45 | 15 | GTP | D
|  | AG300615_47 | 0 | GTP | E
|  | AG300615_48 | 0 | GTP | E
|  | AG300615_49 | 0 | GTP | E
|  | AG300615_50 | 0 | GTP | E
|  | AG300615_52 | 15 | GTP | E
|  | AG300615_53 | 15 | GTP | E
|  | AG300615_54 | 15 | GTP | E
|  | AG300615_55 | 15 | GTP | E
|  | AG300615_57 | 0 | GTP | F
|  | AG300615_58 | 0 | GTP | F
|  | AG300615_59 | 0 | GTP | F
|  | AG300615_60 | 0 | GTP | F
|  | AG300615_62 | 15 | GTP | F
|  | AG300615_63 | 15 | GTP | F
|  | AG300615_64 | 15 | GTP | F
|  | AG300615_65 | 15 | GTP | F
|  | AG300615_67 | 0 | GTP | G
|  | AG300615_68 | 0 | GTP | G
|  | AG300615_69 | 0 | GTP | G
|  | AG300615_70 | 0 | GTP | G
|  | AG300615_72 | 15 | GTP | G
|  | AG300615_73 | 15 | GTP | G
|  | AG300615_74 | 15 | GTP | G
|  | AG300615_75 | 15 | GTP | G
|  | AG300615_77 | 0 | GTP | H
|  | AG300615_78 | 0 | GTP | H
|  | AG300615_79 | 0 | GTP | H
|  | AG300615_80 | 0 | GTP | H
|  | AG300615_82 | 15 | GTP | H
|  | AG300615_83 | 15 | GTP | H
|  | AG300615_84 | 15 | GTP | H
|  | AG300615_85 | 15 | GTP | H
|  | AG111115_7 | 0 | UTP | A
|  | AG111115_8 | 0 | UTP | A
|  | AG111115_9 | 0 | UTP | A
|  | AG111115_10 | 0 | UTP | A
|  | AG111115_12 | 15 | UTP | A
|  | AG111115_13 | 15 | UTP | A
|  | AG111115_14 | 15 | UTP | A
|  | AG111115_15 | 15 | UTP | A
|  | AG111115_17 | 0 | UTP | B
|  | AG111115_18 | 0 | UTP | B
|  | AG111115_19 | 0 | UTP | B
|  | AG111115_20 | 0 | UTP | B
|  | AG111115_22 | 15 | UTP | B
|  | AG111115_23 | 15 | UTP | B
|  | AG111115_24 | 15 | UTP | B
|  | AG111115_25 | 15 | UTP | B
|  | AG111115_27 | 0 | UTP | C
|  | AG111115_28 | 0 | UTP | C
|  | AG111115_29 | 0 | UTP | C
|  | AG111115_30 | 0 | UTP | C
|  | AG111115_32 | 15 | UTP | C
|  | AG111115_33 | 15 | UTP | C
|  | AG111115_34 | 15 | UTP | C
|  | AG111115_35 | 15 | UTP | C
|  | AG111115_37 | 0 | UTP | D
|  | AG111115_38 | 0 | UTP | D
|  | AG111115_39 | 0 | UTP | D
|  | AG111115_40 | 0 | UTP | D
|  | AG111115_42 | 15 | UTP | D
|  | AG111115_43 | 15 | UTP | D
|  | AG111115_44 | 15 | UTP | D
|  | AG111115_45 | 15 | UTP | D
|  | AG111115_47 | 0 | UTP | E
|  | AG111115_48 | 0 | UTP | E
|  | AG111115_49 | 0 | UTP | E
|  | AG111115_50 | 0 | UTP | E
|  | AG111115_52 | 15 | UTP | E
|  | AG111115_53 | 15 | UTP | E
|  | AG111115_54 | 15 | UTP | E
|  | AG111115_55 | 15 | UTP | E
|  | AG111115_57 | 0 | UTP | F
|  | AG111115_58 | 0 | UTP | F
|  | AG111115_59 | 0 | UTP | F
|  | AG111115_60 | 0 | UTP | F
|  | AG111115_62 | 15 | UTP | F
|  | AG111115_63 | 15 | UTP | F
|  | AG111115_64 | 15 | UTP | F
|  | AG111115_65 | 15 | UTP | F
|  | AG111115_67 | 0 | UTP | G
|  | AG111115_68 | 0 | UTP | G
|  | AG111115_69 | 0 | UTP | G
|  | AG111115_70 | 0 | UTP | G
|  | AG111115_72 | 15 | UTP | G
|  | AG111115_73 | 15 | UTP | G
|  | AG111115_74 | 15 | UTP | G
|  | AG111115_75 | 15 | UTP | G
|  | AG111115_77 | 0 | UTP | H
|  | AG111115_78 | 0 | UTP | H
|  | AG111115_79 | 0 | UTP | H
|  | AG111115_80 | 0 | UTP | H
|  | AG111115_82 | 15 | UTP | H
|  | AG111115_83 | 15 | UTP | H
|  | AG111115_84 | 15 | UTP | H
|  | AG111115_85 | 15 | UTP | H
|  | AG050815_7 | 0 | CTP | A
|  | AG050815_8 | 0 | CTP | A
|  | AG050815_9 | 0 | CTP | A
|  | AG050815_10 | 0 | CTP | A
|  | AG050815_12 | 15 | CTP | A
|  | AG050815_13 | 15 | CTP | A
|  | AG050815_14 | 15 | CTP | A
|  | AG050815_15 | 15 | CTP | A
|  | AG050815_17 | 0 | CTP | B
|  | AG050815_18 | 0 | CTP | B
|  | AG050815_19 | 0 | CTP | B
|  | AG050815_20 | 0 | CTP | B
|  | AG050815_22 | 15 | CTP | B
|  | AG050815_23 | 15 | CTP | B
|  | AG050815_24 | 15 | CTP | B
|  | AG050815_25 | 15 | CTP | B
|  | AG050815_27 | 0 | CTP | C
|  | AG050815_28 | 0 | CTP | C
|  | AG050815_29 | 0 | CTP | C
|  | AG050815_30 | 0 | CTP | C
|  | AG050815_32 | 15 | CTP | C
|  | AG050815_33 | 15 | CTP | C
|  | AG050815_34 | 15 | CTP | C
|  | AG050815_35 | 15 | CTP | C
|  | AG050815_37 | 0 | CTP | D
|  | AG050815_38 | 0 | CTP | D
|  | AG050815_39 | 0 | CTP | D
|  | AG050815_40 | 0 | CTP | D
|  | AG050815_42 | 15 | CTP | D
|  | AG050815_43 | 15 | CTP | D
|  | AG050815_44 | 15 | CTP | D
|  | AG050815_45 | 15 | CTP | D
|  | AG050815_47 | 0 | CTP | E
|  | AG050815_48 | 0 | CTP | E
|  | AG050815_49 | 0 | CTP | E
|  | AG050815_50 | 0 | CTP | E
|  | AG050815_52 | 15 | CTP | E
|  | AG050815_53 | 15 | CTP | E
|  | AG050815_54 | 15 | CTP | E
|  | AG050815_55 | 15 | CTP | E
|  | AG050815_57 | 0 | CTP | F
|  | AG050815_58 | 0 | CTP | F
|  | AG050815_59 | 0 | CTP | F
|  | AG050815_60 | 0 | CTP | F
|  | AG050815_62 | 15 | CTP | F
|  | AG050815_63 | 15 | CTP | F
|  | AG050815_64 | 15 | CTP | F
|  | AG050815_65 | 15 | CTP | F
|  | AG050815_67 | 0 | CTP | G
|  | AG050815_68 | 0 | CTP | G
|  | AG050815_69 | 0 | CTP | G
|  | AG050815_70 | 0 | CTP | G
|  | AG050815_72 | 15 | CTP | G
|  | AG050815_73 | 15 | CTP | G
|  | AG050815_74 | 15 | CTP | G
|  | AG050815_75 | 15 | CTP | G
|  | AG050815_77 | 0 | CTP | H
|  | AG050815_78 | 0 | CTP | H
|  | AG050815_79 | 0 | CTP | H
|  | AG050815_80 | 0 | CTP | H
|  | AG050815_82 | 15 | CTP | H
|  | AG050815_83 | 15 | CTP | H
|  | AG050815_84 | 15 | CTP | H
|  | AG050815_85 | 15 | CTP | H

## Subjects
| Subject Identifier | Subject ID (will be added)
* = Required fields | Subject Type (Human, Aminal, Plant, Cells)* | Chemical
| Subject Species* | Primary standards of nucleotide triphosphates (ATP, GTP, UTP and CTP). | Choose from dropdown list or type a new species name
| Taxonomy ID | #N/A
Genotype/Strain
Age or Age Range
Weight or Weight range
Height or Height range
Gender
HUMAN:Race
HUMAN:Ethnicity
HUMAN:Trial Type
HUMAN:Lifestyle Factors
HUMAN:Medications
HUMAN:Prescription/OTC
HUMAN:Smoking Status
HUMAN:Alcohol/Drug Use
HUMAN:Nutrition
HUMAN:Inclusion Criteria
HUMAN:Exclusion Criteria
ANIMAL:Animal Supplier
ANIMAL:Housing
ANIMAL:Light cycle
ANIMAL:Feed
ANIMAL:Water
ANIMAL:Inclusion Criteria
CELL:Biosource or Supplier
CELL:Strain Details
CELL:Primary or immortalized
CELL:Passage number
CELL:Cell counts
Subject Comments
Subject Filename

## Treatments
Treatment Type Identifier | Treatment Type ID (will be added)
Treatment Summary | Pure solutions of nucleotide triphosphates (ATP, GTP, CTP and UTP) were incubated under boiling ethanol conditions (95°C) during 0 and 15 minutes with the presence of central carbon metabolites including amino acids, organic acids, sugar phosphates, coenzymes, etc.
Treatment Protocol ID
Treatment Protocol Filename
Treatment Protocol Comments
Treatment (Abiotic, Biotic, Intervention) | Abiotic
Treatment Compound
Treatment Route
Treatment Dose
Treatment Dose Volume
Treatment Dose Duration
Treatment Vehicle
ANIMAL:Veterinary Treatments
ANIMAL:Anesthesia
ANIMAL:Acclimation Duration
ANIMAL:Fasting
ANIMAL:EndPoints Euthanasia
ANIMAL:EndPoints Tissue Collection List
ANIMAL:EndPoints Tissue Processing Method
ANIMAL:EndPoints Clinical Signs
HUMAN:Fasting
HUMAN:EndPoints Clinical Signs
CELL:Storage
CELL:Growth Container
CELL:Growth Configuration
CELL:Growth Rate
CELL:Percent confluence
CELL:Inoculation Procedure
CELL:Media
CELL:Time since last media change
CELL:Environmental Conditions
CELL:Harvesting
PLANT:Growth Support
PLANT:Growth Location
PLANT:Plot Design
PLANT:Light Period
PLANT:Humidity
PLANT:Temperature
PLANT:Watering Regime
PLANT:Nutritional Regime
PLANT:Date of Plant Establishment
PLANT:Harvest Date
PLANT:Growth Stage
PLANT:Metabolism Quenching Method
PLANT:Harvest Method
PLANT:Storage

## Collection
Collection Identifier | Collection ID (will be added)
Collection Summary
Collection Protocol ID
Collection Protocol Filename
Collection Protocol Comments
Sample Type (Blood, Urine, Saliva, Tissue, Cell, other)*
Collection Method
Collection Location
Collection Frequency
Collection Duration
Time of Collection (Relative to dose)
Volume/Amount Collected
Storage Conditions
Collection Vials
Storage Vials
Collection Tube Temp
Additives
BLOOD Serum or Plasma
TISSUE/CELL Identification
TISSUE/CELL Quantity Taken

## SamplePrep
Sample Prep Identifier | Sample Prep ID (will be added)
Sample Prep Summary | Tubes containing 496 µL of 75% (aq) ethanol were preheated at 95°C for 5 min, followed by the addition of 4 µL of each nucleotide standard solution (500 µM) and vigorous mixing. 4 µL of solutions “A” to “H” were added to the reaction mixture and the samples were incubated at 95°C under shaking for 0 and 15 min. Reactions were stopped by snap-freezing in liquid nitrogen and samples were stored on dry ice. Subsequently, samples were thawed and 20 µL of the 13C15N-labeled internal standard solution were added for quantitative analysis. Excess solvent was evaporated under a stream of nitrogen without heating. Finally, samples were reconstituted in 200 µL of acetonitrile-water 70:30 and stored at –40°C until analysis by LC-MS. After the experimental procedure the final concentration of all components in solutions “A” to “H” was 10 µM. Compounds to be tested were divided into eight groups containing approximately ten compounds each, mainly comprising major central carbon metabolites including amino acids, organic acids, sugar phosphates, coenzymes, etc (Table 1).
Sample Prep Protocol ID
Sample Prep Protocol Filename | SPP1.PDF
Sample Prep Protocol Comments
Processing Method (Lyophilization, Homogenization, Lysis, etc) | Preparation of reagents, dilution, solvent removal under a stream of nitrogen without heating and reconstitution
Processing Storage conditions
Extraction Method | Boiling ethanol (95°C)
Extract Concentration/Dilution | 4 µL of each nucleotide standard solution (500 µM) were diluted to 500 µL in the reaction mixture.
Extract Enrichment (SPE, Desalting, etc) | Evaporation of excess of solvent under a stream of nitrogen without heating.
Extract Cleanup
Extract Storage | -40C
Sample Resuspension | 200 µL of acetonitrile-water 70:30
Sample Derivatization
Sample Spiking (Internal Standards, Retention Standards, etc)
Organ
Organ Specification
Cell Type
Subcellular Location

## Chromatography
| Chromatography Identifier | Chromatography ID (will be added)
| Chromatography Summary | Untargeted HILIC Method
Use a separate column | Submitter's Methods File ID
for each chromatography method | Protocol/methods Filename
(e.g. RP and HILIC) | Chromatography Comments
| Instrument Name | Acquity UPLC system
| Column Name | Phenomenex Luna NH2 column (3 µm, 100 × 2 mm)
Column Pressure
| Column Temperature | 20C
| Flow Gradient | 30% eluent A to 99% eluent A in 8 min, followed by isocratic elution at 99% eluent A until 14 min. A conditioning cycle of 6 min with the initial proportions of eluents A and B was performed prior to the next analysis.
| Flow Rate | 0.25 mL/min
Injection Temperature
Internal Standard
Internal Standard MT
Retention Index
Retention Time
| Sample Injection | 10 µL
Sampling Cone
| Solvent A | 5 mM ammonium acetate in water at pH 9.9
| Solvent B | Acetonitrile
| Analytical Time | 20 min
Capillary Voltage
Migration Time
Oven Temperature
Preconditioning
Running Buffer
Running Voltage
Sheath Liquid
Time Program
Transferline Temperature
Washing Buffer
Weak Wash Solvent Name
Weak Wash Volume
Strong Wash Solvent Name
Strong Wash Volume
Target Sample Temperature
Sample Loop Size
Sample Syringe Size
Randomization Order

## Analysis
| Analysis Identifier | Analysis ID (will be added)
*: Required fields | Laboratory Name | Analytical Biochemistry
Notes: | Operator Name | Andres Gil
Use a separate column | Analysis Type (MS or NMR)* | MS | Choose from dropdown list
for each analysis type | Instrument Name/Manufacturer* | Waters Synapt-G2-Si | Choose from dropdown list or type a new instrument name
(e.g. + and - ion mode) | Software/Version | MassLynx 4.1
Detector Type
Data acquisition method Filename
Data processing method Filename
Submitter's Analysis Protocol ID
Submitter's Acquisition ID
Instrument Parameters File(s) (filename or directory)
Raw File(s) (filename or directory)
Processed File(s) (filename or directory)
Randomization Order
Data Format
Acqusition Date
Acqusition Time
Analysis Comments

## MS
| MS Identifier | MS ID (will be added)
*: Required fields | Analysis Identifier | Analysis ID (will be added)
Notes: | MS Instrument Type (QTOF,ion-trap,etc)* | QTOF | Choose from dropdown list or type a new value
Use a separate column | MS Ionization Type (ESI,MALDI,etc)* | ESI | Choose from dropdown list or type a new value
for each analysis type | Ion Mode (POSITIVE or NEGATIVE)* | NEGATIVE | Choose POSITIVE or NEGATIVE
(e.g. + and - ion mode) | Capillary Temperature
| Capillary Voltage | 2KV
| Collision Energy | 2 V for the low-collision energy scan, and 10–30 V for the high-collision energy scan
| Collision Gas | Argon
Dry Gas Flow
Dry Gas Temp
Fragment Voltage
Fragmentation Method
Gas Pressure
Helium Flow
Ion Source Temperature
Ion Spray Voltage
Ionization
Ionization Energy
Ionization Potential
Mass Accuracy
Precursor Type
Reagent Gas
| Source Temperature | 150C
Spray Voltage
Activation Parameter
Activation Time
Atom Gun Current
Automatic Gain Control
Bombardment
CDL Side Octopoles Bias Voltage
CDL Temperature
Data Format
Desolvation Gas Flow
| Desolvation Temperature | 400C
Interface Voltage
IT Side Octopoles Bias Voltage
Laser
Matrix
Nebulizer
Octpole Voltage
Probe Tip
Resolution Setting
Sample Dripping
| Scan Range M/Z | 50 to 1200 Da
Scanning
Scanning Cycle
Scanning Range
Skimmer Voltage
Tube Lens Voltage

## NMR
| NMR Identifier | NMR ID (will be added)
*: Required fields | Analysis Identifier | Analysis ID (will be added)
| Instrument Type* |  | Choose from dropdown list or type a new value
| NMR Experiment type* |  | Choose from dropdown list or type a new value
NMR Comments
Data acquisition method Filename
Data processing method Filename
Submitter's Analysis Protocol ID
Submitter's Acquisition ID
Instrument Parameters File(s) (filename or directory)
Raw File(s) (filename or directory)
Processed File(s) (filename or directory)
Randomization Order
Data Format
Experiment Date
Field Frequency Lock
Standard Concentration
| Spectrometer Frequency* |  | Choose from dropdown list or type a new value
NMR Probe
NMR Solvent*
NMR Tube Size
Shimming Method
Pulse Sequence
Water Suppression
Pulse Width
Power Level
Receiver Gain
Offset Frequency (Water Suppression)
Presaturation Power level
Chemical Shift Reference Compound
Temperature
Number of Scans (Transients)
Dummy Scans
Acquisition Time
Relaxation Delay
Spectral Width
Number of Data Points (TD) Acquired
Real Data Points (SI)
Line Broadening
Zero Filling
Apodization
Baseline Correction Method
Chemical Shift Reference Standard
Binned data bin increment (ppm)
Binned data normalization method
Binned data protocol file
Binned data chemical shift range (ppm)
Binned data excluded ranges (ppm)

## ExampleofStudyDesign
Subject identifier (if any) | Sample Identifier | Factor1 | Factor2 | Factor3
Subject name (if any) | Sample name | Gender | Genotype | Lanosterol(mg/ml)
Patient_S2089 | LabX_001 | Male | Wt | 5
Patient_S2089 | LabX_002 | Male | Wt | 5
Patient_S2089 | LabX_003 | Male | Wt | 5
Patient_S2089 | LabX_004 | Male | Wt | 0
Patient_S2089 | LabX_005 | Male | Wt | 0
Patient_S2089 | LabX_006 | Male | Wt | 0
Patient_S2089 | LabX_007 | Male | LXR-alpha KO | 5
Patient_S2089 | LabX_008 | Male | LXR-alpha KO | 5
Patient_S2089 | LabX_009 | Male | LXR-alpha KO | 5
Patient_S2089 | LabX_010 | Male | LXR-alpha KO | 0
Patient_S2089 | LabX_011 | Male | LXR-alpha KO | 0
Patient_S2089 | LabX_012 | Male | LXR-alpha KO | 0
Patient_S2090 | LabX_013 | Female | Wt | 5
Patient_S2090 | LabX_014 | Female | Wt | 5
Patient_S2090 | LabX_015 | Female | Wt | 5
Patient_S2090 | LabX_016 | Female | Wt | 0
Patient_S2090 | LabX_017 | Female | Wt | 0
Patient_S2090 | LabX_018 | Female | Wt | 0
Patient_S2090 | LabX_019 | Female | LXR-alpha KO | 5
Patient_S2090 | LabX_020 | Female | LXR-alpha KO | 5
Patient_S2090 | LabX_021 | Female | LXR-alpha KO | 5
Patient_S2090 | LabX_022 | Female | LXR-alpha KO | 0
Patient_S2090 | LabX_023 | Female | LXR-alpha KO | 0
Patient_S2090 | LabX_024 | Female | LXR-alpha KO | 0

## Ontology (hidden)
Subjects:Subject Species | Taxonomy ID | Study/Project:Institute | Address | Analysis: Analysis type | MS: ion mode | Instrument_name | MS_Instrument_type | MS_type | Ni | Ntype | spectrometer_frequency
|  |  |  | MS | POSITIVE
Arabidopsis thaliana | 3702 | Baylor College of Medicine | Houston, TX | NMR | NEGATIVE | Agilent 1200 LC/Agilent 6530 QTOF | GC x GC-TOF | APCI | CW NMR | 1D-1H | 500 MHz
Bos taurus | 9913 | Beijing Institute of Radiation Medicine | 27 Taiping Road, Beijing, P.R.China |  |  | Agilent 6220 ToF MS | GC-ITQ | API | FT NMR | 1D-13C | 700 MHz
Caenorhabditis elegans | 6239 | Case Western Reserve University |  |  |  | Agilent 6530 QTOF | GC-TOF | EI |  | 2D-1H-1H | 950 MHz
Centroptilum triangulifer | 248221 | Columbia University | 722 West 168th Street, 12th Floor New York, NY 10032 |  |  | Agilent 6550 QTOF | Ion trap | ESI |  | 2D-1H-13C
Chlamydomonas reinhardtii | 3055 | Cornell University | Ithaca, NY |  |  | Agilent 7890A GC/Agilent MSD 5975C MS | LTQ-FT | HESI
Danio rerio | 7955 | Duke University |  |  |  | Bruker Avance III | Orbitrap | MALDI
Dictyostelium discoideum | 44689 | East Carolina University | Human Performance Laboratory, Ward Sports Medicine Building, East Carolina University, Greenville, NC 27858 |  |  | Leco GC-TOF | QTOF
Drosophila melanogaster | 7227 | Emory University | Whitehead Biomedical Research Building, Rm 225, 621 Michael Street, Atlanta, GA 30322 |  |  | Leco Pegasus 4D GC x GC-TOF | Single quadrupole
Escherichia coli | 562 | Florida State University | Tallahassee, FL |  |  | LECO PEGASUS III GC-TOF | Triple quadrupole
Hepatitis C virus | 11103 | Georgia State University | 14 Marietta Street, NW Atlanta, GA 30303-2813 |  |  | Leco Pegasus IV
Homo sapiens | 9606 | H. Lee Moffitt Cancer Center & Research Institute | 12902 Magnolia Drive, MRC 3 East, Tampa, FL 33612 |  |  | Leco Pegasus IV GC x GC-TOF
Macaca fascicularis | 9541 | Henry Ford Health System | Detroit, MI |  |  | Thermo LTQ-FT
Mirounga angustirostris | 9717 | J. Craig Venter Institute |  |  |  | Thermo Scientific ITQ
Mus musculus | 10090 | Jiangnan University | 1800 Lihu Ave, Binhu, Wuxi, Jiangsu, China |  |  | Thermo Scientific Q-Exactive Orbitrap
Mycoplasma pneumoniae | 2104 | Johns Hopkins University | 733 N. Broadway St., Baltimore, MD 21205 |  |  | Thermo Scientific TSQ Ultra Quantum
Oryza sativa | 39947 | LIPID MAPS | UCSD |  |  | Thermo-Finnigan LTQ MS
Plasmodium falciparum | 5833 | Lovelace Respiratory Research Institute | Lovelace Respiratory Research Institute, 2425 Ridgecrest Dr, SE, Albuqurque, NM |  |  | Thermo-Finnigan Trace DSQ MS
Pneumocystis carinii | 4754 | Mayo Clinic | 200 First Street SW, Rochester, MN 55905 |  |  | Waters Synapt-G2
Rattus norvegicus | 10116 | Montana State University | 103 CBB, Montana State University, Bozeman, MT 59717
Saccharomyces cerevisiae | 4932 | New York University | 550 First Avenue, BCD 690, New York, NY 10016
Salmonella typhimurium | 90371 | North Carolina State Unversity | North Carolina State University, Raleigh, NC 27695
Schizosaccharomyces pombe | 4896 | Northwestern University | Evanston, IL
Takifugu rubripes | 31033 | Osaka City University | 1-4-3, asahimachi, Abeno-ku, Osaka 545-8585, Osaka Japan
Vitis vinifera | 29760 | Pacific Northwest National Laboratory
Xenopus laevis | 8355 | Pennsylvania State University
Zea mays | 4577 | Purdue University North Central | 1401 S US Hwy 421 Westville, Indiana USA
|  | RTI International | 3040, East Cornwallis Road, Research Triangle Park, NC 27709
|  | Second Genome | South San Francisco, CA
|  | Stanford University | Stanford, CA
|  | SUNY Downstate Medical Center | 450 Clarkson Ave, Box 52, Brooklyn, NY, 11203
|  | Tufts University | Medford, MA
|  | Univeresiy of Miami | 1420 Nw, 9th Ave, Miami, FL -33136
|  | University Catholic of Louvain (UCL) Medical School | Belgium
|  | University of British Columbia | 2185 East Mall, Vancouver, BC, Canada V6T 1Z4
|  | University of California, Davis | 1315 Genome and Biomedical Sciences Facility, 451 Health Sciences Drive, Davis, CA 95616
|  | University of California, Merced | 5200 N. Lake Rd., Merced, CA 95343
|  | University of California, San Diego | La Jolla, CA 92093
|  | University of California, San Francisco | San Francisco, CA
University of Chicago
|  | University of Florida | R3-226 Academic Research Building, Department of Biochemistry and Molecular Biology, PO Box 100245, Gainesville, FL 32610-0245
|  | University of Illinois at Urbana-Champaign | 1201 W. Gregory Dr., Urbana, IL 61801
|  | University of Iowa and University of Alabama | 1269 A-CBRB, 285 Newton Rd, Iowa City, IA 52242
|  | University of Kentucky | Rm 516 Biopharm Complex, 789 S. Limestone St.,Univ. of Kentucky, Lexington, KY 40536
University of Louisville
|  | University of Michigan | University Michigan, 2900 Huron Parkway, Ann Arbor, MI 48105
|  | University of Minnesota | 420 Delaware Street SE, Minneapolis, MN 55455
|  | University of Nebraska-Lincoln | Department of Biochemistry, University of Nebraska-Lincoln, N241 Beadle Center 1901 Vine St.
University of North Carolina at Chapel Hill
University of Pennsylvania
|  | University of Tennessee Health Science Center | 855 Monroe Avenue, #515 LINK bldg, Memphis TN 38163 USA
|  | University of Texas Medical Branch | Galveston, TX
|  | Uppsala University | -
|  | USDA-ARS, Cornell University | Ithaca, New York
|  | USEPA | RTP NC 27711
|  | Wake Forest University | Medical Center Blvd., Winston-Salem, NC 27157
Wayne State University