## Project
| Project Identifier | Project ID (will be added)
* = Required fields | Project Title* | CHEAR proficiency testing
Project Type
| Project Summary | CHEAR Reference Material Plasma was provided by Emory University. The material was prepared and analyzed by way of LC-MS and Biocrates workflow employed by the Eastern Regional Metabolomics Resource Core (protocols available in metabolomics workbench). Six samples were injected of the sample reference material prepared in replicate.
| Institute* | RTI International
| Department* | Discovery-Sciences-Technology (DST)
| Laboratory | RTI CHEAR Analytical Hub - Untargeted Analysis Resource Core (UARC)
Funding source
| Principal Investigator Last Name* | Fennell
| Principal Investigator First Name* | Tim
| Address* | 3040 E Cornwallis Rd, Durham, NC 27709
| Email* | fennell@rti.org
Phone

## Study
| Study Identifier | Study ID (will be added)
* = Required fields | Study Title* | CHEAR Reference Plasma Biocrates
Study type* (timecourse,drug dosage,etc.)
| Study Summary (Description/Design)* | CHEAR Reference Material Plasma was provided by Emory University. The material was prepared and analyzed by way of LC-MS and Biocrates workflow employed by the Eastern Regional Metabolomics Resource Core (protocols available in metabolomics workbench). Six samples were injected of the sample reference material prepared in replicate.
| Institute* | RTI International | Choose from dropdown list or type a new institute name
| Department* | Discovery-Sciences-Technology (DST)
| Laboratory | RTI CHEAR Analytical Hub - Untargeted Analysis Resource Core
| Study contact person: Last Name* | Fennell
| Study contact person: First Name* | Tim
| Address* | 3040 E Cornwallis Rd, Durham, NC 27709
| Email* | fennell@rti.org
Phone
Submission Date (MM-DD-YYYY)*
| Number of Groups | 1
| Total Number of subjects/patients/samples | 6
| Study Comments | samples were aliquots of sub-aliquots that came from parent aliquots that were made from original stock

## Study Design
Variable Dictionary
Factor | Description
Note: Please remember that samples on one Biocrates p180 kit-96 wells plate are analysed on a mass spectrometer by LC-MS/MS (KIT2) method followed by a positive and negative FIA method (KIT3)
DRCC ID | Matrix | Biocrates AbsoluteIDQ® p180 KIT2 (LCMS) filename | Biocrates AbsoluteIDQ® p180 KIT3 (FIA- POS) filename | Biocrates AbsoluteIDQ® p180 KIT3 (FIA- NEG) filename
PP_A_09_1 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_94_0_1_1_00_1010986041.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_94_1_1_1_00_1010986041.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_94_0_1_1_00_1010986041.wiff
PP_A_09_2 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_11_0_1_1_00_1010986055.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_11_1_1_1_00_1010986055.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_11_0_1_1_00_1010986055.wiff
PP_A_09_3 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_23_0_1_1_00_1010986060.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_23_1_1_1_00_1010986060.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_23_0_1_1_00_1010986060.wiff
PP_A_09_4 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_35_0_1_1_00_1010986074.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_35_1_1_1_00_1010986074.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_35_0_1_1_00_1010986074.wiff
PP_A_09_5 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_47_0_1_1_00_1010986089.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_47_1_1_1_00_1010986089.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_47_0_1_1_00_1010986089.wiff
PP_A_09_6 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_59_0_1_1_00_1010986093.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_59_1_1_1_00_1010986093.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_59_0_1_1_00_1010986093.wiff
PBS_01 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_13_0_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_13_1_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_13_0_1_1_10_11000002.wiff
PBS_02 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_25_0_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_25_1_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_25_0_1_1_10_11000002.wiff
PBS_03 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_37_0_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_37_1_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_37_0_1_1_10_11000002.wiff
p180 Cal1 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_49_0_1_1_02_20000611.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_49_1_1_1_02_20000611.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_49_0_1_1_02_20000611.wiff
p180 Cal2 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_61_0_1_1_13_20000612.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_61_1_1_1_13_20000612.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_61_0_1_1_13_20000612.wiff
p180 Cal3 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_73_0_1_1_14_20000613.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_73_1_1_1_14_20000613.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_73_0_1_1_14_20000613.wiff
p180 Cal4 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_85_0_1_1_15_20000614.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_85_1_1_1_15_20000614.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_85_0_1_1_15_20000614.wiff
p180 Cal5 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_02_0_1_1_16_20000615.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_02_1_1_1_16_20000615.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_02_0_1_1_16_20000615.wiff
p180 Cal6 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_14_0_1_1_17_20000616.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_14_1_1_1_17_20000616.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_14_0_1_1_17_20000616.wiff
p180 Cal7 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_26_0_1_1_18_20000617.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_26_1_1_1_18_20000617.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_26_0_1_1_18_20000617.wiff
p180 QC1 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_38_0_1_1_03_721029.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_38_1_1_1_03_721029.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_38_0_1_1_03_721029.wiff
p180 QC2 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_50_0_1_1_04_721046.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_50_1_1_1_04_721046.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_50_0_1_1_04_721046.wiff
p180 QC3 |  | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_62_0_1_1_05_721050.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_62_1_1_1_05_721050.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_62_0_1_1_05_721050.wiff

## Subjects
| Subject Identifier | Subject ID (will be added)
* = Required fields | Subject Type (Human, Aminal, Plant, Cells)* | human
| Subject Species* | Homo sapiens | Choose from dropdown list or type a new species name
Taxonomy ID
Genotype/Strain
Age or Age Range
Weight or Weight range
Height or Height range
Gender
HUMAN:Race
HUMAN:Ethnicity
HUMAN:Trial Type
HUMAN:Lifestyle Factors
HUMAN:Medications
HUMAN:Prescription/OTC
HUMAN:Smoking Status
HUMAN:Alcohol/Drug Use
HUMAN:Nutrition
HUMAN:Inclusion Criteria
HUMAN:Exclusion Criteria
ANIMAL:Animal Supplier
ANIMAL:Housing
ANIMAL:Light cycle
ANIMAL:Feed
ANIMAL:Water
ANIMAL:Inclusion Criteria
CELL:Biosource or Supplier
CELL:Strain Details
CELL:Primary or immortalized
CELL:Passage number
CELL:Cell counts
Subject Comments
Subject Filename

## Treatments
Treatment Type Identifier | Treatment Type ID (will be added)
Treatment Summary
Treatment Protocol ID
Treatment Protocol Filename
Treatment Protocol Comments
Treatment (Abiotic, Biotic, Intervention)
Treatment Compound
Treatment Route
Treatment Dose
Treatment Dose Volume
Treatment Dose Duration
Treatment Vehicle
ANIMAL:Veterinary Treatments
ANIMAL:Anesthesia
ANIMAL:Acclimation Duration
ANIMAL:Fasting
ANIMAL:EndPoints Euthanasia
ANIMAL:EndPoints Tissue Collection List
ANIMAL:EndPoints Tissue Processing Method
ANIMAL:EndPoints Clinical Signs
HUMAN:Fasting
HUMAN:EndPoints Clinical Signs
CELL:Storage
CELL:Growth Container
CELL:Growth Configuration
CELL:Growth Rate
CELL:Percent confluence
CELL:Inoculation Procedure
CELL:Media
CELL:Time since last media change
CELL:Environmental Conditions
CELL:Harvesting
PLANT:Growth Support
PLANT:Growth Location
PLANT:Plot Design
PLANT:Light Period
PLANT:Humidity
PLANT:Temperature
PLANT:Watering Regime
PLANT:Nutritional Regime
PLANT:Date of Plant Establishment
PLANT:Harvest Date
PLANT:Growth Stage
PLANT:Metabolism Quenching Method
PLANT:Harvest Method
PLANT:Storage

## Collection
Collection Identifier | Collection ID (will be added)
Collection Summary
Collection Protocol ID
Collection Protocol Filename
Collection Protocol Comments
Sample Type (Blood, Urine, Saliva, Tissue, Cell, other)* | Plasma (human)
Collection Method
Collection Location
Collection Frequency
Collection Duration
Time of Collection (Relative to dose)
Volume/Amount Collected
Storage Conditions
Collection Vials
Storage Vials
Collection Tube Temp
Additives
BLOOD Serum or Plasma
TISSUE/CELL Identification
TISSUE/CELL Quantity Taken

## SamplePrep
Sample Prep Identifier | Sample Prep ID (will be added)
Sample Prep Summary
Sample Prep Protocol ID
Sample Prep Protocol Filename
Sample Prep Protocol Comments
Processing Method (Lyophilization, Homogenization, Lysis, etc) | Sample Preparation Prior to Biocrates p180 Kit Plate Analysis: Plasma: Parent and Sub-Aliquots Removed bulk plasma from -80°C storage and thawed plasma by storing it at 4°C overnight. The following day, the thawed plasma was inspected to ensure there was no ice remaining and the bulk plasma was then mixed in the 4°C room by repeatedly inverting the container. Parent Aliquots were quickly prepared in the 4°C room using the Drummond pipet aid and serological pipet. 40 mL plasma were transferred to 50 mL tubes in 4°C room and capped immediately and placed on ice. If needed, the bulk plasma was mixed in between aliquots. The parent aliquots were labeled appropriately. Sub-Aliquots were prepared on ice at the bench. The parent aliquots were mixed by inverting the tube thoroughly before and in between aliquots as needed. 1 mL plasma was transferred to cryovials and capped immediately and stored on ice until sample splitting was competed. The sub aliquots were labeled appropriately. Sub-aliquots were stored at -80°C. Plasma Aliquots for LCMS platforms: Used sub-aliquot “PP_A_09” to prepare aliquots for various LCMS platforms. Allowed sub-aliquot to thaw on ice for 30 – 60 min. Vortexed aliquot briefly on vortexer, centrifuged at 4 °C for 2 minutes at 16,000 rcf. Aliquoted out 6 tubes for Biocrates from “PP_A_09”. Aliquots were stored at -80 °C until analysis. Sample preparation for Biocrates Plate: CHEAR plasma samples were thawed on ice for 30–60 min. All samples were vortexed on a multi-tube vortexer for 4 mins at 5,000 rpm and centrifuged at 4 °C for 5 minutes at 16,000 rcf before loading on the p180 plate. The samples were then placed on ice in the analysis order for sample loading on the p180 Biocrates plate. Biocrates Plate Preparation: A Biocrates p180 kit was prepared following the AbsoluteIDQ™ p180 Kit metabolomics procedure. Briefly, an internal standard mix was added to 95 of the 96 wells. Next, zero samples, QC standards and calibration standards were added to their corresponding wells. The samples (20 µL) were then added to the appropriate wells and dried for 30 minutes under nitrogen flow. The plate was derivatized using a 5% phenylisothiocyanate (PITC) solution in (1:1:1) ethanol:pyridine:water and, then, incubated for 20 minutes followed by a drying step under nitrogen flow. An extraction solvent (5 mM ammonium acetate in methanol) was added to all wells. The plate was then shaken and centrifuged. After centrifugation, 150 µL was removed and transferred to a second 96-well plate (LCMS plate). This second plate was diluted with 150 µL of HPLC grade water for a subsequent LCMS (MRM analysis) for measuring amino acids and biogenic amines. All wells in the original plate were diluted with 400 µL of flow injection analysis (FIA) Running Solvent for a FIA-MS (MRM analysis) for measuring lipids, acylcarnitines, and hexose.
Processing Storage conditions
Extraction Method
Extract Concentration/Dilution
Extract Enrichment (SPE, Desalting, etc)
Extract Cleanup
Extract Storage
Sample Resuspension
Sample Derivatization
Sample Spiking (Internal Standards, Retention Standards, etc)
Organ
Organ Specification
Cell Type
Subcellular Location

## Chromatography
| Chromatography Identifier | Chromatography ID (will be added)
| Chromatography Summary | Reverse Phase Gradient seperation | FIA analysis
Use a separate column | Submitter's Methods File ID
for each chromatography method | Protocol/methods Filename
(e.g. RP and HILIC) | Chromatography Comments
| Instrument Name | Agilent 1100 | Agilent 1100
| Column Name | Agilent Eclipse XDB-C18 (3.0 x 100mm) | no column
| Column Pressure | 30-120 bar | 4-50 bar
| Column Temperature | 50 °C | RT
| Flow Gradient | Time(min) Flow Rate (mL/min) %A %B Curve Initial 0.500 100.0 0.0 6 0.50 0.500 100.0 0.0 6 5.50 0.500 5.0 95.0 6 6.50 0.500 5.0 95.0 6 7.00 0.500 100.0 0.0 6 9.50 0.500 100.0 0.0 6 | Time(min) Flow Rate(mL) %A %B Curve 0.00 0.020 0.0 100.0 6 0.50 0.020 0.0 100.0 6 1.00 0.030 0.0 100.0 6 2.40 0.200 0.0 100.0 6 2.80 0.200 0.0 100.0 6 3.00 0.030 0.0 100.0 6
| Flow Rate | 0.5 mL/min
Injection Temperature
Internal Standard
Internal Standard MT
Retention Index
Retention Time
| Sample Injection | 10 µL | 20 µL
Sampling Cone
| Solvent A | Water with 0.2% formic acid
| Solvent B | Acetonitrile with 0.2% formic acid | Methanol with Biocrates FIA solvent
| Analytical Time | 9.5 min | 3.0 min
Capillary Voltage
Migration Time
Oven Temperature
Preconditioning
Running Buffer
Running Voltage
Sheath Liquid
Time Program
Transferline Temperature
Washing Buffer
Weak Wash Solvent Name
Weak Wash Volume
Strong Wash Solvent Name
Strong Wash Volume
| Target Sample Temperature | 10 °C | 10 °C
| Sample Loop Size | 100 µL | 100 µL
Sample Syringe Size
| Randomization Order | Yes | Yes

## Analysis
| Analysis Identifier | Analysis ID (will be added) | Analysis ID (will be added) | Analysis ID (will be added)
*: Required fields | Laboratory Name | RTI | RTI | RTI
Notes: | Operator Name | Hieu Vu | Hieu Vu | Hieu Vu
Use a separate column | Analysis Type (MS or NMR)* | MS | MS | MS
for each analysis type | Instrument Name/Manufacturer* | AB Sciex 4000 QTRAP LC/MS/MS | AB Sciex 4000 QTRAP LC/MS/MS | AB Sciex 4000 QTRAP LC/MS/MS
(e.g. + and - ion mode) | Software/Version | 1.6.2 | 1.6.2 | 1.6.2
| Detector Type | triple quadrupole | triple quadrupole | triple quadrupole
| Data acquisition method Filename | KIT2-LC-5404 | KIT3-FIA_neg | KIT3-FIA_pos
| Data processing method Filename | jc_KIT2-IntelliQuan_5404
Submitter's Analysis Protocol ID
Submitter's Acquisition ID
Instrument Parameters File(s) (filename or directory)
Raw File(s) (filename or directory)
Processed File(s) (filename or directory)
| Randomization Order | Yes | Yes | Yes
Data Format
Acqusition Date
Acqusition Time
Analysis Comments

## MS
| MS Identifier | MS ID (will be added) | MS ID (will be added) | MS ID (will be added)
*: Required fields | Analysis Identifier | Analysis ID (will be added) | Analysis ID (will be added) | Analysis ID (will be added)
Notes: | MS Instrument Type (QTOF,ion-trap,etc)* | Triple quadrupole | Triple quadrupole | Triple quadrupole
Use a separate column | MS Ionization Type (ESI,MALDI,etc)* | ESI | ESI | ESI
for each analysis type | Ion Mode (POSITIVE or NEGATIVE)* | POSITIVE | POSITIVE | NEGATIVE
(e.g. + and - ion mode) | Capillary Temperature
Capillary Voltage
Collision Energy
| Collision Gas | Medium | Medium | Medium
Dry Gas Flow
Dry Gas Temp
Fragment Voltage
Fragmentation Method
Gas Pressure
Helium Flow
| Ion Source Temperature | 500°C
| Ion Spray Voltage | 5500 | 5500 | -4500
Ionization
Ionization Energy
Ionization Potential
Mass Accuracy
Precursor Type
Reagent Gas
Source Temperature
Spray Voltage
Activation Parameter
Activation Time
Atom Gun Current
Automatic Gain Control
Bombardment
CDL Side Octopoles Bias Voltage
CDL Temperature
Data Format
Desolvation Gas Flow
Desolvation Temperature
Interface Voltage
IT Side Octopoles Bias Voltage
Laser
Matrix
Nebulizer
Octpole Voltage
Probe Tip
Resolution Setting
Sample Dripping
Scan Range M/Z
Scanning
Scanning Cycle
Scanning Range
Skimmer Voltage
Tube Lens Voltage

## NMR
| NMR Identifier | NMR ID (will be added)
*: Required fields | Analysis Identifier | Analysis ID (will be added)
| Instrument Type* |  | Choose from dropdown list or type a new value
| NMR Experiment type* |  | Choose from dropdown list or type a new value
NMR Comments
Data acquisition method Filename
Data processing method Filename
Submitter's Analysis Protocol ID
Submitter's Acquisition ID
Instrument Parameters File(s) (filename or directory)
Raw File(s) (filename or directory)
Processed File(s) (filename or directory)
Randomization Order
Data Format
Experiment Date
Field Frequency Lock
Standard Concentration
| Spectrometer Frequency* |  | Choose from dropdown list or type a new value
NMR Probe
NMR Solvent*
NMR Tube Size
Shimming Method
Pulse Sequence
Water Suppression
Pulse Width
Power Level
Receiver Gain
Offset Frequency (Water Suppression)
Presaturation Power level
Chemical Shift Reference Compound
Temperature
Number of Scans (Transients)
Dummy Scans
Acquisition Time
Relaxation Delay
Spectral Width
Number of Data Points (TD) Acquired
Real Data Points (SI)
Line Broadening
Zero Filling
Apodization
Baseline Correction Method
Chemical Shift Reference Standard
Binned data bin increment (ppm)
Binned data normalization method
Binned data protocol file
Binned data chemical shift range (ppm)
Binned data excluded ranges (ppm)

## ExampleofStudyDesign
Variable Dictionary
Factor | Description
1. Matrix | Plasma
Note: Please remember that samples on one Biocrates p180 kit-96 wells plate are analysed on a mass spectrometer by LC-MS/MS (KIT2) method followed by a positive and negative FIA method (KIT3)
Factor 1
DRCC ID | Matrix | Biocrates AbsoluteIDQ® p180 KIT2 (LCMS) filename | Biocrates AbsoluteIDQ® p180 KIT3 (FIA- POS) filename | Biocrates AbsoluteIDQ® p180 KIT3 (FIA- NEG) filename
PP_A_09_1 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_94_0_1_1_00_1010986041.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_94_1_1_1_00_1010986041.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_94_0_1_1_00_1010986041.wiff
PP_A_09_2 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_11_0_1_1_00_1010986055.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_11_1_1_1_00_1010986055.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_11_0_1_1_00_1010986055.wiff
PP_A_09_3 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_23_0_1_1_00_1010986060.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_23_1_1_1_00_1010986060.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_23_0_1_1_00_1010986060.wiff
PP_A_09_4 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_35_0_1_1_00_1010986074.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_35_1_1_1_00_1010986074.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_35_0_1_1_00_1010986074.wiff
PP_A_09_5 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_47_0_1_1_00_1010986089.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_47_1_1_1_00_1010986089.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_47_0_1_1_00_1010986089.wiff
PP_A_09_6 | Plasma | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_59_0_1_1_00_1010986093.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_59_1_1_1_00_1010986093.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_59_0_1_1_00_1010986093.wiff
Plate Calibration and QC Samples | Biocrates AbsoluteIDQ® p180 KIT2 (LCMS) filename | Biocrates AbsoluteIDQ® p180 KIT3 (FIA- POS) filename | Biocrates AbsoluteIDQ® p180 KIT3 (FIA- NEG) filename
Blank_01 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_01_0_1_1_01_10000001.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_01_1_1_1_01_10000001.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_01_0_1_1_01_10000001.wiff
Blank_02 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_01_0_1_2_01_10000001.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_01_1_1_2_01_10000001.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_01_0_1_2_01_10000001.wiff
Blank_03 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_01_0_1_3_01_10000001.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_01_1_1_3_01_10000001.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_01_0_1_3_01_10000001.wiff
PBS_01 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_13_0_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_13_1_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_13_0_1_1_10_11000002.wiff
PBS_02 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_25_0_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_25_1_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_25_0_1_1_10_11000002.wiff
PBS_03 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_37_0_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_37_1_1_1_10_11000002.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_37_0_1_1_10_11000002.wiff
p180 Cal1 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_49_0_1_1_02_20000611.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_49_1_1_1_02_20000611.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_49_0_1_1_02_20000611.wiff
p180 Cal2 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_61_0_1_1_13_20000612.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_61_1_1_1_13_20000612.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_61_0_1_1_13_20000612.wiff
p180 Cal3 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_73_0_1_1_14_20000613.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_73_1_1_1_14_20000613.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_73_0_1_1_14_20000613.wiff
p180 Cal4 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_85_0_1_1_15_20000614.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_85_1_1_1_15_20000614.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_85_0_1_1_15_20000614.wiff
p180 Cal5 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_02_0_1_1_16_20000615.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_02_1_1_1_16_20000615.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_02_0_1_1_16_20000615.wiff
p180 Cal6 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_14_0_1_1_17_20000616.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_14_1_1_1_17_20000616.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_14_0_1_1_17_20000616.wiff
p180 Cal7 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_26_0_1_1_18_20000617.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_26_1_1_1_18_20000617.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_26_0_1_1_18_20000617.wiff
p180 QC1 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_38_0_1_1_03_721029.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_38_1_1_1_03_721029.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_38_0_1_1_03_721029.wiff
p180 QC2 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_50_0_1_1_04_721046.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_50_1_1_1_04_721046.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_50_0_1_1_04_721046.wiff
p180 QC3 | 1612\KIT2-0-5404\2016-10-27\KIT2-LC_5404\KIT2-0-5404_1010986211_62_0_1_1_05_721050.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_62_1_1_1_05_721050.wiff | 1612\KIT3-0-5404\2016-10-27\KIT3-0-5404_1010986230_62_0_1_1_05_721050.wiff

## Ontology (hidden)
Subjects:Subject Species | Taxonomy ID | Study/Project:Institute | Address | Analysis: Analysis type | MS: ion mode | Instrument_name | MS_Instrument_type | MS_type | Ni | Ntype | spectrometer_frequency
|  |  |  | MS | POSITIVE
Arabidopsis thaliana | 3702 | Baylor College of Medicine | Houston, TX | NMR | NEGATIVE | Agilent 1200 LC/Agilent 6530 QTOF | GC x GC-TOF | APCI | CW NMR | 1D-1H | 500 MHz
Bos taurus | 9913 | Beijing Institute of Radiation Medicine | 27 Taiping Road, Beijing, P.R.China |  |  | Agilent 6220 ToF MS | GC-ITQ | API | FT NMR | 1D-13C | 700 MHz
Caenorhabditis elegans | 6239 | Case Western Reserve University |  |  |  | Agilent 6530 QTOF | GC-TOF | EI |  | 2D-1H-1H | 950 MHz
Centroptilum triangulifer | 248221 | Columbia University | 722 West 168th Street, 12th Floor New York, NY 10032 |  |  | Agilent 6550 QTOF | Ion trap | ESI |  | 2D-1H-13C
Chlamydomonas reinhardtii | 3055 | Cornell University | Ithaca, NY |  |  | Agilent 7890A GC/Agilent MSD 5975C MS | LTQ-FT | HESI
Danio rerio | 7955 | Duke University |  |  |  | Bruker Avance III | Orbitrap | MALDI
Dictyostelium discoideum | 44689 | East Carolina University | Human Performance Laboratory, Ward Sports Medicine Building, East Carolina University, Greenville, NC 27858 |  |  | Leco GC-TOF | QTOF
Drosophila melanogaster | 7227 | Emory University | Whitehead Biomedical Research Building, Rm 225, 621 Michael Street, Atlanta, GA 30322 |  |  | Leco Pegasus 4D GC x GC-TOF | Single quadrupole
Escherichia coli | 562 | Florida State University | Tallahassee, FL |  |  | LECO PEGASUS III GC-TOF | Triple quadrupole
Hepatitis C virus | 11103 | Georgia State University | 14 Marietta Street, NW Atlanta, GA 30303-2813 |  |  | Leco Pegasus IV
Homo sapiens | 9606 | H. Lee Moffitt Cancer Center & Research Institute | 12902 Magnolia Drive, MRC 3 East, Tampa, FL 33612 |  |  | Leco Pegasus IV GC x GC-TOF
Macaca fascicularis | 9541 | Henry Ford Health System | Detroit, MI |  |  | Thermo LTQ-FT
Mirounga angustirostris | 9717 | J. Craig Venter Institute |  |  |  | Thermo Scientific ITQ
Mus musculus | 10090 | Jiangnan University | 1800 Lihu Ave, Binhu, Wuxi, Jiangsu, China |  |  | Thermo Scientific Q-Exactive Orbitrap
Mycoplasma pneumoniae | 2104 | Johns Hopkins University | 733 N. Broadway St., Baltimore, MD 21205 |  |  | Thermo Scientific TSQ Ultra Quantum
Oryza sativa | 39947 | LIPID MAPS | UCSD |  |  | Thermo-Finnigan LTQ MS
Plasmodium falciparum | 5833 | Lovelace Respiratory Research Institute | Lovelace Respiratory Research Institute, 2425 Ridgecrest Dr, SE, Albuqurque, NM |  |  | Thermo-Finnigan Trace DSQ MS
Pneumocystis carinii | 4754 | Mayo Clinic | 200 First Street SW, Rochester, MN 55905 |  |  | Waters Synapt-G2
Rattus norvegicus | 10116 | Montana State University | 103 CBB, Montana State University, Bozeman, MT 59717
Saccharomyces cerevisiae | 4932 | New York University | 550 First Avenue, BCD 690, New York, NY 10016
Salmonella typhimurium | 90371 | North Carolina State Unversity | North Carolina State University, Raleigh, NC 27695
Schizosaccharomyces pombe | 4896 | Northwestern University | Evanston, IL
Takifugu rubripes | 31033 | Osaka City University | 1-4-3, asahimachi, Abeno-ku, Osaka 545-8585, Osaka Japan
Vitis vinifera | 29760 | Pacific Northwest National Laboratory
Xenopus laevis | 8355 | Pennsylvania State University
Zea mays | 4577 | Purdue University North Central | 1401 S US Hwy 421 Westville, Indiana USA
|  | RTI International | 3040, East Cornwallis Road, Research Triangle Park, NC 27709
|  | Second Genome | South San Francisco, CA
|  | Stanford University | Stanford, CA
|  | SUNY Downstate Medical Center | 450 Clarkson Ave, Box 52, Brooklyn, NY, 11203
|  | Tufts University | Medford, MA
|  | Univeresiy of Miami | 1420 Nw, 9th Ave, Miami, FL -33136
|  | University Catholic of Louvain (UCL) Medical School | Belgium
|  | University of British Columbia | 2185 East Mall, Vancouver, BC, Canada V6T 1Z4
|  | University of California, Davis | 1315 Genome and Biomedical Sciences Facility, 451 Health Sciences Drive, Davis, CA 95616
|  | University of California, Merced | 5200 N. Lake Rd., Merced, CA 95343
|  | University of California, San Diego | La Jolla, CA 92093
|  | University of California, San Francisco | San Francisco, CA
University of Chicago
|  | University of Florida | R3-226 Academic Research Building, Department of Biochemistry and Molecular Biology, PO Box 100245, Gainesville, FL 32610-0245
|  | University of Illinois at Urbana-Champaign | 1201 W. Gregory Dr., Urbana, IL 61801
|  | University of Iowa and University of Alabama | 1269 A-CBRB, 285 Newton Rd, Iowa City, IA 52242
|  | University of Kentucky | Rm 516 Biopharm Complex, 789 S. Limestone St.,Univ. of Kentucky, Lexington, KY 40536
University of Louisville
|  | University of Michigan | University Michigan, 2900 Huron Parkway, Ann Arbor, MI 48105
|  | University of Minnesota | 420 Delaware Street SE, Minneapolis, MN 55455
|  | University of Nebraska-Lincoln | Department of Biochemistry, University of Nebraska-Lincoln, N241 Beadle Center 1901 Vine St.
University of North Carolina at Chapel Hill
University of Pennsylvania
|  | University of Tennessee Health Science Center | 855 Monroe Avenue, #515 LINK bldg, Memphis TN 38163 USA
|  | University of Texas Medical Branch | Galveston, TX
|  | Uppsala University | -
|  | USDA-ARS, Cornell University | Ithaca, New York
|  | USEPA | RTP NC 27711
|  | Wake Forest University | Medical Center Blvd., Winston-Salem, NC 27157
Wayne State University