Lipidomic experiments

Rice panicle samples from wild type lines (Nip-0h and Nip-24h) and three overexpression lines (OXGF14b-2-0h; OXGF14b-2-24h; OXGF14b-4-0h; OXGF14b-4-24h; OXGF14b-6-0h; OXGF14b-6-24h) were used for the metabolomics and lipidomics experiments with five biological replicates for each combination of the two factors (genotype and post-inoculation time). The rice panicle pre-cooled in liquid nitrogen were ground using a Mixer/mill (MM400; Retsch) with steel ball for 30 seconds at 30 HZ. Fifty milligram of rice panicle powder of each sample was extracted a fixed volume (1 ml) of pre-cooled (−20 °C) extraction solvent (methanol: chloroform: water = 5: 2: 2) was added to homogenized tissues. After adding the extraction solvent, the vials/tubes were thoroughly vortexed for 1 min and then incubated on an orbital shaker (200 rpm) for 10 min at 4 °C followed by a 15 min sonication step. For phase separation, a volume of 500 µl of solvent (methanol: water = 1: 3), was added to each vial/tube and the samples were again thoroughly vortexed for 1 min. After that, the samples are centrifuged at a speed of 14000rpm for 10 min at 4 °C. one fixed volume 500 μL of the unpolar phase (the upper phase) were transferred into pre-labeled 1.5 ml microcentrifuge tube respectively. Then the samples were dried in a SpeedVac concentrator without heating. One dried 500 μL aliquots of the unpolar phase in each sample was analyzed using LC-MS for lipidomics study.

The dried 500 μL aliquot from the upper phase for lipids profiling was re-suspended in 200 μL UPLC-grade ACN: 2-propanol: dichloromethane (1:1:1, v/v/v). Five μL of each sample was eluted using a CORTECS® C18 column (150 mm × 2.1 mm, 2.7μm, Waters) with 0.4 mL/min flow rate. The mobile phase A was water: ACN (40: 60, v/v) with 0.1% formic acid and 10mM ammonium formate, and the mobile phase B was 2-propanol: ACN (90:10, v/v) with 0.1% formic acid and 10mM ammonium formate. The compounds were separated by a elution gradient: 20% B was firstly maintained for 0.2 min, then linearly decreased to 60% B from 0.2 to 2min, to 100% B from 2 to 9min, and maintained at 100% B from 9 to 10 min, then linearly increased to 20% B from 10 to 10.5 min followed by equilibration at 20% B for 3.5 min. The spray voltage was set to 3500 and -3000 V in the positive- and negative-ion modes, respectively, with the following ion-source properties: sheath gas, 45 Arbs; auxiliary gas, 10 Arbs; sweep gas, 0 Arbs; ion-transfer tube temperature, 320 °C; vaporizer temp, 350 °C. All FTMS data were acquired using the following conditions: detector type, orbitrap; orbitrap resolution, 120000; scan range was set to m/z 200-1200. The AGC was set at 5.0 e5 and the maximum injection time was set to 100 ms. RF lens was set to 60%, and the microscans was 1. data type, profile. All FTMS2 data were acquired using the following conditions: isolation mode, quadrupole; isolation window, 1 m/z; detector type, orbitrap; scan range, auto; AGC target, 5.0 e4; maximum injection time, 100 ms; microscans, 1; orbitrap resolution, 30000; first mass, 50 m/z; data type, profile. The HCD collision energy was set to 25% with ± HCD collision energy was set 5% in positive mode, and the HCD collision energy was set to 30% with ± HCD collision energy was set 5% in negative mode. All data was acquired by the Xcalibur 4.1 software (Thermo Fisher Scientific, USA). Thermo Scientific™ LipidSearch™ 5.0 software and SIMCA-P 13.0.3 (Umetrics, Umea, Sweden) software were used for lipidome data processing and multivariate statistical analyse, respectively.