## NADPH
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
NADPH |  | Linear | 1/X^2 | Ignore | Y = -0.00684786+0.762143*X R^2 = 0.9934
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area Ratio | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
NADH_CAL_01 | Std Bracket Sample |  | Manual Integration | 391.8633 | 21943.9877 | 0.017857 | 0.032 | 0.032416 | 1.299% | 0% |  | cal1 | uM | 0.92406
NADH_CAL_02 | Std Bracket Sample |  | Manual Integration | 657.5182 | 23450.7447 | 0.028038 | 0.0625 | 0.045774 | -26.76% | NA | Excluded | cal2 | uM | 0.91958
NADH_CAL_03 | Std Bracket Sample |  | Manual Integration | 1630.1113 | 23276.9446 | 0.070031 | 0.125 | 0.10087 | -19.3% | NA | Excluded | cal3 | uM | 0.92404
NADH_CAL_04 | Std Bracket Sample |  | Manual Integration | 3939.9586 | 22412.8539 | 0.17579 | 0.25 | 0.23964 | -4.145% | 0% |  | cal4 | uM | 0.91908
NADH_CAL_05 | Std Bracket Sample |  | Manual Integration | 7634.3791 | 23187.2782 | 0.32925 | 0.5 | 0.44099 | -11.8% | 0% |  | cal5 | uM | 0.92442
NADH_CAL_06 | Std Bracket Sample |  | Manual Integration | 20828.8461 | 22859.5663 | 0.91117 | 1.25 | 1.2045 | -3.639% | 0% |  | cal6 | uM | 0.92408
NADH_CAL_07 | Std Bracket Sample |  | Manual Integration | 39139.562 | 20841.7766 | 1.8779 | 2.5 | 2.473 | -1.08% | 0% |  | cal7 | uM | 0.92408
NADH_CAL_08 | Std Bracket Sample |  | Manual Integration | 89439.243 | 21057.3313 | 4.2474 | 5 | 5.582 | 11.64% | 0% |  | cal8 | uM | 0.92406
NADH_CAL_09 | Std Bracket Sample |  | Manual Integration | 231056.1656 | 22528.578 | 10.2561 | 12.5 | 13.466 | 7.728% | 0% | Response High | cal9 | uM | 0.92908
NADH_CAL_10 | Std Bracket Sample |  | Manual Integration | 463410.9648 | 21388.6144 | 21.6662 | 25 | 28.437 | 13.75% | NA | Excluded | cal10 | uM | 0.92404
P18_005_NADH_01 | Unknown Sample |  | Manual Integration | 51025.5284 | 36143.8879 | 1.4117 | NA | 1.8613 | NA | NA |  | NA | uM | 0.93404
P18_005_NADH_02 | Unknown Sample |  | Manual Integration | 26891.132 | 24971.9685 | 1.0769 | NA | 1.4219 | NA | NA |  | NA | uM | 0.93409
P18_005_NADH_03 | Unknown Sample |  | Manual Integration | 18497.6498 | 24965.2016 | 0.74094 | NA | 0.98116 | NA | NA |  | NA | uM | 0.93409
P18_005_NADH_04 | Unknown Sample |  | Manual Integration | 33229.2477 | 25002.2282 | 1.3291 | NA | 1.7528 | NA | NA |  | NA | uM | 0.93408
P18_005_NADH_05 | Unknown Sample |  | Manual Integration | 18895.6634 | 22808.1626 | 0.82846 | NA | 1.096 | NA | NA |  | NA | uM | 0.93407
P18_005_NADH_06 | Unknown Sample |  | Manual Integration | 17676.1449 | 22396.5904 | 0.78923 | NA | 1.0445 | NA | NA |  | NA | uM | 0.93408
P18_005_NADH_07 | Unknown Sample |  | Manual Integration | 25265.7884 | 21666.019 | 1.1661 | NA | 1.5391 | NA | NA |  | NA | uM | 0.93413
P18_005_NADH_08 | Unknown Sample |  | Manual Integration | 22782.4306 | 23261.7538 | 0.97939 | NA | 1.294 | NA | NA |  | NA | uM | 0.93406
P18_005_NADH_09 | Unknown Sample |  | Manual Integration | 20498.537 | 30084.5902 | 0.68136 | NA | 0.90299 | NA | NA |  | NA | uM | 0.93957
P18_005_NADH_10 | Unknown Sample |  | Manual Integration | 31748.1582 | 23181.3104 | 1.3696 | NA | 1.806 | NA | NA |  | NA | uM | 0.93406
P18_005_NADH_100 | Unknown Sample |  | Manual Integration | 5706.1281 | 28506.6841 | 0.20017 | NA | 0.27162 | NA | NA |  | NA | uM | 0.92405
P18_005_NADH_101 | Unknown Sample |  | Manual Integration | 7872.0695 | 27977.1644 | 0.28137 | NA | 0.37817 | NA | NA |  | NA | uM | 0.92907
P18_005_NADH_102 | Unknown Sample |  | Manual Integration | 7852.0675 | 27226.0379 | 0.2884 | NA | 0.3874 | NA | NA |  | NA | uM | 0.92404
P18_005_NADH_103 | Unknown Sample |  | Manual Integration | 7355.9089 | 27159.6358 | 0.27084 | NA | 0.36435 | NA | NA |  | NA | uM | 0.92407
P18_005_NADH_104 | Unknown Sample |  | Manual Integration | 6104.7096 | 28042.9286 | 0.21769 | NA | 0.29462 | NA | NA |  | NA | uM | 0.92911
P18_005_NADH_105 | Unknown Sample |  | Manual Integration | 3604.2649 | 28486.1937 | 0.12653 | NA | 0.175 | NA | NA |  | NA | uM | 0.92403
P18_005_NADH_106 | Unknown Sample |  | Manual Integration | 8388.9719 | 30062.6964 | 0.27905 | NA | 0.37512 | NA | NA |  | NA | uM | 0.92404
P18_005_NADH_107 | Unknown Sample |  | Manual Integration | 7227.0926 | 29822.699 | 0.24234 | NA | 0.32695 | NA | NA |  | NA | uM | 0.92417
P18_005_NADH_11 | Unknown Sample |  | Manual Integration | 40880.5038 | 23047.0105 | 1.7738 | NA | 2.3364 | NA | NA |  | NA | uM | 0.93949
P18_005_NADH_12 | Unknown Sample |  | Manual Integration | 34202.3259 | 24411.5045 | 1.4011 | NA | 1.8473 | NA | NA |  | NA | uM | 0.9391
P18_005_NADH_13 | Unknown Sample |  | Manual Integration | 24361.2215 | 25646.782 | 0.94987 | NA | 1.2553 | NA | NA |  | NA | uM | 0.93908
P18_005_NADH_14 | Unknown Sample |  | Manual Integration | 20683.6196 | 24876.6347 | 0.83145 | NA | 1.0999 | NA | NA |  | NA | uM | 0.93405
P18_005_NADH_15 | Unknown Sample |  | Manual Integration | 19940.4237 | 24716.4347 | 0.80677 | NA | 1.0675 | NA | NA |  | NA | uM | 0.93407
P18_005_NADH_16 | Unknown Sample |  | Manual Integration | 15400.2246 | 23660.9758 | 0.65087 | NA | 0.86299 | NA | NA |  | NA | uM | 0.93407
P18_005_NADH_17 | Unknown Sample |  | Manual Integration | 18383.2181 | 23968.4929 | 0.76697 | NA | 1.0153 | NA | NA |  | NA | uM | 0.93409
P18_005_NADH_18 | Unknown Sample |  | Manual Integration | 17514.1379 | 23749.0682 | 0.73747 | NA | 0.97661 | NA | NA |  | NA | uM | 0.93408
P18_005_NADH_19 | Unknown Sample |  | Manual Integration | 7930.7773 | 23473.1106 | 0.33787 | NA | 0.4523 | NA | NA |  | NA | uM | 0.93906
P18_005_NADH_20 | Unknown Sample |  | Manual Integration | 20860.8881 | 22936.4643 | 0.90951 | NA | 1.2023 | NA | NA |  | NA | uM | 0.93574
P18_005_NADH_21 | Unknown Sample |  | Manual Integration | 19404.8999 | 23633.158 | 0.82109 | NA | 1.0863 | NA | NA |  | NA | uM | 0.93408
P18_005_NADH_22 | Unknown Sample |  | Manual Integration | 28005.4491 | 23565.227 | 1.1884 | NA | 1.5683 | NA | NA |  | NA | uM | 0.93407
P18_005_NADH_23 | Unknown Sample |  | Manual Integration | 19074.5573 | 24014.0027 | 0.79431 | NA | 1.0512 | NA | NA |  | NA | uM | 0.93908
P18_005_NADH_24 | Unknown Sample |  | Manual Integration | 22184.5269 | 24993.2586 | 0.88762 | NA | 1.1736 | NA | NA |  | NA | uM | 0.93907
P18_005_NADH_25 | Unknown Sample |  | Manual Integration | 25482.53 | 26805.1368 | 0.95066 | NA | 1.2563 | NA | NA |  | NA | uM | 0.93904
P18_005_NADH_26 | Unknown Sample |  | Manual Integration | 33164.3013 | 26158.2841 | 1.2678 | NA | 1.6725 | NA | NA |  | NA | uM | 0.93908
P18_005_NADH_27 | Unknown Sample |  | Manual Integration | 25399.2532 | 24634.703 | 1.031 | NA | 1.3618 | NA | NA |  | NA | uM | 0.93909
P18_005_NADH_28 | Unknown Sample |  | Manual Integration | 23342.9986 | 24114.2283 | 0.96802 | NA | 1.2791 | NA | NA |  | NA | uM | 0.93905
P18_005_NADH_29 | Unknown Sample |  | Manual Integration | 16302.2176 | 45585.4021 | 0.35762 | NA | 0.47821 | NA | NA |  | NA | uM | 0.94407
P18_005_NADH_30 | Unknown Sample |  | Manual Integration | 43860.665 | 23882.6493 | 1.8365 | NA | 2.4186 | NA | NA |  | NA | uM | 0.93902
P18_005_NADH_31 | Unknown Sample |  | Manual Integration | 31157.5056 | 24003.4163 | 1.298 | NA | 1.7121 | NA | NA |  | NA | uM | 0.93403
P18_005_NADH_32 | Unknown Sample |  | Manual Integration | 33506.2935 | 32750.6108 | 1.0231 | NA | 1.3513 | NA | NA |  | NA | uM | 0.93403
P18_005_NADH_33 | Unknown Sample |  | Manual Integration | 30122.7868 | 23958.9346 | 1.2573 | NA | 1.6586 | NA | NA |  | NA | uM | 0.93904
P18_005_NADH_34 | Unknown Sample |  | Manual Integration | 32832.3788 | 24363.5796 | 1.3476 | NA | 1.7772 | NA | NA |  | NA | uM | 0.92904
P18_005_NADH_35 | Unknown Sample |  | Manual Integration | 32700.9202 | 24893.7696 | 1.3136 | NA | 1.7326 | NA | NA |  | NA | uM | 0.939
P18_005_NADH_36 | Unknown Sample |  | Manual Integration | 19292.2129 | 30812.8431 | 0.62611 | NA | 0.8305 | NA | NA |  | NA | uM | 0.92903
P18_005_NADH_37 | Unknown Sample |  | Manual Integration | 22255.1837 | 26014.9661 | 0.85548 | NA | 1.1314 | NA | NA |  | NA | uM | 0.93919
P18_005_NADH_38 | Unknown Sample |  | Manual Integration | 25752.9874 | 27553.676 | 0.93465 | NA | 1.2353 | NA | NA |  | NA | uM | 0.94405
P18_005_NADH_39 | Unknown Sample |  | Manual Integration | 27843.238 | 27137.8908 | 1.026 | NA | 1.3552 | NA | NA |  | NA | uM | 0.94402
P18_005_NADH_40 | Unknown Sample |  | Manual Integration | 22771.0848 | 27167.1111 | 0.83819 | NA | 1.1088 | NA | NA |  | NA | uM | 0.94401
P18_005_NADH_41 | Unknown Sample |  | Manual Integration | 17215.9054 | 25422.7649 | 0.67718 | NA | 0.89751 | NA | NA |  | NA | uM | 0.93399
P18_005_NADH_42 | Unknown Sample |  | Manual Integration | 22014.9516 | 27699.7609 | 0.79477 | NA | 1.0518 | NA | NA |  | NA | uM | 0.939
P18_005_NADH_43 | Unknown Sample |  | Manual Integration | 18558.8007 | 26146.2214 | 0.70981 | NA | 0.94032 | NA | NA |  | NA | uM | 0.934
P18_005_NADH_44 | Unknown Sample |  | Manual Integration | 14922.0529 | 25211.4503 | 0.59188 | NA | 0.78558 | NA | NA |  | NA | uM | 0.93402
P18_005_NADH_45 | Unknown Sample |  | Manual Integration | 12797.6822 | 25414.9272 | 0.50355 | NA | 0.66969 | NA | NA |  | NA | uM | 0.93401
P18_005_NADH_46 | Unknown Sample |  | Manual Integration | 15719.749 | 27262.9622 | 0.5766 | NA | 0.76553 | NA | NA |  | NA | uM | 0.93913
P18_005_NADH_47 | Unknown Sample |  | Manual Integration | 18526.9652 | 25941.6423 | 0.71418 | NA | 0.94605 | NA | NA |  | NA | uM | 0.93902
P18_005_NADH_48 | Unknown Sample |  | Manual Integration | 12862.1825 | 26806.7884 | 0.47981 | NA | 0.63854 | NA | NA |  | NA | uM | 0.92903
P18_005_NADH_49 | Unknown Sample |  | Manual Integration | 15672.3451 | 30334.3642 | 0.51665 | NA | 0.68688 | NA | NA |  | NA | uM | 0.92901
P18_005_NADH_50 | Unknown Sample |  | Manual Integration | 16781.6492 | 26656.3346 | 0.62956 | NA | 0.83502 | NA | NA |  | NA | uM | 0.92902
P18_005_NADH_51 | Unknown Sample |  | Manual Integration | 15682.7797 | 28387.6362 | 0.55245 | NA | 0.73385 | NA | NA |  | NA | uM | 0.92901
P18_005_NADH_52 | Unknown Sample |  | Manual Integration | 13040.4733 | 26789.3398 | 0.48678 | NA | 0.64768 | NA | NA |  | NA | uM | 0.93903
P18_005_NADH_53 | Unknown Sample |  | Manual Integration | 15125.285 | 26014.8757 | 0.58141 | NA | 0.77185 | NA | NA |  | NA | uM | 0.93914
P18_005_NADH_54 | Unknown Sample |  | Manual Integration | 5674.2717 | 27743.8319 | 0.20452 | NA | 0.27734 | NA | NA |  | NA | uM | 0.934
P18_005_NADH_55 | Unknown Sample |  | Manual Integration | 4653.5673 | 26279.6598 | 0.17708 | NA | 0.24133 | NA | NA |  | NA | uM | 0.92901
P18_005_NADH_56 | Unknown Sample |  | Manual Integration | 7512.1821 | 27628.7082 | 0.2719 | NA | 0.36574 | NA | NA |  | NA | uM | 0.92922
P18_005_NADH_57 | Unknown Sample |  | Manual Integration | 6300.0032 | 29198.324 | 0.21577 | NA | 0.29209 | NA | NA |  | NA | uM | 0.92897
P18_005_NADH_58 | Unknown Sample |  | Manual Integration | 5481.5346 | 27851.2967 | 0.19681 | NA | 0.26722 | NA | NA |  | NA | uM | 0.92899
P18_005_NADH_59 | Unknown Sample |  | Manual Integration | 22140.5969 | 24761.3685 | 0.89416 | NA | 1.1822 | NA | NA |  | NA | uM | 0.97406
P18_005_NADH_60 | Unknown Sample |  | Manual Integration | 9021.239 | 26371.0193 | 0.34209 | NA | 0.45784 | NA | NA |  | NA | uM | 0.92902
P18_005_NADH_61 | Unknown Sample |  | Manual Integration | 10236.0604 | 28092.5862 | 0.36437 | NA | 0.48707 | NA | NA |  | NA | uM | 0.92916
P18_005_NADH_62 | Unknown Sample |  | Manual Integration | 9522.0848 | 28951.8695 | 0.32889 | NA | 0.44052 | NA | NA |  | NA | uM | 0.92897
P18_005_NADH_63 | Unknown Sample |  | Manual Integration | 9911.1203 | 31295.8719 | 0.31669 | NA | 0.42451 | NA | NA |  | NA | uM | 0.93411
P18_005_NADH_64 | Unknown Sample |  | Manual Integration | 11513.2404 | 28729.8385 | 0.40074 | NA | 0.53479 | NA | NA |  | NA | uM | 0.92897
P18_005_NADH_65 | Unknown Sample |  | Manual Integration | 11983.145 | 28452.1061 | 0.42117 | NA | 0.5616 | NA | NA |  | NA | uM | 0.92905
P18_005_NADH_66 | Unknown Sample |  | Manual Integration | 41671.129 | 27421.8763 | 1.5196 | NA | 2.0029 | NA | NA |  | NA | uM | 1.0041
P18_005_NADH_67 | Unknown Sample |  | Manual Integration | 10850.7781 | 28191.933 | 0.38489 | NA | 0.51399 | NA | NA |  | NA | uM | 0.92899
P18_005_NADH_68 | Unknown Sample |  | Manual Integration | 12260.4347 | 28683.1797 | 0.42744 | NA | 0.56983 | NA | NA |  | NA | uM | 0.93399
P18_005_NADH_69 | Unknown Sample |  | Manual Integration | 10925.5297 | 27797.7592 | 0.39304 | NA | 0.52468 | NA | NA |  | NA | uM | 0.93402
P18_005_NADH_70 | Unknown Sample |  | Manual Integration | 15075.4674 | 26921.5059 | 0.55998 | NA | 0.74373 | NA | NA |  | NA | uM | 0.93924
P18_005_NADH_71 | Unknown Sample |  | Manual Integration | 6247.1728 | 27244.3415 | 0.2293 | NA | 0.30985 | NA | NA |  | NA | uM | 0.93402
P18_005_NADH_72 | Unknown Sample |  | Manual Integration | 9541.9455 | 28551.1805 | 0.3342 | NA | 0.44749 | NA | NA |  | NA | uM | 0.92906
P18_005_NADH_73 | Unknown Sample |  | Manual Integration | 11136.2781 | 30931.6186 | 0.36003 | NA | 0.48138 | NA | NA |  | NA | uM | 0.92904
P18_005_NADH_74 | Unknown Sample |  | Manual Integration | 14439.2353 | 30143.8201 | 0.47901 | NA | 0.63749 | NA | NA |  | NA | uM | 0.92904
P18_005_NADH_75 | Unknown Sample |  | Manual Integration | 10937.9529 | 30666.5723 | 0.35667 | NA | 0.47697 | NA | NA |  | NA | uM | 0.92903
P18_005_NADH_76 | Unknown Sample |  | Manual Integration | 11266.3029 | 32003.8333 | 0.35203 | NA | 0.47088 | NA | NA |  | NA | uM | 0.92907
P18_005_NADH_77 | Unknown Sample |  | Manual Integration | 9539.3095 | 30092.9368 | 0.31699 | NA | 0.42491 | NA | NA |  | NA | uM | 0.92904
P18_005_NADH_78 | Unknown Sample |  | Manual Integration | 8204.5307 | 30705.8548 | 0.2672 | NA | 0.35957 | NA | NA |  | NA | uM | 0.92919
P18_005_NADH_79 | Unknown Sample |  | Manual Integration | 9131.8489 | 30156.9622 | 0.30281 | NA | 0.4063 | NA | NA |  | NA | uM | 0.92484
P18_005_NADH_80 | Unknown Sample |  | Manual Integration | 8230.0108 | 29848.5856 | 0.27573 | NA | 0.37076 | NA | NA |  | NA | uM | 0.92917
P18_005_NADH_81 | Unknown Sample |  | Manual Integration | 5503.8699 | 30665.0687 | 0.17948 | NA | 0.24448 | NA | NA |  | NA | uM | 0.92908
P18_005_NADH_82 | Unknown Sample |  | Manual Integration | 7070.1163 | 29277.3894 | 0.24149 | NA | 0.32584 | NA | NA |  | NA | uM | 0.92907
P18_005_NADH_83 | Unknown Sample |  | Manual Integration | 6481.5784 | 29096.3877 | 0.22276 | NA | 0.30127 | NA | NA |  | NA | uM | 0.93403
P18_005_NADH_84 | Unknown Sample |  | Manual Integration | 9405.5385 | 29870.902 | 0.31487 | NA | 0.42213 | NA | NA |  | NA | uM | 0.92902
P18_005_NADH_85 | Unknown Sample |  | Manual Integration | 7237.0003 | 30405.9331 | 0.23801 | NA | 0.32128 | NA | NA |  | NA | uM | 0.92912
P18_005_NADH_86 | Unknown Sample |  | Manual Integration | 4353.6874 | 29765.6199 | 0.14627 | NA | 0.2009 | NA | NA |  | NA | uM | 0.92907
P18_005_NADH_87 | Unknown Sample |  | Manual Integration | 7052.4994 | 26785.8956 | 0.26329 | NA | 0.35445 | NA | NA |  | NA | uM | 0.92408
P18_005_NADH_88 | Unknown Sample |  | Manual Integration | 4312.7693 | 27980.218 | 0.15414 | NA | 0.21123 | NA | NA |  | NA | uM | 0.92405
P18_005_NADH_89 | Unknown Sample |  | Manual Integration | 3891.0398 | 27497.2908 | 0.14151 | NA | 0.19465 | NA | NA |  | NA | uM | 0.92408
P18_005_NADH_90 | Unknown Sample |  | Manual Integration | 8315.1401 | 26993.38 | 0.30804 | NA | 0.41317 | NA | NA |  | NA | uM | 0.92908
P18_005_NADH_91 | Unknown Sample |  | Manual Integration | 9453.9716 | 27293.605 | 0.34638 | NA | 0.46347 | NA | NA |  | NA | uM | 0.92406
P18_005_NADH_92 | Unknown Sample |  | Manual Integration | 8067.0235 | 27963.5219 | 0.28848 | NA | 0.3875 | NA | NA |  | NA | uM | 0.92406
P18_005_NADH_93 | Unknown Sample |  | Manual Integration | 8268.1311 | 29139.4595 | 0.28374 | NA | 0.38128 | NA | NA |  | NA | uM | 0.9291
P18_005_NADH_94 | Unknown Sample |  | Manual Integration | 8020.835 | 28218.7227 | 0.28424 | NA | 0.38193 | NA | NA |  | NA | uM | 0.92407
P18_005_NADH_95 | Unknown Sample |  | Manual Integration | 11262.9129 | 28505.2361 | 0.39512 | NA | 0.52741 | NA | NA |  | NA | uM | 0.92908
P18_005_NADH_96 | Unknown Sample |  | Manual Integration | 12835.7646 | 30435.0578 | 0.42174 | NA | 0.56235 | NA | NA |  | NA | uM | 0.92905
P18_005_NADH_97 | Unknown Sample |  | Manual Integration | 11059.9346 | 31239.2144 | 0.35404 | NA | 0.47352 | NA | NA |  | NA | uM | 0.92904
P18_005_NADH_98 | Unknown Sample |  | Manual Integration | 10892.1622 | 29191.5325 | 0.37313 | NA | 0.49856 | NA | NA |  | NA | uM | 0.92452
P18_005_NADH_99 | Unknown Sample |  | Manual Integration | 8799.4135 | 27631.3254 | 0.31846 | NA | 0.42683 | NA | NA |  | NA | uM | 0.92404
Created By:
User Name |  | Full Name |  | Date
Quantiva |  |  |  | 4/16/2019 2:27:27 PM

## NADH
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
NADH |  | Linear | 1/X^2 | Ignore | Y = 0.0543729+0.601907*X R^2 = 0.9991
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area Ratio | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
NADH_CAL_01 | Std Bracket Sample |  | Manual Integration | 2373.0384 | 21943.9877 | 0.10814 | 0.03125 | 0.089329 | 185.9% | NA | Excluded | cal1 | uM | 4.6674
NADH_CAL_02 | Std Bracket Sample |  | Manual Integration | 2640.1995 | 23450.7447 | 0.11258 | 0.0625 | 0.096713 | 54.74% | NA | Excluded | cal2 | uM | 4.6013
NADH_CAL_03 | Std Bracket Sample |  | Manual Integration | 3628.2029 | 23276.9446 | 0.15587 | 0.125 | 0.16863 | 34.9% | NA | Excluded | cal3 | uM | 4.6007
NADH_CAL_04 | Std Bracket Sample |  | Manual Integration | 4574.9376 | 22412.8539 | 0.20412 | 0.25 | 0.24879 | -0.4841% | 0% | Response Low | cal4 | uM | 4.6612
NADH_CAL_05 | Std Bracket Sample |  | Manual Integration | 8459.7388 | 23187.2782 | 0.36484 | 0.5 | 0.51581 | 3.163% | NA | Excluded | cal5 | uM | 4.5874
NADH_CAL_06 | Std Bracket Sample |  | Manual Integration | 18631.9786 | 22859.5663 | 0.81506 | 1.25 | 1.2638 | 1.104% | 0% |  | cal6 | uM | 4.5987
NADH_CAL_07 | Std Bracket Sample |  | Manual Integration | 33105.5648 | 20841.7766 | 1.5884 | 2.5 | 2.5487 | 1.946% | 0% |  | cal7 | uM | 4.663
NADH_CAL_08 | Std Bracket Sample |  | Manual Integration | 66677.5463 | 21057.3313 | 3.1665 | 5 | 5.1704 | 3.408% | 0% |  | cal8 | uM | 4.5823
NADH_CAL_09 | Std Bracket Sample |  | Manual Integration | 163603.6778 | 22528.578 | 7.2621 | 12.5 | 11.9747 | -4.202% | 0% |  | cal9 | uM | 4.6022
NADH_CAL_10 | Std Bracket Sample |  | Manual Integration | 317308.0228 | 21388.6144 | 14.8354 | 25 | 24.557 | -1.772% | 0% |  | cal10 | uM | 4.6618
P18_005_NADH_01 | Unknown Sample |  | Manual Integration | 78702.5127 | 36143.8879 | 2.1775 | NA | 3.5273 | NA | NA |  | NA | uM | 4.5973
P18_005_NADH_02 | Unknown Sample |  | Manual Integration | 23813.4673 | 24971.9685 | 0.95361 | NA | 1.494 | NA | NA |  | NA | uM | 4.5979
P18_005_NADH_03 | Unknown Sample |  | Manual Integration | 69833.0502 | 24965.2016 | 2.7972 | NA | 4.5569 | NA | NA |  | NA | uM | 4.6633
P18_005_NADH_04 | Unknown Sample |  | Manual Integration | 45652.8489 | 25002.2282 | 1.826 | NA | 2.9433 | NA | NA |  | NA | uM | 4.6508
P18_005_NADH_05 | Unknown Sample |  | Manual Integration | 51535.9703 | 22808.1626 | 2.2595 | NA | 3.6636 | NA | NA |  | NA | uM | 4.596
P18_005_NADH_06 | Unknown Sample |  | Manual Integration | 36119.5143 | 22396.5904 | 1.6127 | NA | 2.589 | NA | NA |  | NA | uM | 4.6624
P18_005_NADH_07 | Unknown Sample |  | Manual Integration | 51559.3804 | 21666.019 | 2.3797 | NA | 3.8633 | NA | NA |  | NA | uM | 4.597
P18_005_NADH_08 | Unknown Sample |  | User Settings | 36406.9541 | 23261.7538 | 1.5651 | NA | 2.5099 | NA | NA |  | NA | uM | 4.596
P18_005_NADH_09 | Unknown Sample |  | User Settings | 28598.0678 | 30084.5902 | 0.95059 | NA | 1.489 | NA | NA |  | NA | uM | 4.6617
P18_005_NADH_10 | Unknown Sample |  | User Settings | 42558.5417 | 23181.3104 | 1.8359 | NA | 2.9598 | NA | NA |  | NA | uM | 4.6639
P18_005_NADH_100 | Unknown Sample |  | User Settings | 51037.8867 | 28506.6841 | 1.7904 | NA | 2.8842 | NA | NA |  | NA | uM | 4.5884
P18_005_NADH_101 | Unknown Sample |  | User Settings | 33855.7961 | 27977.1644 | 1.2101 | NA | 1.9201 | NA | NA |  | NA | uM | 4.6476
P18_005_NADH_102 | Unknown Sample |  | User Settings | 65534.1255 | 27226.0379 | 2.407 | NA | 3.9087 | NA | NA |  | NA | uM | 4.6584
P18_005_NADH_103 | Unknown Sample |  | User Settings | 48140.7973 | 27159.6358 | 1.7725 | NA | 2.8545 | NA | NA |  | NA | uM | 4.586
P18_005_NADH_104 | Unknown Sample |  | User Settings | 33185.753 | 28042.9286 | 1.1834 | NA | 1.8757 | NA | NA |  | NA | uM | 4.597
P18_005_NADH_105 | Unknown Sample |  | User Settings | 20907.7881 | 28486.1937 | 0.73396 | NA | 1.1291 | NA | NA |  | NA | uM | 4.656
P18_005_NADH_106 | Unknown Sample |  | User Settings | 49816.5444 | 30062.6964 | 1.6571 | NA | 2.6627 | NA | NA |  | NA | uM | 4.6637
P18_005_NADH_107 | Unknown Sample |  | User Settings | 52800.6929 | 29822.699 | 1.7705 | NA | 2.8511 | NA | NA |  | NA | uM | 4.5929
P18_005_NADH_11 | Unknown Sample |  | User Settings | 54948.5842 | 23047.0105 | 2.3842 | NA | 3.8707 | NA | NA |  | NA | uM | 4.5983
P18_005_NADH_12 | Unknown Sample |  | User Settings | 45144.0863 | 24411.5045 | 1.8493 | NA | 2.9821 | NA | NA |  | NA | uM | 4.6632
P18_005_NADH_13 | Unknown Sample |  | User Settings | 46484.6618 | 25646.782 | 1.8125 | NA | 2.9209 | NA | NA |  | NA | uM | 4.6644
P18_005_NADH_14 | Unknown Sample |  | User Settings | 40226.0579 | 24876.6347 | 1.617 | NA | 2.5962 | NA | NA |  | NA | uM | 4.5916
P18_005_NADH_15 | Unknown Sample |  | User Settings | 42088.8917 | 24716.4347 | 1.7029 | NA | 2.7388 | NA | NA |  | NA | uM | 4.6558
P18_005_NADH_16 | Unknown Sample |  | User Settings | 33090.6279 | 23660.9758 | 1.3985 | NA | 2.2332 | NA | NA |  | NA | uM | 4.6659
P18_005_NADH_17 | Unknown Sample |  | User Settings | 39350.5574 | 23968.4929 | 1.6418 | NA | 2.6373 | NA | NA |  | NA | uM | 4.5961
P18_005_NADH_18 | Unknown Sample |  | User Settings | 29459.4634 | 23749.0682 | 1.2404 | NA | 1.9705 | NA | NA |  | NA | uM | 4.6575
P18_005_NADH_19 | Unknown Sample |  | Manual Integration | 12930.8436 | 23473.1106 | 0.55088 | NA | 0.82489 | NA | NA |  | NA | uM | 4.6681
P18_005_NADH_20 | Unknown Sample |  | User Settings | 47371.2394 | 22936.4643 | 2.0653 | NA | 3.341 | NA | NA |  | NA | uM | 4.5895
P18_005_NADH_21 | Unknown Sample |  | User Settings | 42977.0887 | 23633.158 | 1.8185 | NA | 2.9309 | NA | NA |  | NA | uM | 4.6577
P18_005_NADH_22 | Unknown Sample |  | User Settings | 50418.3089 | 23565.227 | 2.1395 | NA | 3.4642 | NA | NA |  | NA | uM | 4.6637
P18_005_NADH_23 | Unknown Sample |  | User Settings | 40242.7295 | 24014.0027 | 1.6758 | NA | 2.6938 | NA | NA |  | NA | uM | 4.5924
P18_005_NADH_24 | Unknown Sample |  | User Settings | 45811.4029 | 24993.2586 | 1.833 | NA | 2.9549 | NA | NA |  | NA | uM | 4.6559
P18_005_NADH_25 | Unknown Sample |  | User Settings | 46251.8459 | 26805.1368 | 1.7255 | NA | 2.7764 | NA | NA |  | NA | uM | 4.6608
P18_005_NADH_26 | Unknown Sample |  | User Settings | 49736.219 | 26158.2841 | 1.9014 | NA | 3.0686 | NA | NA |  | NA | uM | 4.5908
P18_005_NADH_27 | Unknown Sample |  | User Settings | 45920.6812 | 24634.703 | 1.8641 | NA | 3.0066 | NA | NA |  | NA | uM | 4.6576
P18_005_NADH_28 | Unknown Sample |  | User Settings | 35389.8755 | 24114.2283 | 1.4676 | NA | 2.3479 | NA | NA |  | NA | uM | 4.6617
P18_005_NADH_29 | Unknown Sample |  | Manual Integration | 36705.8758 | 45585.4021 | 0.80521 | NA | 1.2474 | NA | NA |  | NA | uM | 4.5885
P18_005_NADH_30 | Unknown Sample |  | User Settings | 70754.3257 | 23882.6493 | 2.9626 | NA | 4.8317 | NA | NA |  | NA | uM | 4.6531
P18_005_NADH_31 | Unknown Sample |  | User Settings | 31840.0398 | 24003.4163 | 1.3265 | NA | 2.1135 | NA | NA |  | NA | uM | 4.6606
P18_005_NADH_32 | Unknown Sample |  | User Settings | 59860.5042 | 32750.6108 | 1.8278 | NA | 2.9463 | NA | NA |  | NA | uM | 4.5919
P18_005_NADH_33 | Unknown Sample |  | User Settings | 29217.555 | 23958.9346 | 1.2195 | NA | 1.9357 | NA | NA |  | NA | uM | 4.6507
P18_005_NADH_34 | Unknown Sample |  | User Settings | 54421.8044 | 24363.5796 | 2.2337 | NA | 3.6208 | NA | NA |  | NA | uM | 4.6615
P18_005_NADH_35 | Unknown Sample |  | User Settings | 48833.9467 | 24893.7696 | 1.9617 | NA | 3.1688 | NA | NA |  | NA | uM | 4.591
P18_005_NADH_36 | Unknown Sample |  | User Settings | 45307.2314 | 30812.8431 | 1.4704 | NA | 2.3526 | NA | NA |  | NA | uM | 4.5976
P18_005_NADH_37 | Unknown Sample |  | User Settings | 44783.1783 | 26014.9661 | 1.7214 | NA | 2.7696 | NA | NA |  | NA | uM | 4.658
P18_005_NADH_38 | Unknown Sample |  | Manual Integration | 51560.5349 | 27553.676 | 1.8713 | NA | 3.0186 | NA | NA |  | NA | uM | 4.6022
P18_005_NADH_39 | Unknown Sample |  | User Settings | 67345.5629 | 27137.8908 | 2.4816 | NA | 4.0326 | NA | NA |  | NA | uM | 4.5973
P18_005_NADH_40 | Unknown Sample |  | Manual Integration | 51951.6447 | 27167.1111 | 1.9123 | NA | 3.0867 | NA | NA |  | NA | uM | 4.6573
P18_005_NADH_41 | Unknown Sample |  | User Settings | 36903.8481 | 25422.7649 | 1.4516 | NA | 2.3213 | NA | NA |  | NA | uM | 4.6669
P18_005_NADH_42 | Unknown Sample |  | User Settings | 42473.2454 | 27699.7609 | 1.5333 | NA | 2.4571 | NA | NA |  | NA | uM | 4.5957
P18_005_NADH_43 | Unknown Sample |  | User Settings | 26481.3895 | 26146.2214 | 1.0128 | NA | 1.5924 | NA | NA |  | NA | uM | 4.6558
P18_005_NADH_44 | Unknown Sample |  | User Settings | 24183.2881 | 25211.4503 | 0.95922 | NA | 1.5033 | NA | NA |  | NA | uM | 4.6615
P18_005_NADH_45 | Unknown Sample |  | User Settings | 26972.5147 | 25414.9272 | 1.0613 | NA | 1.6729 | NA | NA |  | NA | uM | 4.5927
P18_005_NADH_46 | Unknown Sample |  | User Settings | 67997.3031 | 27262.9622 | 2.4941 | NA | 4.0534 | NA | NA |  | NA | uM | 4.6532
P18_005_NADH_47 | Unknown Sample |  | User Settings | 58550.0145 | 25941.6423 | 2.257 | NA | 3.6594 | NA | NA |  | NA | uM | 4.657
P18_005_NADH_48 | Unknown Sample |  | User Settings | 39993.5074 | 26806.7884 | 1.4919 | NA | 2.3883 | NA | NA |  | NA | uM | 4.587
P18_005_NADH_49 | Unknown Sample |  | User Settings | 60758.8769 | 30334.3642 | 2.003 | NA | 3.2374 | NA | NA |  | NA | uM | 4.6536
P18_005_NADH_50 | Unknown Sample |  | User Settings | 43697.8466 | 26656.3346 | 1.6393 | NA | 2.6332 | NA | NA |  | NA | uM | 4.6554
P18_005_NADH_51 | Unknown Sample |  | User Settings | 42948.2344 | 28387.6362 | 1.5129 | NA | 2.4232 | NA | NA |  | NA | uM | 4.5905
P18_005_NADH_52 | Unknown Sample |  | User Settings | 45804.5064 | 26789.3398 | 1.7098 | NA | 2.7503 | NA | NA |  | NA | uM | 4.5956
P18_005_NADH_53 | Unknown Sample |  | User Settings | 41320.4949 | 26014.8757 | 1.5883 | NA | 2.5485 | NA | NA |  | NA | uM | 4.6563
P18_005_NADH_54 | Unknown Sample |  | User Settings | 25320.4385 | 27743.8319 | 0.91265 | NA | 1.4259 | NA | NA |  | NA | uM | 4.582
P18_005_NADH_55 | Unknown Sample |  | Manual Integration | 9547.6237 | 26279.6598 | 0.36331 | NA | 0.51326 | NA | NA |  | NA | uM | 4.5931
P18_005_NADH_56 | Unknown Sample |  | User Settings | 67692.8049 | 27628.7082 | 2.4501 | NA | 3.9802 | NA | NA |  | NA | uM | 4.6527
P18_005_NADH_57 | Unknown Sample |  | Manual Integration | 60762.8799 | 29198.324 | 2.081 | NA | 3.3671 | NA | NA |  | NA | uM | 4.5882
P18_005_NADH_58 | Unknown Sample |  | Manual Integration | 47492.9484 | 27851.2967 | 1.7052 | NA | 2.7427 | NA | NA |  | NA | uM | 4.5923
P18_005_NADH_59 | Unknown Sample |  | User Settings | 43097.6956 | 24761.3685 | 1.7405 | NA | 2.8013 | NA | NA |  | NA | uM | 4.6507
P18_005_NADH_60 | Unknown Sample |  | User Settings | 59792.7468 | 26371.0193 | 2.2674 | NA | 3.6766 | NA | NA |  | NA | uM | 4.6565
P18_005_NADH_61 | Unknown Sample |  | Manual Integration | 55779.2756 | 28092.5862 | 1.9856 | NA | 3.2084 | NA | NA |  | NA | uM | 4.5924
P18_005_NADH_62 | Unknown Sample |  | User Settings | 60151.6783 | 28951.8695 | 2.0776 | NA | 3.3614 | NA | NA |  | NA | uM | 4.6524
P18_005_NADH_63 | Unknown Sample |  | User Settings | 53712.3662 | 31295.8719 | 1.7163 | NA | 2.7611 | NA | NA |  | NA | uM | 4.6573
P18_005_NADH_64 | Unknown Sample |  | User Settings | 70622.8818 | 28729.8385 | 2.4582 | NA | 3.9936 | NA | NA |  | NA | uM | 4.5882
P18_005_NADH_65 | Unknown Sample |  | User Settings | 85937.3115 | 28452.1061 | 3.0204 | NA | 4.9278 | NA | NA |  | NA | uM | 4.6384
P18_005_NADH_66 | Unknown Sample |  | User Settings | 54802.998 | 27421.8763 | 1.9985 | NA | 3.23 | NA | NA |  | NA | uM | 4.6528
P18_005_NADH_67 | Unknown Sample |  | User Settings | 59525.7846 | 28191.933 | 2.1114 | NA | 3.4176 | NA | NA |  | NA | uM | 4.5873
P18_005_NADH_68 | Unknown Sample |  | User Settings | 57245.2823 | 28683.1797 | 1.9958 | NA | 3.2254 | NA | NA |  | NA | uM | 4.5918
P18_005_NADH_69 | Unknown Sample |  | User Settings | 78130.2627 | 27797.7592 | 2.8107 | NA | 4.5793 | NA | NA |  | NA | uM | 4.6557
P18_005_NADH_70 | Unknown Sample |  | User Settings | 41651.6505 | 26921.5059 | 1.5472 | NA | 2.4801 | NA | NA |  | NA | uM | 4.5963
P18_005_NADH_71 | Unknown Sample |  | User Settings | 40519.7491 | 27244.3415 | 1.4873 | NA | 2.3806 | NA | NA |  | NA | uM | 4.5912
P18_005_NADH_72 | Unknown Sample |  | User Settings | 98639.7241 | 28551.1805 | 3.4548 | NA | 5.6495 | NA | NA |  | NA | uM | 4.6525
P18_005_NADH_73 | Unknown Sample |  | User Settings | 74585.4657 | 30931.6186 | 2.4113 | NA | 3.9158 | NA | NA |  | NA | uM | 4.663
P18_005_NADH_74 | Unknown Sample |  | User Settings | 45536.7951 | 30143.8201 | 1.5107 | NA | 2.4194 | NA | NA |  | NA | uM | 4.5925
P18_005_NADH_75 | Unknown Sample |  | User Settings | 71773.5519 | 30666.5723 | 2.3404 | NA | 3.7981 | NA | NA |  | NA | uM | 4.6517
P18_005_NADH_76 | Unknown Sample |  | User Settings | 40102.0031 | 32003.8333 | 1.253 | NA | 1.9914 | NA | NA |  | NA | uM | 4.6611
P18_005_NADH_77 | Unknown Sample |  | Manual Integration | 69918.09 | 30092.9368 | 2.3234 | NA | 3.7697 | NA | NA |  | NA | uM | 4.5904
P18_005_NADH_78 | Unknown Sample |  | User Settings | 46423.6533 | 30705.8548 | 1.5119 | NA | 2.4215 | NA | NA |  | NA | uM | 4.6523
P18_005_NADH_79 | Unknown Sample |  | User Settings | 42948.5001 | 30156.9622 | 1.4242 | NA | 2.2758 | NA | NA |  | NA | uM | 4.657
P18_005_NADH_80 | Unknown Sample |  | User Settings | 45408.4241 | 29848.5856 | 1.5213 | NA | 2.4371 | NA | NA |  | NA | uM | 4.5885
P18_005_NADH_81 | Unknown Sample |  | User Settings | 44315.9099 | 30665.0687 | 1.4452 | NA | 2.3106 | NA | NA |  | NA | uM | 4.5942
P18_005_NADH_82 | Unknown Sample |  | User Settings | 39130.1608 | 29277.3894 | 1.3365 | NA | 2.1302 | NA | NA |  | NA | uM | 4.6575
P18_005_NADH_83 | Unknown Sample |  | User Settings | 76304.1456 | 29096.3877 | 2.6225 | NA | 4.2666 | NA | NA |  | NA | uM | 4.5981
P18_005_NADH_84 | Unknown Sample |  | Manual Integration | 43600.5524 | 29870.902 | 1.4596 | NA | 2.3347 | NA | NA |  | NA | uM | 4.5931
P18_005_NADH_85 | Unknown Sample |  | User Settings | 33509.6429 | 30405.9331 | 1.1021 | NA | 1.7406 | NA | NA |  | NA | uM | 4.6571
P18_005_NADH_86 | Unknown Sample |  | User Settings | 73411.5073 | 29765.6199 | 2.4663 | NA | 4.0072 | NA | NA |  | NA | uM | 4.6609
P18_005_NADH_87 | Unknown Sample |  | User Settings | 44530.196 | 26785.8956 | 1.6624 | NA | 2.6716 | NA | NA |  | NA | uM | 4.5907
P18_005_NADH_88 | Unknown Sample |  | User Settings | 70730.6823 | 27980.218 | 2.5279 | NA | 4.1095 | NA | NA |  | NA | uM | 4.657
P18_005_NADH_89 | Unknown Sample |  | User Settings | 77777.889 | 27497.2908 | 2.8286 | NA | 4.609 | NA | NA |  | NA | uM | 4.6581
P18_005_NADH_90 | Unknown Sample |  | Manual Integration | 36091.58 | 26993.38 | 1.3371 | NA | 2.131 | NA | NA |  | NA | uM | 4.5925
P18_005_NADH_91 | Unknown Sample |  | User Settings | 39268.9889 | 27293.605 | 1.4388 | NA | 2.3 | NA | NA |  | NA | uM | 4.6533
P18_005_NADH_92 | Unknown Sample |  | User Settings | 32341.5045 | 27963.5219 | 1.1566 | NA | 1.8312 | NA | NA |  | NA | uM | 4.6578
P18_005_NADH_93 | Unknown Sample |  | User Settings | 41318.9621 | 29139.4595 | 1.418 | NA | 2.2655 | NA | NA |  | NA | uM | 4.5874
P18_005_NADH_94 | Unknown Sample |  | User Settings | 38463.4044 | 28218.7227 | 1.363 | NA | 2.1742 | NA | NA |  | NA | uM | 4.5958
P18_005_NADH_95 | Unknown Sample |  | User Settings | 89730.8061 | 28505.2361 | 3.1479 | NA | 5.1395 | NA | NA |  | NA | uM | 4.6563
P18_005_NADH_96 | Unknown Sample |  | User Settings | 35524.128 | 30435.0578 | 1.1672 | NA | 1.8489 | NA | NA |  | NA | uM | 4.5811
P18_005_NADH_97 | Unknown Sample |  | User Settings | 33515.1107 | 31239.2144 | 1.0729 | NA | 1.6921 | NA | NA |  | NA | uM | 4.5919
P18_005_NADH_98 | Unknown Sample |  | User Settings | 44708.3502 | 29191.5325 | 1.5316 | NA | 2.4542 | NA | NA |  | NA | uM | 4.6533
P18_005_NADH_99 | Unknown Sample |  | User Settings | 37641.346 | 27631.3254 | 1.3623 | NA | 2.1729 | NA | NA |  | NA | uM | 4.6584
Created By:
User Name |  | Full Name |  | Date
Quantiva |  |  |  | 4/16/2019 2:27:27 PM

## NADH2x18O
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
NADH2x18O |  | Average RF | Equal | Ignore | Average Response Factor = 26940.2 %RSD = 12.5
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area Ratio | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
NADH_CAL_01 | Std Bracket Sample |  | User Settings | 21943.9877 | NA | NA | 1 | NA | NA | NA |  | cal1 | uM | 4.6641
NADH_CAL_02 | Std Bracket Sample |  | User Settings | 23450.7447 | NA | NA | 1 | NA | NA | NA |  | cal2 | uM | 4.598
NADH_CAL_03 | Std Bracket Sample |  | User Settings | 23276.9446 | NA | NA | 1 | NA | NA | NA |  | cal3 | uM | 4.5974
NADH_CAL_04 | Std Bracket Sample |  | User Settings | 22412.8539 | NA | NA | 1 | NA | NA | NA |  | cal4 | uM | 4.6628
NADH_CAL_05 | Std Bracket Sample |  | Manual Integration | 23187.2782 | NA | NA | 1 | NA | NA | NA |  | cal5 | uM | 4.5841
NADH_CAL_06 | Std Bracket Sample |  | Manual Integration | 22859.5663 | NA | NA | 1 | NA | NA | NA |  | cal6 | uM | 4.6004
NADH_CAL_07 | Std Bracket Sample |  | Manual Integration | 20841.7766 | NA | NA | 1 | NA | NA | NA |  | cal7 | uM | 4.6646
NADH_CAL_08 | Std Bracket Sample |  | User Settings | 21057.3313 | NA | NA | 1 | NA | NA | NA |  | cal8 | uM | 4.584
NADH_CAL_09 | Std Bracket Sample |  | Manual Integration | 22528.578 | NA | NA | 1 | NA | NA | NA |  | cal9 | uM | 4.6039
NADH_CAL_10 | Std Bracket Sample |  | User Settings | 21388.6144 | NA | NA | 1 | NA | NA | NA |  | cal10 | uM | 4.6634
P18_005_NADH_01 | Unknown Sample |  | Manual Integration | 36143.8879 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.594
P18_005_NADH_02 | Unknown Sample |  | Manual Integration | 24971.9685 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5996
P18_005_NADH_03 | Unknown Sample |  | Manual Integration | 24965.2016 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6649
P18_005_NADH_04 | Unknown Sample |  | Manual Integration | 25002.2282 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6475
P18_005_NADH_05 | Unknown Sample |  | Manual Integration | 22808.1626 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5927
P18_005_NADH_06 | Unknown Sample |  | Manual Integration | 22396.5904 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6591
P18_005_NADH_07 | Unknown Sample |  | Manual Integration | 21666.019 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5986
P18_005_NADH_08 | Unknown Sample |  | User Settings | 23261.7538 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5977
P18_005_NADH_09 | Unknown Sample |  | Manual Integration | 30084.5902 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6584
P18_005_NADH_10 | Unknown Sample |  | Manual Integration | 23181.3104 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6656
P18_005_NADH_100 | Unknown Sample |  | Manual Integration | 28506.6841 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5901
P18_005_NADH_101 | Unknown Sample |  | Manual Integration | 27977.1644 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6493
P18_005_NADH_102 | Unknown Sample |  | Manual Integration | 27226.0379 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6601
P18_005_NADH_103 | Unknown Sample |  | Manual Integration | 27159.6358 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5877
P18_005_NADH_104 | Unknown Sample |  | Manual Integration | 28042.9286 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5987
P18_005_NADH_105 | Unknown Sample |  | Manual Integration | 28486.1937 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6577
P18_005_NADH_106 | Unknown Sample |  | Manual Integration | 30062.6964 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6654
P18_005_NADH_107 | Unknown Sample |  | Manual Integration | 29822.699 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5946
P18_005_NADH_11 | Unknown Sample |  | User Settings | 23047.0105 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5999
P18_005_NADH_12 | Unknown Sample |  | User Settings | 24411.5045 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6598
P18_005_NADH_13 | Unknown Sample |  | Manual Integration | 25646.782 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6661
P18_005_NADH_14 | Unknown Sample |  | Manual Integration | 24876.6347 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5933
P18_005_NADH_15 | Unknown Sample |  | Manual Integration | 24716.4347 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6575
P18_005_NADH_16 | Unknown Sample |  | Manual Integration | 23660.9758 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6676
P18_005_NADH_17 | Unknown Sample |  | Manual Integration | 23968.4929 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5977
P18_005_NADH_18 | Unknown Sample |  | User Settings | 23749.0682 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6592
P18_005_NADH_19 | Unknown Sample |  | Manual Integration | 23473.1106 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6648
P18_005_NADH_20 | Unknown Sample |  | Manual Integration | 22936.4643 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5912
P18_005_NADH_21 | Unknown Sample |  | Manual Integration | 23633.158 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6593
P18_005_NADH_22 | Unknown Sample |  | User Settings | 23565.227 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6654
P18_005_NADH_23 | Unknown Sample |  | Manual Integration | 24014.0027 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5941
P18_005_NADH_24 | Unknown Sample |  | User Settings | 24993.2586 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6576
P18_005_NADH_25 | Unknown Sample |  | User Settings | 26805.1368 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6625
P18_005_NADH_26 | Unknown Sample |  | Manual Integration | 26158.2841 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5925
P18_005_NADH_27 | Unknown Sample |  | Manual Integration | 24634.703 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6593
P18_005_NADH_28 | Unknown Sample |  | User Settings | 24114.2283 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6634
P18_005_NADH_29 | Unknown Sample |  | Manual Integration | 45585.4021 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5902
P18_005_NADH_30 | Unknown Sample |  | Manual Integration | 23882.6493 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6547
P18_005_NADH_31 | Unknown Sample |  | Manual Integration | 24003.4163 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6573
P18_005_NADH_32 | Unknown Sample |  | Manual Integration | 32750.6108 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5936
P18_005_NADH_33 | Unknown Sample |  | Manual Integration | 23958.9346 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6523
P18_005_NADH_34 | Unknown Sample |  | Manual Integration | 24363.5796 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6581
P18_005_NADH_35 | Unknown Sample |  | Manual Integration | 24893.7696 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5927
P18_005_NADH_36 | Unknown Sample |  | Manual Integration | 30812.8431 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5993
P18_005_NADH_37 | Unknown Sample |  | Manual Integration | 26014.9661 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6597
P18_005_NADH_38 | Unknown Sample |  | Manual Integration | 27553.676 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5988
P18_005_NADH_39 | Unknown Sample |  | Manual Integration | 27137.8908 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5989
P18_005_NADH_40 | Unknown Sample |  | Manual Integration | 27167.1111 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.659
P18_005_NADH_41 | Unknown Sample |  | Manual Integration | 25422.7649 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6686
P18_005_NADH_42 | Unknown Sample |  | Manual Integration | 27699.7609 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5974
P18_005_NADH_43 | Unknown Sample |  | Manual Integration | 26146.2214 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6574
P18_005_NADH_44 | Unknown Sample |  | Manual Integration | 25211.4503 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6631
P18_005_NADH_45 | Unknown Sample |  | Manual Integration | 25414.9272 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5944
P18_005_NADH_46 | Unknown Sample |  | User Settings | 27262.9622 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6549
P18_005_NADH_47 | Unknown Sample |  | Manual Integration | 25941.6423 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6587
P18_005_NADH_48 | Unknown Sample |  | Manual Integration | 26806.7884 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5886
P18_005_NADH_49 | Unknown Sample |  | User Settings | 30334.3642 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6503
P18_005_NADH_50 | Unknown Sample |  | User Settings | 26656.3346 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.657
P18_005_NADH_51 | Unknown Sample |  | Manual Integration | 28387.6362 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5872
P18_005_NADH_52 | Unknown Sample |  | Manual Integration | 26789.3398 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5973
P18_005_NADH_53 | Unknown Sample |  | Manual Integration | 26014.8757 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.658
P18_005_NADH_54 | Unknown Sample |  | Manual Integration | 27743.8319 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5837
P18_005_NADH_55 | Unknown Sample |  | Manual Integration | 26279.6598 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5948
P18_005_NADH_56 | Unknown Sample |  | Manual Integration | 27628.7082 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6544
P18_005_NADH_57 | Unknown Sample |  | Manual Integration | 29198.324 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5849
P18_005_NADH_58 | Unknown Sample |  | Manual Integration | 27851.2967 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5889
P18_005_NADH_59 | Unknown Sample |  | User Settings | 24761.3685 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6523
P18_005_NADH_60 | Unknown Sample |  | User Settings | 26371.0193 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6582
P18_005_NADH_61 | Unknown Sample |  | Manual Integration | 28092.5862 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.594
P18_005_NADH_62 | Unknown Sample |  | Manual Integration | 28951.8695 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6541
P18_005_NADH_63 | Unknown Sample |  | Manual Integration | 31295.8719 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.659
P18_005_NADH_64 | Unknown Sample |  | Manual Integration | 28729.8385 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5898
P18_005_NADH_65 | Unknown Sample |  | Manual Integration | 28452.1061 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.64
P18_005_NADH_66 | Unknown Sample |  | Manual Integration | 27421.8763 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6545
P18_005_NADH_67 | Unknown Sample |  | Manual Integration | 28191.933 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.589
P18_005_NADH_68 | Unknown Sample |  | Manual Integration | 28683.1797 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5935
P18_005_NADH_69 | Unknown Sample |  | Manual Integration | 27797.7592 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6574
P18_005_NADH_70 | Unknown Sample |  | Manual Integration | 26921.5059 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.598
P18_005_NADH_71 | Unknown Sample |  | Manual Integration | 27244.3415 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5929
P18_005_NADH_72 | Unknown Sample |  | Manual Integration | 28551.1805 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6542
P18_005_NADH_73 | Unknown Sample |  | Manual Integration | 30931.6186 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6647
P18_005_NADH_74 | Unknown Sample |  | Manual Integration | 30143.8201 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5891
P18_005_NADH_75 | Unknown Sample |  | Manual Integration | 30666.5723 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6534
P18_005_NADH_76 | Unknown Sample |  | Manual Integration | 32003.8333 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6628
P18_005_NADH_77 | Unknown Sample |  | Manual Integration | 30092.9368 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5921
P18_005_NADH_78 | Unknown Sample |  | Manual Integration | 30705.8548 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6539
P18_005_NADH_79 | Unknown Sample |  | Manual Integration | 30156.9622 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6587
P18_005_NADH_80 | Unknown Sample |  | Manual Integration | 29848.5856 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5902
P18_005_NADH_81 | Unknown Sample |  | Manual Integration | 30665.0687 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5959
P18_005_NADH_82 | Unknown Sample |  | Manual Integration | 29277.3894 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6592
P18_005_NADH_83 | Unknown Sample |  | Manual Integration | 29096.3877 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5998
P18_005_NADH_84 | Unknown Sample |  | Manual Integration | 29870.902 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5947
P18_005_NADH_85 | Unknown Sample |  | Manual Integration | 30405.9331 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6587
P18_005_NADH_86 | Unknown Sample |  | Manual Integration | 29765.6199 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6625
P18_005_NADH_87 | Unknown Sample |  | Manual Integration | 26785.8956 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5923
P18_005_NADH_88 | Unknown Sample |  | Manual Integration | 27980.218 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6536
P18_005_NADH_89 | Unknown Sample |  | User Settings | 27497.2908 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6598
P18_005_NADH_90 | Unknown Sample |  | Manual Integration | 26993.38 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5941
P18_005_NADH_91 | Unknown Sample |  | Manual Integration | 27293.605 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.655
P18_005_NADH_92 | Unknown Sample |  | Manual Integration | 27963.5219 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6595
P18_005_NADH_93 | Unknown Sample |  | Manual Integration | 29139.4595 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5891
P18_005_NADH_94 | Unknown Sample |  | Manual Integration | 28218.7227 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5974
P18_005_NADH_95 | Unknown Sample |  | Manual Integration | 28505.2361 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.658
P18_005_NADH_96 | Unknown Sample |  | Manual Integration | 30435.0578 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5828
P18_005_NADH_97 | Unknown Sample |  | Manual Integration | 31239.2144 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.5936
P18_005_NADH_98 | Unknown Sample |  | Manual Integration | 29191.5325 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.655
P18_005_NADH_99 | Unknown Sample |  | Manual Integration | 27631.3254 | NA | NA | NA | NA | NA | NA |  | NA | uM | 4.6601
Created By:
User Name |  | Full Name |  | Date
Quantiva |  |  |  | 4/16/2019 2:27:27 PM

## Component (hidden)
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area Ratio | Amount | Amount | %Diff | %RSD | Peak Status | Level | Units | RT | Sample ID | Excluded