mView™ REPORT

Sheep Rumen Study – Defense Advanced Research Projects Agency (DARPA) PURD-01-22VW

CLIENT: Purdue University Douglas Brubaker, PhD AUTHOR: Jason Winnike, PhD APPROVAL: Brian Ingram, PhD DATE: October 24, 2022

Metabolon, Inc. • 617 Davis Drive, Suite 100, Morrisville, NC 27560 • (919) 572-1711

www.metabolon.com • Contact: info@metabolon.com

Table of Contents

Objective	3

Experimental Procedures	3

Results and Biological Interpretation	3

Metabolite Summary and Significantly Altered Biochemicals	3

Biological Interpretation	5

Data Overview	5

Principal Component Analysis (PCA)	5

Observed Biochemical Differences	6

Microbially-Associated Metabolites	6

Nucleotide Metabolism	8

Protein Degradation	9

Inflammatory and Oxidative Stress Markers	10

Conclusions	12

Study Parameters	13

Data Quality: Instrument and Process Variability	13

Appendix	14

Metabolon Platform	14

Statistical Methods and Terminology	18

# Objective

Purpose of Experiment

The goal of this global metabolomic study was to examine the metabolomic profile manifested in sheep rumen fluid, with the goal of investigating the relationship between gut microbes and osteoarthritis.

# Experimental Procedures

Experimental Design

Metabolon received 48 sheep rumen fluid samples on August 18, 2022. Global metabolic profiles were determined from the experimental groups outlined in Table 1.

Table 1: Group names, descriptions, and number of replicates for the samples in the study.

| Group | Description | N |
| --- | --- | --- |
| Female | Female Sheep Rumen | 21 |
| Male | Male Sheep Rumen | 27 |

# Results and Biological Interpretation

## Metabolite Summary and Significantly Altered Biochemicals

The present dataset comprises a total of 510 compounds of known identity (named biochemicals). Following log transformation and imputation of missing values, if any, with the minimum observed value for each compound, nested ANOVA contrasts were used to identify biochemicals that differed significantly between experimental groups. A nested ANOVA was chosen for the statistical model because there were 3 samples from each animal that were analyzed. This model fits the group (in this case, male or female) and animal with animal as a random effect. A summary of the numbers of biochemicals that achieved statistical significance (p≤0.05), as well as those approaching significance (0.05<p<0.10), is shown in Table 2.

An estimate of the false discovery rate (q-value) is calculated to take into account the multiple comparisons that normally occur in metabolomic-based studies. For example, when analyzing 200 compounds, we would expect to see about 10 compounds meeting the p≤0.05 cut-off by random chance. The q-value describes the false discovery rate; a low q-value (q<0.10) is an indication of high confidence in a result. While a higher q-value indicates diminished confidence, it does not necessarily rule out the significance of a result. Other lines of evidence may be taken into consideration when determining whether a result merits further scrutiny. Such evidence may include a) significance in another dimension of the study, b) inclusion in a common pathway with a highly significant compound, or c) residing in a similar functional biochemical family with other significant compounds. Refer to the Appendix for general definitions and further descriptions of false discovery rate and other statistical tests used at Metabolon.

Table 2: Summary table for the nested ANOVA performed on the sample.

We have also included in the electronic deliverables, a file with data for each biochemical displayed as box plots like that shown in Figure 1.

Figure 1: Example of how data is displayed in the accompanying box plot file.

## Biological Interpretation

Osteoarthritis is a degenerative disease of the joints, in which the cartilaginous surfaces, typically of the large leg joints, upper and lower spine, and the hands break down, causing pain, stiffness, and disability. In addition to physical injury to joints, the risk of osteoarthritis increases with ageing, obesity, and menopause. Other factors positively correlated to osteoarthritis are diseases/disorders that are inflammatory in nature as well as those that negatively affect joints or normal collagen formation.

In this study, rumen contents from male and female sheep were analyzed to investigate the relationship between rumen, gut microbes, and osteoarthritis.

Data sets provided in the mView product can be quite large and contain a great deal of information. To provide an initial focus for further consideration, a few observations are offered below from a cursory view of the data. These are not presented as a comprehensive analysis; the PI, with a much greater knowledge of the experimental system, is encouraged to make a detailed study of the data for additional or alternative interpretations. For the discussion below, the graphical illustrations in the text have also been provided in an accompanying PowerPoint file. Please refer to the statistical tables, box plots, and other graphics found in the accompanying client data tables. For convenience, biochemicals are highlighted in bold text in the report when they correspond to data plots shown in the figures.

## Data Overview

### Principal Component Analysis (PCA)

Principal component analysis (PCA) is an unsupervised mathematical dimension reduction procedure that allows differences across a large set of variables to be represented as a smaller set of variables. In short, samples are represented as points in n-dimensional space, with the n-dimensions representing the variables in the dataset (in this case, the variables are the observed metabolites). A more thorough description of the mathematical method is provided in the Statistical Methods and Terminology section.

Figure 2 shows a PCA plot of the rumen samples, colored by gender. As can be seen, there is complete separation between the samples from male and female sheep, indicative of the difference between the genders being a major source of variation in the overall data set. Additionally, included in the accompanying graphics file is a PCA plot indicating which animal the samples came from. It should be noted that the tighter grouping of the samples from female animals, compared to samples from male animals, is indicative of samples from the former being more homogenous, while those from the latter are more heterogenous, with samples from male animals B3S9 and B3S8 being especially different from the rest of the samples from male animals.

Figure 2: Principal component analysis of the samples, colored by gender.

## Observed Biochemical Differences

### Microbially-Associated Metabolites

The indigenous intestinal microflora is involved in a variety of processes within the human body and are important for maintaining host health. As such, interindividual differences in the ability to harbor certain intestinal bacteria might be associated with differences in health and/or disease pathology, the significance of which has been the topic of much interest recently. In this study, changes in multiple microbially-metabolized compounds were seen. The metabolite diaminopimelate, a component of bacterial cell walls, is synthesized via a bacterial pathway that is not present in mammals. Diaminopimelate and N-methylpipecolate, a byproduct of bacterial amino acid catabolism, were lower in samples from female animals.

Many plant-derived carbohydrates are digested by microbes to short-chain fatty acids (SCFA) which can then be taken up by digestive tissues to provide energy for the host. Not only does the composition of the microbiome have major effects on disease states and on the digestion of food (most importantly on the ability to utilize energy), the composition of the diet can in turn strongly influence the types and distributions of gut microbes (PMID: 19079930, 16918875). SCFAs, except for isovalerate, were decreased in samples from female animals.

Figure 3: Microbially-Associated Metabolites. In the heat map, dark red and dark green cells represent statistically significant (p≤0.05) increases or decreases, respectively, while light red and light green cells are trending (0.05<p<0.10) higher or lower, respectively.

Some other differences were seen in metabolites that arise from the microbial-specific catabolism of aromatic amino acids, such as tryptophan and phenylalanine. While tryptophan and phenylalanine were decreased in samples from female animals, many of their microbial catabolites were increased, such as phenylacetate, 2-hydroxyphenylacetate, 4-hydroxyphenylacetate, as well as multiple indole compounds, microbial-specific tryptophan catabolites.

Gender-specific differences were also observed in benzoate metabolism. Benzoate metabolites are simple carboxylic acids produced from the microbial degradation of dietary aromatic compounds, such as polyphenols, purines, and aromatic organic acids. In humans, only 5 – 10% of the total intake of dietary polyphenols are directly absorbed through the stomach and the small intestine, with the remainder reaching the colon, undergoing bacterial metabolism prior to absorption (PMID: 23849454). While hippurate, benzoate, catechol sulfate, and p-cresol sulfate were decreased in samples from female animals, other benzoate derivatives were increased. This may be indicative of differences in microbial degradation or host absorption of dietary aromatic compounds due to differences in microbial populations, dietary intake, or permeability of the digestive epithelium.

Bile acids emulsify dietary fats, eliminate cholesterol, and clear hepatic catabolites. Bile acids are synthesized in the liver by cytochrome P450-mediated oxidation of cholesterol and are stored in the gall bladder to be released into the small intestine. The primary bile acids, cholate and chenodeoxycholate, are conjugated to either taurine or glycine and subsequently secreted into the bile. In the intestine, primary bile acids are deconjugated and dehydroxylated by gut bacteria to form the secondary bile acids. Subsequently, via enterohepatic circulation, the secondary bile acids are transported to the liver and recycled. Bile acids were detected in the rumen content samples and the levels of both primary and secondary bile acids were generally lower in the samples from female animals, compared to male.

The differences seen here in microbially-associated metabolites is not unexpected as gender differences in anaerobic fermentation have been previously noted in ruminants (PMID: 35392919, He et al. 2018).

### Nucleotide Metabolism

Nucleotides can provide chemical energy in the form of nucleoside triphosphates. The dinucleotide, nicotinamide adenine dinucleotide (NAD+/NADH), plays a vital role in redox reactions, transferring electrons to NAD+ by reduction to NADH, as part of β-oxidation, glycolysis, and the TCA cycle. Thus, NAD plays a central role in energy metabolism, redox homeostasis, and additionally, as a cofactor in various other reactions.

As seen in Figure 4, de novo synthesis of NAD starts in the tryptophan metabolic pathway. As such, changes in tryptophan metabolites, such as kynurenine, may reflect changes in NAD biosynthesis, which may perhaps be related to shifts in bacterial energetics. In the samples from female animals, compared to male, multiple changes were seen in de novo and salvage NAD synthesis pathway metabolites, such as nicotinate, nicotinic acid mononucleotide (NaMN), nicotinamide riboside, and 1-methylnicotinamide. This may perhaps be indicative of altered de novo and salvage NAD biosynthesis, and thus differences in bacterial energetics between male and female rumen.

Additionally, in the samples from female animals (compared to male), in general, no differences or lower levels were seen in nucleosides and nucleobases and their methylated derivatives. On the other hand, 2’-deoxynucleosides, such as 2’-deoxyadenosine, 2’-deoxyguanosine, and 2’-deoxycytidine, and 2’-deoxynucleotides, such as 2’-deoxyadenosine 5’-monophosphate, 2’-deoxyguanosine 5’-monophosphate, and 2’-deoxycitidine 5’-monophosphate were increased. The increases in the 2’-deoxynucleosides and 2’-deoxynucleotides are indicative of differences in the turnover and synthesis of RNA and DNA between the male and female rumen contents, ostensibly from the bacteria inhabiting the rumen.

Figure 4: Nucleotide Metabolism. In the heat map, dark red and dark green cells represent statistically significant (p≤0.05) increases or decreases, respectively, while light red and light green cells are trending (0.05<p<0.10) higher or lower, respectively.

### Protein Degradation

Proteins are often post-translationally modified (PTM) by the addition of moieties, such as acetyl or methyl groups, to amino acid residues at their N-terminus, which plays a role in maintaining protein stability and function. Thus, detection of changes in the levels of N-acetylated and N-methylated amino acids can be indicative of changes in protein degradation as these N-terminal amino acids can be derived from proteins which have PTMs. Another measure of altered protein remodeling and catabolism can be seen with small peptides, such as dipeptides.

On the left side of Figure 5, amino acids, N-acetyl amino acids, and di/polypeptides in the rumen are shown as classes. Compared to samples from male animals, samples from female animals generally had lower levels of amino acids and N-acetyl amino acids, while dipeptides and polypeptides had a generally lower trend. On the right side of Figure 5, other markers of protein degradation, including those that are highly associated with collagen catabolism, such as trans-4-hydroxyproline and 5-hydroxylysine, can be seen. As seen with the other markers of protein degradation, these markers were also lower in samples from female animals, compared to samples from male animals.

This may all be indicative of lower protein content in the food, lower levels of protein catabolism of the food in the rumen, or increased protein and amino acid absorption from the rumen by the sheep.

Figure 5: Protein Degradation. In the heat map, dark red and dark green cells represent statistically significant (p≤0.05) increases or decreases, respectively, while light red and light green cells are trending (0.05<p<0.10) higher or lower, respectively.

### Inflammatory and Oxidative Stress Markers

Histidine, an amino acid with an imidazole side chain, is involved in multiple biological processes, in addition to protein biosynthesis. One such process is the production of histamine, which is necessary for inflammation, gut physiological responses, and neurotransmission. Histamine is stored in intracellular granules in endothelial cells and leukocyte subsets (basophils and mast cells) and is released when these cells become stimulated. Lower levels of histidine and histamine were seen in the samples from female animals, possibly affecting gastrointestinal inflammation and motility.

Tryptophan can feed into a number of metabolic processes, including production of the neurotransmitter serotonin, the anti-inflammatory metabolite kynurenine, and downstream of kynurenine, NAD+ production. Changes in tryptophan metabolites can reflect increased inflammation: indoleamine 2,3-dioxygenase (IDO), which also catalyzes the conversion of tryptophan to kynurenine, is activated by pro-inflammatory cytokines (e.g., IFN-γ, TNF-α). While kynurenine is produced this way by an inflammatory process, it has an anti-inflammatory function, serving as a brake on the immune response. While there were no differences in the level of kynurenine, tryptophan was lower and anthranilate, a metabolite of kynurenine, was higher in samples from female animals.

Levels of ADMA (asymmetric dimethylarginine) and SDMA (symmetric dimethylarginine) regulate the production of nitric oxide, an essential component of endothelial health. Increased levels of ADMA and SDMA have been linked to a variety of conditions associated with poor diet and lifestyle, as well as other disorders related to endothelial dysfunction. Dimethylarginine (SDMA + ADMA) was lower in samples from female animals.

Fatty acids are also linked to inflammation. When oxidative stress is increased, polyunsaturated fatty acids (PUFAs), such as arachidonate and linoleate can become oxidized, forming bioactive lipids with pro-inflammatory functions. The two bioactive lipids 9-HODE and 13-HODE are measured as isobars on Metabolon’s platform and the relative amounts of the two are not distinguishable. These have been reported to have somewhat counterbalancing activities. 13-HODE is thought to be anti-inflammatory and 9-HODE pro-inflammatory. 9-HODE is also reported to aid in the maturation of macrophages. DiHOME oxidized lipids are derived from the essential PUFA linoleate through the activity of lipoxygenase (LOX) and an epoxide hydrolase. The DiHOME lipids are generated in activated leukocytes and have been reported to have toxic effects on tissues along with serving as neutrophil chemoattractants. While there were no differences in 13-HODE + 9-HODE and 12,13-DiHOME, 9,10-DiHOME was lower in samples from female animals.

Endocannabinoids are fatty acid signaling molecules with an amide linkage that play roles in many biological processes including appetite, pain-sensation, memory, stress, and immune function (PMID: 22048769, 29164003). Two endocannabinoids, oleoyl ethanolamide and N-palmitoylserine were trending lower (not statistically significant) in samples from female animals.

Differences were seen in antioxidants and related molecules. Related to the antioxidant glutathione is ophthalmate, a compositional derivative of glutathione whose levels generally track with overall glutathione synthesis. Ophthalmate contains 2-aminobutyrate instead of cysteine and is synthesized by the same enzymes that generate glutathione. Ophthalmate was higher in samples from female animals. Differences in ascorbate (vitamin C) metabolites, a vitamin involved in the immune system, tissue repair, the production of neurotransmitters, and antioxidant capacity, were also seen. Multiple ascorbate metabolites were lower (statistically significant, and not) in samples from female animals. Vitamin E, consisting of tocopherols and tocotrienols, is a lipophilic antioxidant vitamin which protects cell membranes from reactive oxygen species (ROS). α-Tocopherol was trending lower in samples from female animals.

Collectively, these changes in various markers of inflammation and antioxidants could suggest differential inflammatory states in the male and female rumen, which may be a product of differential dietary or microbiome environments which may have an impact on the host.

Figure 6: Inflammatory and Oxidative Stress Markers. In the heat map, dark red and dark green cells represent statistically significant (p≤0.05) increases or decreases, respectively, while light red and light green cells are trending (0.05<p<0.10) higher or lower, respectively.

# Conclusions

In this study, rumen contents from male and female sheep were analyzed to investigate the relationship between rumen, gut microbes, and osteoarthritis. Overall, there were many metabolomic differences between the genders, with individual metabolite differences between the groups being most prominent in pathways related to microbially-associated metabolites, nucleotide metabolism, protein degradation, inflammatory, and oxidative stress markers. Additionally, some changes, which were not discussed here, were seen in carbohydrate metabolism (see slide 13, the supplemental figure Carbohydrate Metabolism in the associated graphics file), in which, differences in aminosugars were observed, which may have relevance here as aminosugars are constituents of peptidoglycans on bacterial cell membranes as well as glycosaminoglycans, a constituent of cartilage.

It may be interesting to analyze samples from animals at different ages or animals in which osteoarthritis has been induced to see if there are correlations in the rumen contents and the progression of osteoarthritis. Additionally, an analysis of blood serum or plasma would allow for an analysis of the systemic differences between the animals. Finally, it may be interesting to do a comparison of what was seen here in the first chamber of digestion to what is eliminated from the animals by analyzing fecal samples.

# Study Parameters

## Data Quality: Instrument and Process Variability

Instrument variability was determined by calculating the median relative standard deviation (RSD) for the internal standards that were added to each sample prior to injection into the mass spectrometers. Overall process variability was determined by calculating the median RSD for all endogenous metabolites (i.e., non-instrument standards) present in 100% of the Client Matrix samples, which are technical replicates of pooled client samples. Values for instrument and process variability meet Metabolon’s acceptance criteria as shown in the table above.

# Appendix

## Metabolon Platform

Sample Accessioning:  Following receipt, samples were inventoried and immediately stored at -80oC. Each sample received was accessioned into the Metabolon LIMS system and was assigned by the LIMS a unique identifier that was associated with the original source identifier only. This identifier was used to track all sample handling, tasks, results, etc. The samples (and all derived aliquots) were tracked by the LIMS system. All portions of any sample were automatically assigned their own unique identifiers by the LIMS when a new task was created; the relationship of these samples was also tracked. All samples were maintained at -80oC until processed.

Sample Preparation:  Samples were prepared using the automated MicroLab STAR® system from Hamilton Company. Several recovery standards were added prior to the first step in the extraction process for QC purposes. To remove protein, dissociate small molecules bound to protein or trapped in the precipitated protein matrix, and to recover chemically diverse metabolites, proteins were precipitated with methanol under vigorous shaking for 2 min (Glen Mills GenoGrinder 2000) followed by centrifugation. The resulting extract was divided into five fractions: two for analysis by two separate reverse phase (RP)/UPLC-MS/MS methods with positive ion mode electrospray ionization (ESI), one for analysis by RP/UPLC-MS/MS with negative ion mode ESI, one for analysis by HILIC/UPLC-MS/MS with negative ion mode ESI, and one sample was reserved for backup. Samples were placed briefly on a TurboVap® (Zymark) to remove the organic solvent. The sample extracts were stored overnight under nitrogen before preparation for analysis.

QA/QC:  Several types of controls were analyzed in concert with the experimental samples: a pooled matrix sample generated by taking a small volume of each experimental sample (or alternatively, use of a pool of well-characterized human plasma) served as a technical replicate throughout the data set; extracted water samples served as process blanks; and a cocktail of QC standards that were carefully chosen not to interfere with the measurement of endogenous compounds were spiked into every analyzed sample, allowed instrument performance monitoring and aided chromatographic alignment. Tables 1 and 2 describe these QC samples and standards. Instrument variability was determined by calculating the median relative standard deviation (RSD) for the standards that were added to each sample prior to injection into the mass spectrometers. Overall process variability was determined by calculating the median RSD for all endogenous metabolites (i.e., non-instrument standards) present in 100% of the pooled matrix samples. Experimental samples were randomized across the platform run with QC samples spaced evenly among the injections, as outlined in Figure 1.

Table 1:  Description of Metabolon QC Samples

| Type | Description | Purpose |
| --- | --- | --- |
| MTRX | Large pool of human plasma maintained by Metabolon that has been characterized extensively. | Assure that all aspects of the Metabolon process are operating within specifications. |
| CMTRX | Pool created by taking a small aliquot from every customer sample. | Assess the effect of a non-plasma matrix on the Metabolon process and distinguish biological variability from process variability. |
| PRCS | Aliquot of ultra-pure water | Process Blank used to assess the contribution to compound signals from the process. |
| SOLV | Aliquot of solvents used in extraction. | Solvent Blank used to segregate contamination sources in the extraction. |

Table 2:  Metabolon QC Standards

| Type | Description | Purpose |
| --- | --- | --- |
| RS | Recovery Standard | Assess variability and verify performance of extraction and instrumentation. |
| IS | Internal Standard | Assess variability and performance of instrument. |

Figure 1. Preparation of client-specific technical replicates. A small aliquot of each client sample (colored cylinders) is pooled to create a CMTRX technical replicate sample (multi-colored cylinder), which is then injected periodically throughout the platform run. Variability among consistently detected biochemicals can be used to calculate an estimate of overall process and platform variability.

Ultrahigh Performance Liquid Chromatography-Tandem Mass Spectroscopy (UPLC-MS/MS):  All methods utilized a Waters ACQUITY ultra-performance liquid chromatography (UPLC) and a Thermo Scientific Q-Exactive high resolution/accurate mass spectrometer interfaced with a heated electrospray ionization (HESI-II) source and Orbitrap mass analyzer operated at 35,000 mass resolution. The sample extract was dried then reconstituted in solvents compatible to each of the four methods. Each reconstitution solvent contained a series of standards at fixed concentrations to ensure injection and chromatographic consistency. One aliquot was analyzed using acidic positive ion conditions, chromatographically optimized for more hydrophilic compounds. In this method, the extract was gradient eluted from a C18 column (Waters UPLC BEH C18-2.1x100 mm, 1.7 µm) using water and methanol, containing 0.05% perfluoropentanoic acid (PFPA) and 0.1% formic acid (FA). Another aliquot was also analyzed using acidic positive ion conditions, however it was chromatographically optimized for more hydrophobic compounds. In this method, the extract was gradient eluted from the same afore mentioned C18 column using methanol, acetonitrile, water, 0.05% PFPA and 0.01% FA and was operated at an overall higher organic content. Another aliquot was analyzed using basic negative ion optimized conditions using a separate dedicated C18 column. The basic extracts were gradient eluted from the column using methanol and water, however with 6.5mM Ammonium Bicarbonate at pH 8. The fourth aliquot was analyzed via negative ionization following elution from a HILIC column (Waters UPLC BEH Amide 2.1x150 mm, 1.7 µm) using a gradient consisting of water and acetonitrile with 10mM Ammonium Formate, pH 10.8. The MS analysis alternated between MS and data-dependent MSn scans using dynamic exclusion. The scan range varied slighted between methods but covered 70-1000 m/z. Raw data files are archived and extracted as described below.

Bioinformatics:  The informatics system consisted of four major components, the Laboratory Information Management System (LIMS), the data extraction and peak-identification software, data processing tools for QC and compound identification, and a collection of information interpretation and visualization tools for use by data analysts. The hardware and software foundations for these informatics components were the LAN backbone, and a database server running Oracle 10.2.0.1 Enterprise Edition.

LIMS:  The purpose of the Metabolon LIMS system was to enable fully auditable laboratory automation through a secure, easy to use, and highly specialized system. The scope of the Metabolon LIMS system encompasses sample accessioning, sample preparation and instrumental analysis and reporting and advanced data analysis. All of the subsequent software systems are grounded in the LIMS data structures. It has been modified to leverage and interface with the in-house information extraction and data visualization systems, as well as third party instrumentation and data analysis software.

Data Extraction and Compound Identification:  Raw data was extracted, peak-identified and QC processed using Metabolon’s hardware and software. These systems are built on a web-service platform utilizing Microsoft’s .NET technologies, which run on high-performance application servers and fiber-channel storage arrays in clusters to provide active failover and load-balancing. Compounds were identified by comparison to library entries of purified standards or recurrent unknown entities. Metabolon maintains a library based on authenticated standards that contains the retention time/index (RI), mass to charge ratio (m/z), and chromatographic data (including MS/MS spectral data) on all molecules present in the library. Furthermore, biochemical identifications are based on three criteria: retention index within a narrow RI window of the proposed identification, accurate mass match to the library +/- 10 ppm, and the MS/MS forward and reverse scores between the experimental data and authentic standards. The MS/MS scores are based on a comparison of the ions present in the experimental spectrum to the ions present in the library spectrum. While there may be similarities between these molecules based on one of these factors, the use of all three data points can be utilized to distinguish and differentiate biochemicals. More than 3300 commercially available purified standard compounds have been acquired and registered into LIMS for analysis on all platforms for determination of their analytical characteristics. Additional mass spectral entries have been created for structurally unnamed biochemicals, which have been identified by virtue of their recurrent nature (both chromatographic and mass spectral). These compounds have the potential to be identified by future acquisition of a matching purified standard or by classical structural analysis.

Curation:  A variety of curation procedures were carried out to ensure that a high quality data set was made available for statistical analysis and data interpretation. The QC and curation processes were designed to ensure accurate and consistent identification of true chemical entities, and to remove those representing system artifacts, mis-assignments, and background noise. Metabolon data analysts use proprietary visualization and interpretation software to confirm the consistency of peak identification among the various samples. Library matches for each compound were checked for each sample and corrected if necessary.

Metabolite Quantification and Data Normalization:  Peaks were quantified using area-under-the-curve. For studies spanning multiple days, a data normalization step was performed to correct variation resulting from instrument inter-day tuning differences. Essentially, each compound was corrected in run-day blocks by registering the medians to equal one (1.00) and normalizing each data point proportionately (termed the “block correction”; Figure 2). For studies that did not require more than one day of analysis, no normalization is necessary, other than for purposes of data visualization. In certain instances, biochemical data may have been normalized to an additional factor (e.g., cell counts, total protein as determined by Bradford assay, osmolality, etc.) to account for differences in metabolite levels due to differences in the amount of material present in each sample.

Figure 2:  Visualization of data normalization steps for a multiday platform run.

## Statistical Methods and Terminology

Statistical Calculations:  For many studies, two types of statistical analysis are usually performed: (1) significance tests and (2) classification analysis. Standard statistical analyses are performed in ArrayStudio/Jupyter Notebook on log transformed data. For those analyses not standard in ArrayStudio/Jupyter Notebook, the programs R (http://cran.r-project.org/) or JMP are used. Below are examples of frequently employed significance tests and classification methods followed by a discussion of p- and q-value significance thresholds.

- One-way ANOVA

ANOVA stands for analysis of variance. For ANOVA, it is assumed that all populations have the same variances. One-way ANOVA is used to test whether at least two unknown means are all equal or whether at least one pair of means is different. For the case of two means, ANOVA gives the same result as a two-sided t-test with a pooled estimate of the variance.

An ANOVA uses an F-test which has two parameters – the numerator degrees of freedom and the denominator degrees of freedom. The degrees of freedom in the numerator are equal to g – 1, where g is the number of groups. If n is the total number of observations (n1 + n2), then, the denominator degrees of freedom is equal to n – g. The F-statistic is the ratio of the between-groups variance to the within-groups variance, hence the higher the F-statistic the more evidence we have that the means are different.

Often within ANOVA, one performs linear contrasts for specific comparisons of interest. For example, suppose we have three groups A, B, C, then examples of some contrasts are A vs. B, the average of A and B vs. C, etc. For single-degree of freedom contrasts, these give the same result as a two-sided t-test with the pooled estimate of the variance from the ANOVA and degrees of freedom n – g. Below, we show the three formulas for A vs. B from a three group design as shown above. The numerator is same in each case, but the denominator differs by the estimates of the variances, and the degrees of freedom are different for each (if the theoretical assumptions hold, then the contrast has the most power, as it has the largest degrees of freedom).

Welch’s two-sample t-test

By t = (xA-xB)/sA2/nA+sB2/nB , and the degrees of freedom is given by sA2nA+sB2nB2/sA2nA2nA-1+sB2nB2nB-1

Two-sample t-test with pooled estimate of variance from A and B

t= (xA-xB)/sAB2(1/nA+/nB)

where sAB2=nA-1sA2+nB-1sB2/(nA+nB-2),  where the degrees of freedom is nA + nB – 2.

The contrast from the ANOVA,

t= (xA-xB)/s21/nA+/nB

where s2=nA-1sA2+nB-1sB2  + nC-1sC2/(nA+nB+ nC-3),  where the degrees of freedom is given by where the degrees of freedom is nA + nB + nC – 3.

- p-values

For statistical significance testing, p-values are given. The lower the p-value, the more evidence we have that the null hypothesis (typically that two population means are equal) is not true. If “statistical significance” is declared for p-values less than 0.05, then 5% of the time we incorrectly conclude the means are different, when actually they are the same.

The p-value is the probability that the test statistic is at least as extreme as observed in this experiment given that the null hypothesis is true. Hence, the more extreme the statistic, the lower the p-value and the more evidence the data gives against the null hypothesis.

- q-values

The level of 0.05 is the false positive rate when there is one test. However, for a large number of tests we need to account for false positives. There are different methods to correct for multiple testing. The oldest methods are family-wise error rate adjustments (Bonferroni, Tukey, etc.), but these tend to be extremely conservative for a very large number of tests. With gene arrays, using the False Discovery Rate (FDR) is more common. The family-wise error rate adjustments give one a high degree of confidence that there are zero false discoveries. However, with FDR methods, one can allow for a small number of false discoveries. The FDR for a given set of compounds can be estimated using the q-value (see Storey J and Tibshirani R. (2003) Statistical significance for genomewide studies. Proc. Natl. Acad. Sci. USA 100: 9440-9445; PMID: 12883005).

In order to interpret the q-value, the data must first be sorted by the p-value then choose the cutoff for significance (typically p<0.05). The q-value gives the false discovery rate for the selected list (i.e., an estimate of the proportion of false discoveries for the list of compounds whose p-value is below the cutoff for significance). For Table 1 below, if the whole list is declared significant, then the false discovery rate is approximately 10%. If everything from Compound 079 and above is declared significant, then the false discovery rate is approximately 2.5%.

Table 1: Example of q-value interpretation.

- Principal Component Analysis (PCA)

Principal component analysis is an unsupervised analysis that reduces the dimension of the data. Each principal component is a linear combination of every metabolite and the principal components are uncorrelated. The number of principal components is equal to the number of observations.

The first principal component is computed by determining the coefficients of the metabolites that maximizes the variance of the linear combination. The second component finds the coefficients that maximize the variance with the condition that the second component is orthogonal to the first. The third component is orthogonal to the first two components and so on. The total variance is defined as the sum of the variances of the predicted values of each component (the variance is the square of the standard deviation), and for each component, the proportion of the total variance is computed. For example, if the standard deviation of the predicted values of the first principal component is 0.4 and the total variance = 1, then 100*0.4*0.4/1 = 16% of the total variance is explained by the first component. Since this is an unsupervised method, the main components may be unrelated to the treatment groups, and the “separation” does not give an estimate of the true predictive ability.