**Sample preparation protocol:**

540-µL of subsamples were mixed with 60-µL of a phosphate buffer (30 mmol L-1 phosphate in deuterated water; pH 7.4; 1 mmol L-1 internal standard 2,2-dimethyl-2-silapentane-5-sulfonate) and transferred to NMR tubes. One media-blank sample was also included.